## Linearity
Ethyl Palmitate
CONCENTRATION (ppm) | AREA
2.5 | 0.0169
2.5 | 0.019
5 | 0.0595
5 | 0.0689
10 | 0.1141
10 | 0.1141
25 | 0.2013
25 | 0.1708
50 | 0.3379
50 | 0.3411
Ethyl Linoleate
CONCENTRATION (ppm) | AREA
2.5 | 0.0181
2.5 | 0.0134
5 | 0.0582
5 | 0.065
10 | 0.1095
10 | 0.112
25 | 0.181
25 | 0.1485
50 | 0.3177
50 | 0.312
Ethyl Oleate
CONCENTRATION (ppm) | AREA
2.5 | 0.0179
2.5 | 0.0131
5 | 0.064
5 | 0.0699
10 | 0.1328
10 | 0.1307
25 | 0.1923
25 | 0.1562
50 | 0.3778
50 | 0.3657
Ethyl Stearate
CONCENTRATION (ppm) | AREA
2.5 | 0.0321
2.5 | 0.0264
5 | 0.0775
5 | 0.083
10 | 0.1182
10 | 0.1114
25 | 0.2042
25 | 0.2
50 | 0.3672
50 | 0.3521
Methyl Heptadecanoate
CONCENTRATION (ppm) | AREA (mean)
2.725 | 0.0181
5.45 | 0.0624
10.9 | 0.1102
27.25 | 0.1982
54.5 | 0.3416

## Recovery
10 ppm
Compound | Area (direct injection) | Injected conc (mcg/mL) GC | Area (processed sample) | Injected conc (mcg/mL) HPLC | Concentration ratio (10/1,33) | Area processed sample corresponding to 10 ppm | Recovery (%) | Mean Recovery (%) | Standard deviation
Ethyl palmitate Replicate 1 | 0.6245 | 10 | 0.0588 | 1.33 | 7.51 | 0.44159 | 70.7106 | 73.236 | 3.5714
Ethyl palmitate Replicate 2 | 0.6245 | 10 | 0.063 | 1.33 | 7.51 | 0.47313 | 75.7614
Ethyl linoleate Replicate 1 | 0.6247 | 10 | 0.0561 | 1.33 | 7.51 | 0.42131 | 67.4421 | 72.3109 | 6.8855
Ethyl linoleate Replicate 2 | 0.6247 | 10 | 0.0642 | 1.33 | 7.51 | 0.48214 | 77.1798
Ethyl oleate Replicate 1 | 0.70255 | 10 | 0.0664 | 1.33 | 7.51 | 0.49866 | 70.9791 | 71.8878 | 1.285
Ethyl oleate Replicate 2 | 0.70255 | 10 | 0.0681 | 1.33 | 7.51 | 0.51143 | 72.7964
Ethyl stearate Replicate 1 | 0.57695 | 10 | 0.0637 | 1.33 | 7.51 | 0.47839 | 82.9165 | 84.9341 | 2.8533
Ethyl stearate Replicate 2 | 0.57695 | 10 | 0.0668 | 1.33 | 7.51 | 0.50167 | 86.9517
Methyl heptadecanoate Replicate 1 | 0.6214 | 10 | 0.0636 | 1.33 | 7.51 | 0.47764 | 76.8645 | 74.7495 | 2.991
Methyl heptadecanoate Replicate 2 | 0.6214 | 10 | 0.0601 | 1.33 | 7.51 | 0.45135 | 72.6345
25 ppm
Compound | Area direct injection | Injected conc (mcg/mL) GC | Area (processed sample) | Injected conc (mcg/mL) HPLC | Concentration ratio (25/3,33) | Area processed sample corresponding to 25 ppm | Recovery (%) | Mean Recovery (%) | Standard deviation
Ethyl palmitate Replicate 1 | 1.4985 | 25 | 0.2013 | 3.33 | 7.51 | 1.5118 | 100.8851 | 101.7872 | 1.2758
Ethyl palmitate Replicate 2 | 1.4985 | 25 | 0.2049 | 3.33 | 7.51 | 1.5388 | 102.6893
Ethyl linoleate Replicate 1 | 1.4676 | 25 | 0.181 | 3.33 | 7.51 | 1.3593 | 92.6244 | 94.9017 | 3.2205
Ethyl linoleate Replicate 2 | 1.4676 | 25 | 0.1899 | 3.33 | 7.51 | 1.4261 | 97.1789
Ethyl oleate Replicate 1 | 1.5483 | 25 | 0.1923 | 3.33 | 7.51 | 1.4442 | 93.2748 | 94.6086 | 1.8864
Ethyl oleate Replicate 2 | 1.5483 | 25 | 0.1978 | 3.33 | 7.51 | 1.4855 | 95.9425
Ethyl stearate Replicate 1 | 1.4458 | 25 | 0.1942 | 3.33 | 7.51 | 1.4584 | 100.8744 | 102.9002 | 2.8649
Ethyl stearate Replicate 2 | 1.4458 | 25 | 0.202 | 3.33 | 7.51 | 1.517 | 104.926
Methyl heptadecanoate Replicate 1 | 1.4731 | 25 | 0.1914 | 3.33 | 7.51 | 1.4374 | 97.5775 | 98.6736 | 1.5501
Methyl heptadecanoate Replicate 2 | 1.4731 | 25 | 0.1957 | 3.33 | 7.51 | 1.4697 | 99.7697
50 ppm
Compound | Area direct injection | Injected conc (mcg/mL) GC | Area (processed sample) | Injected conc (mcg/mL) HPLC | Concentration ratio (50/6,67) | Area processed sample corresponding to 50 ppm | Recovery (%) | Mean Recovery (%) | Standard deviation
Ethyl palmitate Replicate 1 | 2.8769 | 50 | 0.3411 | 6.67 | 7.51 | 2.5617 | 89.0409 | 90.4374 | 1.975
Ethyl palmitate Replicate 2 | 2.8769 | 50 | 0.3518 | 6.67 | 7.51 | 2.642 | 91.834
Ethyl linoleate Replicate 1 | 2.7748 | 50 | 0.312 | 6.67 | 7.51 | 2.3431 | 84.4413 | 83.9948 | 0.63154
Ethyl linoleate Replicate 2 | 2.7748 | 50 | 0.3087 | 6.67 | 7.51 | 2.3183 | 83.5482
Ethyl oleate Replicate 1 | 3.1449 | 50 | 0.3657 | 6.67 | 7.51 | 2.7464 | 87.3289 | 86.6364 | 0.97937
Ethyl oleate Replicate 2 | 3.1449 | 50 | 0.3599 | 6.67 | 7.51 | 2.7028 | 85.9439
Ethyl stearate Replicate 1 | 2.8303 | 50 | 0.3521 | 6.67 | 7.51 | 2.6443 | 93.4272 | 94.1437 | 1.0132
Ethyl stearate Replicate 2 | 2.8303 | 50 | 0.3575 | 6.67 | 7.51 | 2.6848 | 94.8601
Methyl heptadecanoate Replicate 1 | 2.9618 | 50 | 0.3424 | 6.67 | 7.51 | 2.5714 | 86.8196 | 87.6564 | 1.1833
Methyl heptadecanoate Replicate 2 | 2.9618 | 50 | 0.349 | 6.67 | 7.51 | 2.621 | 88.4931

## Robustness
| Flow 0.7 mL/min | Flow 1 mL/min
Ethyl Palmitate
| Area | Area
Replicate 1 | 0.2674 | 0.2206
Replicate 2 | 0.3546 | 0.31
Replicate 3 | 0.3312 | 0.2833
Ethyl Linoleate
| Area | Area
Replicate 1 | 0.2301 | 0.1877
Replicate 2 | 0.3149 | 0.2704
Replicate 3 | 0.2882 | 0.2531
Ethyl Oleate
| Area | Area
Replicate 1 | 0.2521 | 0.2023
Replicate 2 | 0.3339 | 0.3037
Replicate 3 | 0.3271 | 0.2919
Ethyl Stearate
| Area | Area
Replicate 1 | 0.2619 | 0.2236
Replicate 2 | 0.3487 | 0.3117
Replicate 3 | 0.3346 | 0.2963

## Precision inter-day
ETHYL PALMITATE | [13 empty] | ANALYSIS OF VARIANCE
| DAY 1 |  |  | DAY 2 |  |  | DAY 3 |  |  |  | DAY 1 | DAY 2 | DAY 3 | Origin of the variation | SQ | gdl | MQ | F | Significance value | F crit
| AREA EP | AREA IS | RATIO | AREA EP | AREA IS | RATIO | AREA EP | AREA IS | RATIO | EP | 1.2381 | 1.2067 | 1.0771 | Between groups | 0.0079369 | 2 | 0.0039684 | 2.3713 | 0.17423 | 5.1433
R1 | 0.0546 | 0.0441 | 1.2381 | 0.0508 | 0.0421 | 1.2067 | 0.0517 | 0.048 | 1.0771 | EP | 1.1407 | 1.1541 | 1.144 | In groups | 0.010041 | 6 | 0.0016735
R2 | 0.0673 | 0.059 | 1.1407 | 0.0734 | 0.0636 | 1.1541 | 0.0842 | 0.0736 | 1.144 | EP | 1.1429 | 1.1564 | 1.1187
R3 | 0.056 | 0.049 | 1.1429 | 0.0732 | 0.0633 | 1.1564 | 0.0716 | 0.064 | 1.1187 |  |  |  |  | Total | 0.017978 | 8
MEDIA | 1.1739 |  |  | 1.1724 |  |  | 1.1133 |  |  | MEAN EP | 1.1739 | 1.1724 | 1.1133
DEV. STD. | 0.055625 |  |  | 0.029703 |  |  | 0.033802
CV% | 4.7386 |  |  | 2.5335 |  |  | 3.0363
ETHYL LINOLEATE | [13 empty] | ANALYSIS OF VARIANCE
| DAY 1 |  |  | DAY 2 |  |  | DAY 3 |  |  |  | DAY 1 | DAY 2 | DAY 3 | Origin of the variation | SQ | gdl | MQ | F | Significance value | F crit
| AREA EL | AREA IS | RATIO | AREA EL | AREA IS | RATIO | AREA EL | AREA IS | RATIO | EL | 0.98866 | 0.95012 | 0.95833 | Between groups | 0.00073133 | 2 | 0.00036566 | 0.64096 | 0.55939 | 5.1433
R1 | 0.0436 | 0.0441 | 0.98866 | 0.04 | 0.0421 | 0.95012 | 0.046 | 0.048 | 0.95833 | EL | 0.96271 | 0.92296 | 0.96875 | In groups | 0.0034229 | 6 | 0.00057049
R2 | 0.0568 | 0.059 | 0.96271 | 0.0587 | 0.0636 | 0.92296 | 0.0713 | 0.0736 | 0.96875 | EL | 0.94898 | 0.9842 | 0.99531
R3 | 0.0465 | 0.049 | 0.94898 | 0.0623 | 0.0633 | 0.9842 | 0.0637 | 0.064 | 0.99531 |  |  |  |  | Total | 0.0041543 | 8
MEDIA | 0.96678 |  |  | 0.95243 |  |  | 0.97413 |  |  | MEAN EL | 0.96678 | 0.95243 | 0.97413
DEV. STD. | 0.020152 |  |  | 0.030688 |  |  | 0.019068
CV% | 2.0845 |  |  | 3.2221 |  |  | 1.9574
ETHYL OLEATE | [13 empty] | ANALYSIS OF VARIANCE
| DAY 1 |  |  | DAY 2 |  |  | DAY 3 |  |  |  | DAY 1 | DAY 2 | DAY 3 | Origin of the variation | SQ | gdl | MQ | F | Significance value | F crit
| AREA EO | AREA IS | RATIO | AREA EO | AREA IS | RATIO | AREA EO | AREA IS | RATIO | EO | 1.0431 | 1.0546 | 1.05 | Between groups | 0.0012172 | 2 | 0.00060862 | 1.2076 | 0.36246 | 5.1433
R1 | 0.046 | 0.0441 | 1.0431 | 0.0444 | 0.0421 | 1.0546 | 0.0504 | 0.048 | 1.05 | EO | 1.0407 | 1.0142 | 1.0516 | In groups | 0.003024 | 6 | 0.00050399
R2 | 0.0614 | 0.059 | 1.0407 | 0.0645 | 0.0636 | 1.0142 | 0.0774 | 0.0736 | 1.0516 | EO | 1.0122 | 1.0742 | 1.0797
R3 | 0.0496 | 0.049 | 1.0122 | 0.068 | 0.0633 | 1.0742 | 0.0691 | 0.064 | 1.0797 |  |  |  |  | Total | 0.0042412 | 8
MEDIA | 1.032 |  |  | 1.0477 |  |  | 1.0604 |  |  | MEAN EO | 1.032 | 1.0477 | 1.0604
DEV. STD. | 0.017153 |  |  | 0.030647 |  |  | 0.016689
CV% | 1.6621 |  |  | 2.9252 |  |  | 1.5738
ETHYL STEARATE | [13 empty] | ANALYSIS OF VARIANCE
| DAY 1 |  |  | DAY 2 |  |  | DAY 3 |  |  |  | DAY 1 | DAY 2 | DAY 3 | Origin of the variation | SQ | gdl | MQ | F | Significance value | F crit
| AREA ES | AREA IS | RATIO | AREA ES | AREA IS | RATIO | AREA ES | AREA IS | RATIO | ES | 0.86168 | 0.95487 | 0.85833 | Between groups | 0.021256 | 2 | 0.010628 | 0.97671 | 0.42933 | 5.1433
R1 | 0.038 | 0.0441 | 0.86168 | 0.0402 | 0.0421 | 0.95487 | 0.0412 | 0.048 | 0.85833 | ES | 0.81864 | 1.0881 | 1.0231 | In groups | 0.065287 | 6 | 0.010881
R2 | 0.0483 | 0.059 | 0.81864 | 0.0692 | 0.0636 | 1.0881 | 0.0753 | 0.0736 | 1.0231 | ES | 1.051 | 1.0411 | 1.075
R3 | 0.0515 | 0.049 | 1.051 | 0.0659 | 0.0633 | 1.0411 | 0.0688 | 0.064 | 1.075 |  |  |  |  | Total | 0.086543 | 8
MEDIA | 0.91045 |  |  | 1.028 |  |  | 0.98548 |  |  | MEAN ES | 0.91045 | 1.028 | 0.98548
DEV. STD. | 0.12363 |  |  | 0.067547 |  |  | 0.11313
CV% | 13.5787 |  |  | 6.5707 |  |  | 11.4794