## Samples category
Samples	Category
1	EVOO		EVOO = Extra Virgin Olive Oil
2	EVOO		VOO = Virgin Olive Oil
3	EVOO		LOO = Lampante Olive Oil
4	EVOO
5	EVOO
6	EVOO
7	EVOO
8	EVOO
9	EVOO
10	EVOO
11	EVOO
12	EVOO
13	EVOO
14	EVOO
15	EVOO
16	EVOO
17	EVOO
18	EVOO
19	EVOO
20	EVOO
21	EVOO
22	EVOO
23	EVOO
24	EVOO
25	EVOO
26	EVOO
27	EVOO
28	EVOO
29	EVOO
30	EVOO
31	EVOO
32	EVOO
33	EVOO
34	EVOO
35	EVOO
36	EVOO
37	EVOO
38	EVOO
39	EVOO
40	EVOO
41	EVOO
42	EVOO
43	EVOO
44	EVOO
45	EVOO
46	EVOO
47	EVOO
48	EVOO
49	EVOO
50	EVOO
51	EVOO
52	EVOO
53	EVOO
54	EVOO
55	EVOO
56	EVOO
57	EVOO
58	EVOO
59	EVOO
60	EVOO
61	EVOO
62	EVOO
63	EVOO
64	EVOO
65	EVOO
66	EVOO
67	EVOO
68	EVOO
69	EVOO
70	EVOO
71	EVOO
72	EVOO
73	EVOO
74	EVOO
75	EVOO
76	EVOO
77	EVOO
78	EVOO
79	EVOO
80	EVOO
81	EVOO
82	EVOO
83	EVOO
84	LOO
85	LOO
86	LOO
87	LOO
88	LOO
89	LOO
90	LOO
91	LOO
92	LOO
93	LOO
94	LOO
95	LOO
96	LOO
97	LOO
98	LOO
99	LOO
100	LOO
101	LOO
102	LOO
103	LOO
104	LOO
105	LOO
106	LOO
107	LOO
108	LOO
109	LOO
110	LOO
111	LOO
112	LOO
113	LOO
114	LOO
115	LOO
116	LOO
117	LOO
118	LOO
119	LOO
120	LOO
121	LOO
122	LOO
123	LOO
124	LOO
125	LOO
126	LOO
127	LOO
128	LOO
129	LOO
130	VOO
131	VOO
132	VOO
133	VOO
134	VOO
135	VOO
136	VOO
137	VOO
138	VOO
139	VOO
140	VOO
141	VOO
142	VOO
143	VOO
144	VOO
145	VOO
146	VOO
147	VOO
148	VOO
149	VOO
150	VOO
151	VOO
152	VOO
153	VOO
154	VOO
155	VOO
156	VOO
157	VOO
158	VOO
159	VOO
160	VOO
161	VOO
162	VOO
163	VOO
164	VOO
165	VOO
166	VOO
167	VOO
168	VOO
169	VOO
170	VOO
171	VOO
172	VOO
173	VOO
174	VOO
175	VOO
176	VOO
177	VOO
178	VOO
179	VOO
180	VOO
181	VOO
182	VOO
183	VOO
184	VOO
185	VOO
186	VOO
187	VOO
188	VOO
189	VOO
190	VOO
191	VOO
192	VOO
193	VOO
194	VOO
195	VOO
196	VOO
197	VOO
198	VOO

## Linearity
Parameters considered for the evaluation of the linearity of the volatile compounds in SMA (from compound 1 to compound 7) and SMB (from compound 8 to compound 15).

Volatile compounds	Rt (s)	Dt (ms)	Calibration curve	Linearity range (mg kg-1)	R2
1. Ethyl acetate	170	10,908	y = 672.5x + 70.5	0.05 - 0.5	0,980
2. Ethyl propanoate	230	11,844	y = 549.7x + 9.6	0.05 - 0.5	0,978
3. Propanoic acid	218	9,102	y = 15.3x + 68.4	0.05 - 10	0,932
4. 3-methyl-1-butanol	259	12,203	y = 279.9x + 43.6	0.05 - 1.5	0,986
5. (E,E)-2,4-hexadienal	522	11,827	y = 87.3x + 27.8	1.5 - 10	0,982
6. (E)-2-heptenal	639	13,71	y = 18.4x + 175.6	1.5 - 10	0,969
7. 6-methyl-5-hepten-2-one	749	9,588	y = 72.2x + 162.5	0.05 - 10	0,994
8. Ethanol	121	9,255	y = 345.4x + 150.4	0.05 - 0.5	0,980
9. Acetic acid	149	9,434	y = 14.5x + 42.7	0.10 - 25	0,982
10. Hexanal	317	12,723	y = 198.3x + 23.3	0.05 - 1.5	0,991
11. (E)-2-hexenal	404	12,358	y = 47.3x + 7.3	0.10 - 10	0,989
12. 1-hexanol	450	13,415	y = 32.9x + 83.8	0.05 - 25	0,988
13. 1-octen-3-ol	733	9,451	y = 33.0x + 176.2	0.05 - 20	0,996
14. (Z)-3-hexenyl acetate	846	14,908	y = 6.9x + 281.7	5.0 - 25	0,989
15. Nonanal	1554	12,128	y = 5.1x + 138.0	0.05 - 15	0,990

## Repeatability
Repeatability values expressed as the mean of the relative standard deviation (RSD%) for the selected compounds.

Volatile compound	Repeatability (RSD%)
	Intra-day	Inter-day
(E)-2-hexenal	1,01	1,14
Hexanal	5,09	6,66
Ethyl acetate	1,44	1,44
Ethanol	1,6	1,6
3-methyl-1-butanol	1,67	1,49
Ethyl propanoate	1,11	3,34

## Y data for PLSDA_quality grades
	PLSDA Model
	EVOO vs no-EVOOa	LOO vs no-LOOb	EVOO vs VOOc	LOO vs VOOd		a	EVOO = 0	no-EVOO = 1
1	0	1	0			b	LOO = 0	no-LOO = 1
2	0	1	0			c	EVOO = 0	VOO = 1
3	0	1	0			d	LOO = 0	VOO = 1
4	0	1	0
5	0	1	0
6	0	1	0
7	0	1	0
8	0	1	0
9	0	1	0
10	0	1	0
11	0	1	0
12	0	1	0
13	0	1	0
14	0	1	0
15	0	1	0
16	0	1	0
17	0	1	0
18	0	1	0
19	0	1	0
20	0	1	0
21	0	1	0
22	0	1	0
23	0	1	0
24	0	1	0
25	0	1	0
26	0	1	0
27	0	1	0
28	0	1	0
29	0	1	0
30	0	1	0
31	0	1	0
32	0	1	0
33	0	1	0
34	0	1	0
35	0	1	0
36	0	1	0
37	0	1	0
38	0	1	0
39	0	1	0
40	0	1	0
41	0	1	0
42	0	1	0
43	0	1	0
44	0	1	0
45	0	1	0
46	0	1	0
47	0	1	0
48	0	1	0
49	0	1	0
50	0	1	0
51	0	1	0
52	0	1	0
53	0	1	0
54	0	1	0
55	0	1	0
56	0	1	0
57	0	1	0
58	0	1	0
59	0	1	0
60	0	1	0
61	0	1	0
62	0	1	0
63	0	1	0
64	0	1	0
65	0	1	0
66	0	1	0
67	0	1	0
68	0	1	0
69	0	1	0
70	0	1	0
71	0	1	0
72	0	1	0
73	0	1	0
74	0	1	0
75	0	1	0
76	0	1	0
77	0	1	0
78	0	1	0
79	0	1	0
80	0	1	0
81	0	1	0
82	0	1	0
83	0	1	0
84	1	0		0
85	1	0		0
86	1	0		0
87	1	0		0
88	1	0		0
89	1	0		0
90	1	0		0
91	1	0		0
92	1	0		0
93	1	0		0
94	1	0		0
95	1	0		0
96	1	0		0
97	1	0		0
98	1	0		0
99	1	0		0
100	1	0		0
101	1	0		0
102	1	0		0
103	1	0		0
104	1	0		0
105	1	0		0
106	1	0		0
107	1	0		0
108	1	0		0
109	1	0		0
110	1	0		0
111	1	0		0
112	1	0		0
113	1	0		0
114	1	0		0
115	1	0		0
116	1	0		0
117	1	0		0
118	1	0		0
119	1	0		0
120	1	0		0
121	1	0		0
122	1	0		0
123	1	0		0
124	1	0		0
125	1	0		0
126	1	0		0
127	1	0		0
128	1	0		0
129	1	0		0
130	1	1	1	1
131	1	1	1	1
132	1	1	1	1
133	1	1	1	1
134	1	1	1	1
135	1	1	1	1
136	1	1	1	1
137	1	1	1	1
138	1	1	1	1
139	1	1	1	1
140	1	1	1	1
141	1	1	1	1
142	1	1	1	1
143	1	1	1	1
144	1	1	1	1
145	1	1	1	1
146	1	1	1	1
147	1	1	1	1
148	1	1	1	1
149	1	1	1	1
150	1	1	1	1
151	1	1	1	1
152	1	1	1	1
153	1	1	1	1
154	1	1	1	1
155	1	1	1	1
156	1	1	1	1
157	1	1	1	1
158	1	1	1	1
159	1	1	1	1
160	1	1	1	1
161	1	1	1	1
162	1	1	1	1
163	1	1	1	1
164	1	1	1	1
165	1	1	1	1
166	1	1	1	1
167	1	1	1	1
168	1	1	1	1
169	1	1	1	1
170	1	1	1	1
171	1	1	1	1
172	1	1	1	1
173	1	1	1	1
174	1	1	1	1
175	1	1	1	1
176	1	1	1	1
177	1	1	1	1
178	1	1	1	1
179	1	1	1	1
180	1	1	1	1
181	1	1	1	1
182	1	1	1	1
183	1	1	1	1
184	1	1	1	1
185	1	1	1	1
186	1	1	1	1
187	1	1	1	1
188	1	1	1	1
189	1	1	1	1
190	1	1	1	1
191	1	1	1	1
192	1	1	1	1
193	1	1	1	1
194	1	1	1	1
195	1	1	1	1
196	1	1	1	1
197	1	1	1	1
198	1	1	1	1

## PLS-DA_quality grades
Percentages of correctly classified samples by the 4 PLS-DA models for the quality grade classification of virgin olive oils (EVOO vs no-EVOO; LOO vs no-LOO; VOO vs LOO; EVOO vs VOO).

Category	Calibration	Cross validation	External validation
EVOO	91%	89%	74%
no-EVOO	84%	75%	77%
LOO	89%	86%	73%
no-LOO	94%	94%	95%
VOO	92%	91%	87%
LOO	83%	76%	77%
EVOO	74%	73%	70%
VOO	80%	80%	67%

## Y data for PLSDA_defects
	PLSDA Model
	Fusty-Muddy/no-Fusty-Muddya	Musty/no-Mustyb	Rancid/no-Rancidc		a	Fusty-Muddy = 1	no-Fusty-Muddy = 0
1	0	0	0		b	Musty = 1	no-Musty = 0
2	0	0	0		c	Rancid = 1	no-Rancid = 0
3	0	0	0
4	0	0	0
5	0	0	0
6	0	0	0
7	0	0	0
8	0	0	0
9	0	0	0
10	0	0	0
11	0	0	0
12	0	0	0
13	0	0	0
14	0	0	0
15	0	0	0
16	0	0	0
17	0	0	0
18	0	0	0
19	0	0	0
20	0	0	0
21	0	0	0
22	0	0	0
23	0	0	0
24	0	0	0
25	0	0	0
26	0	0	0
27	0	0	0
28	0	0	0
29	0	0	0
30	0	0	0
31	0	0	0
32	0	0	0
33	0	0	0
34	0	0	0
35	0	0	0
36	0	0	0
37	0	0	0
38	0	0	0
39	0	0	0
40	0	0	0
41	0	0	0
42	0	0	0
43	0	0	0
44	0	0	0
45	0	0	0
46	0	0	0
47	0	0	0
48	0	0	0
49	0	0	0
50	0	0	0
51	0	0	0
52	0	0	0
53	0	0	0
54	0	0	0
55	0	0	0
56	0	0	0
57	0	0	0
58	0	0	0
59	0	0	0
60	0	0	0
61	0	0	0
62	0	0	0
63	0	0	0
64	0	0	0
65	0	0	0
66	0	0	0
67	0	0	0
68	0	0	0
69	0	0	0
70	0	0	0
71	0	0	0
72	0	0	0
73	0	0	0
74	0	0	0
75	0	0	0
76	0	0	0
77	0	0	0
78	0	0	0
79	0	0	0
80	0	0	0
81	0	0	0
82	0	0	0
83	0	0	0
84	1	0	0
85	1	0	0
86	0	0	1
87	1	0	1
88	1	1	1
89	0	1	0
90	1	1	0
91	0	1	1
92	1	1	0
93	0	0	1
94	1	1	0
95	0	0	1
96	0	1	0
97	0	1	0
98	1	0	0
99	1	1	0
100	0	1	1
101	1	0	0
102	1	0	0
103	1	0	1
104	1	0	0
105	1	1	0
106	0	1	0
107	0	1	0
108	1	1	1
109	1	1	0
110	0	1	0
111	1	0	1
112	1	1	0
113	0	1	0
114	1	1	0
115	1	1	0
116	0	0	1
117	1	0	1
118	1	0	1
119	0	0	0
120	1	0	0
121	0	1	0
122	0	1	0
123	0	0	0
124	0	0	1
125	1	0	0
126	1	0	0
127	0	1	1
128	0	0	1
129	0	0	0
130	0	1	1
131	1	0	1
132	0	0	1
133	0	0	1
134	1	0	1
135	0	0	1
136	0	0	1
137	0	1	1
138	0	0	1
139	0	0	0
140	0	0	1
141	0	1	0
142	1	0	0
143	1	0	0
144	0	0	0
145	0	0	0
146	1	1	0
147	0	0	1
148	0	0	0
149	1	0	1
150	1	0	0
151	1	0	0
152	1	0	0
153	0	0	1
154	0	0	1
155	0	1	1
156	1	0	0
157	0	0	1
158	1	0	0
159	1	0	1
160	0	0	0
161	0	0	0
162	1	1	0
163	0	0	1
164	1	0	0
165	0	0	1
166	1	0	0
167	0	1	0
168	0	0	1
169	0	0	1
170	0	0	1
171	0	0	1
172	0	0	1
173	0	0	1
174	0	0	1
175	1	0	0
176	1	0	1
177	1	0	1
178	1	0	1
179	0	0	1
180	1	0	0
181	1	1	1
182	1	0	0
183	1	0	0
184	1	0	0
185	0	0	0
186	1	0	0
187	1	0	0
188	0	0	1
189	1	1	0
190	1	0	0
191	1	0	0
192	0	0	1
193	0	0	0
194	0	0	1
195	1	0	1
196	1	0	0
197	0	0	0
198	0	1	0

## PLS-DA_defects
Percentages of correctly classified samples by the 3 PLS-DA models to determine the presence of defects in virgin olive oils (Musty vs no-Musty; Rancid vs no-Rancid; Fusty-Muddy vs no-Fusty-Muddy).

Defects	Calibration	Cross validation	External validation
Musty	71%	63%	60%
no-Musty	81%	80%	80%
Rancid	81%	78%	62%
no-Rancid	69%	64%	64%
Fusty-Muddy	82%	79%	67%
no-Fusty-Muddy	67%	58%	48%