## Read me
This Excel file reports the values of the 3D borehole thermal resistance obtained by finite-element simulations, Rb3D,COMSOL, and of the correction coefficient, ccoeff, that thansforms the values of the 3D borehole thermal resistance obtained by our Thermal Resistance Capacity Model, Rb3D,TRCM, into those of Rb3D,COMSOL.
The correction coefficient is defined as ccoeff = Rb3D,COMSOL/Rb3D,TRCM, so the procuct ccoeff ´ Rb3D,TRCM gives Rb3D,COMSOL.
The values of Rb3D,COMSOL and ccoeff are reported for 54 single U-tube borehole heat exchangers (BHEs): 27 having pipes with external radius rpe = 20 mm and internal radius rpi = 16.3 mm, 27 having pipes with external radius rpe = 16 mm and internal radius rpi = 13 mm.
All the considered BHEs have length 100 m, ground thermal conductivity 1.8 W/(m K), ground volumetric heat capacity 2.8 MJ/(m3 K), pipe thermal conductivity 0.4 W/(m K), pipe volumetric heat capacity 1.824 MJ/(m3 K), buried depth 1.8 m, and are subjected to a heat rate of 50 W/m. The operating fluid is water, with properties evaluated at 20°C. The volume flow rate is 14 liters per minute for the pipes with external radius 20 mm, 12 iters per minute for the pipes with external radius 16 mm.
For each value of rpe, the considered BHEs differ in the parameters that have the highest effect on ccoeff, namely the BHE radius, rb, the half shank spacing, s, and the grout thermal conductivity, kgt.
The results are reported in the time range from 10-2.5 hours to 103 hours, in the logarithmic scale, with steps of 0.1 in the logarithm of time in hours. In the time range considered, the heat conduction in the vertical direction has negligible effects, so the buried depth has no appreciable effects on the results.

## Rb3D rpe = 20 mm
Rb3D,COMSOL (m K/W) for rpe = 20 mm |  | rb = 68 mm | [8 empty] | rb = 72 mm | [8 empty] | rb = 76 mm
|  | s = 27 mm |  |  | s = 37 mm |  |  | s = 47 mm |  |  | s = 27 mm |  |  | s = 37 mm |  |  | s = 47 mm |  |  | s = 27 mm |  |  | s = 47 mm |  |  | s = 47 mm
| Log10(thours) | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K
| -2.5 | 0.0010041 | 0.0010041 | 0.0010041 | 0.00091374 | 0.00091376 | 0.00091378 | 0.00082315 | 0.00082311 | 0.00082306 | 0.001004 | 0.001004 | 0.001004 | 0.00091392 | 0.00091391 | 0.00091391 | 0.00082299 | 0.00082303 | 0.00082305 | 0.001004 | 0.001004 | 0.0010039 | 0.00091394 | 0.00091393 | 0.00091393 | 0.00082297 | 0.00082299 | 0.00082298
| -2.4 | 0.0013675 | 0.0013674 | 0.0013673 | 0.0012788 | 0.0012789 | 0.0012789 | 0.0011903 | 0.00119 | 0.0011898 | 0.0013673 | 0.0013673 | 0.0013672 | 0.0012791 | 0.0012791 | 0.001279 | 0.0011906 | 0.0011906 | 0.0011907 | 0.0013672 | 0.0013672 | 0.0013671 | 0.0012793 | 0.0012792 | 0.0012792 | 0.0011905 | 0.0011905 | 0.0011905
| -2.3 | 0.0018178 | 0.0018175 | 0.0018172 | 0.0017299 | 0.0017299 | 0.0017299 | 0.0016417 | 0.0016409 | 0.0016403 | 0.0018175 | 0.0018173 | 0.0018171 | 0.0017302 | 0.00173 | 0.0017299 | 0.0016437 | 0.0016436 | 0.0016434 | 0.0018174 | 0.0018171 | 0.0018169 | 0.0017307 | 0.0017305 | 0.0017303 | 0.0016434 | 0.0016434 | 0.0016434
| -2.2 | 0.0023785 | 0.0023774 | 0.0023766 | 0.0022907 | 0.0022905 | 0.0022903 | 0.0022004 | 0.0021983 | 0.0021969 | 0.0023781 | 0.0023772 | 0.0023765 | 0.0022907 | 0.0022903 | 0.0022899 | 0.002206 | 0.0022052 | 0.0022041 | 0.0023779 | 0.0023771 | 0.0023763 | 0.0022919 | 0.0022911 | 0.0022906 | 0.0022055 | 0.0022052 | 0.0022048
| -2.1 | 0.0030764 | 0.0030737 | 0.0030719 | 0.002989 | 0.0029876 | 0.0029864 | 0.0028928 | 0.0028886 | 0.0028858 | 0.0030757 | 0.0030735 | 0.0030719 | 0.002988 | 0.0029866 | 0.0029857 | 0.0029052 | 0.0029021 | 0.0028998 | 0.0030755 | 0.0030732 | 0.0030715 | 0.0029902 | 0.0029881 | 0.0029866 | 0.0029051 | 0.0029035 | 0.0029022
| -2 | 0.0039449 | 0.0039394 | 0.0039356 | 0.0038578 | 0.0038539 | 0.0038506 | 0.0037505 | 0.0037422 | 0.0037368 | 0.0039441 | 0.003939 | 0.0039356 | 0.0038553 | 0.0038521 | 0.0038497 | 0.0037738 | 0.0037664 | 0.0037609 | 0.0039436 | 0.0039386 | 0.0039351 | 0.0038589 | 0.0038543 | 0.0038511 | 0.0037753 | 0.0037708 | 0.0037671
| -1.9 | 0.0050221 | 0.005011 | 0.005004 | 0.0049356 | 0.004926 | 0.0049186 | 0.0048096 | 0.0047943 | 0.0047844 | 0.0050211 | 0.0050107 | 0.0050041 | 0.0049313 | 0.004924 | 0.0049186 | 0.004849 | 0.0048337 | 0.0048231 | 0.0050205 | 0.0050102 | 0.0050036 | 0.0049365 | 0.0049272 | 0.0049211 | 0.0048543 | 0.0048437 | 0.0048356
| -1.8 | 0.0063535 | 0.0063335 | 0.0063208 | 0.0062676 | 0.0062474 | 0.0062321 | 0.0061122 | 0.006085 | 0.0060675 | 0.0063526 | 0.0063331 | 0.0063209 | 0.0062619 | 0.0062466 | 0.0062352 | 0.0061738 | 0.0061454 | 0.0061263 | 0.0063515 | 0.0063325 | 0.0063204 | 0.0062688 | 0.0062508 | 0.0062392 | 0.0061865 | 0.006165 | 0.0061492
| -1.7 | 0.0079923 | 0.0079571 | 0.0079349 | 0.0079053 | 0.0078662 | 0.0078382 | 0.0077059 | 0.0076593 | 0.0076301 | 0.0079912 | 0.0079572 | 0.0079357 | 0.0079 | 0.0078699 | 0.007848 | 0.0077986 | 0.0077489 | 0.0077163 | 0.0079902 | 0.0079564 | 0.0079353 | 0.0079088 | 0.0078765 | 0.0078548 | 0.0078243 | 0.0077834 | 0.007755
| -1.6 | 0.0099982 | 0.0099384 | 0.0099001 | 0.0099067 | 0.009836 | 0.0097864 | 0.0096432 | 0.0095662 | 0.0095182 | 0.0099972 | 0.0099394 | 0.0099031 | 0.0099055 | 0.009849 | 0.0098083 | 0.0097783 | 0.0096948 | 0.0096411 | 0.0099959 | 0.0099388 | 0.0099034 | 0.009916 | 0.0098589 | 0.0098206 | 0.0098245 | 0.009752 | 0.0097025
| -1.5 | 0.012436 | 0.012337 | 0.012271 | 0.012332 | 0.01221 | 0.012126 | 0.011979 | 0.011854 | 0.011778 | 0.012436 | 0.01234 | 0.01228 | 0.012341 | 0.01224 | 0.012168 | 0.01217 | 0.012034 | 0.011948 | 0.012435 | 0.01234 | 0.012282 | 0.012355 | 0.012257 | 0.01219 | 0.012248 | 0.012124 | 0.012042
| -1.4 | 0.01538 | 0.015215 | 0.015106 | 0.015249 | 0.015044 | 0.014907 | 0.01477 | 0.014574 | 0.014453 | 0.015381 | 0.015225 | 0.015124 | 0.015277 | 0.0151 | 0.014978 | 0.015037 | 0.01482 | 0.014684 | 0.01538 | 0.015228 | 0.015132 | 0.015297 | 0.015131 | 0.015019 | 0.015158 | 0.014955 | 0.014822
| -1.3 | 0.018902 | 0.018633 | 0.018453 | 0.018717 | 0.018385 | 0.018166 | 0.018073 | 0.017767 | 0.017581 | 0.018909 | 0.018656 | 0.01849 | 0.018778 | 0.018482 | 0.018282 | 0.018437 | 0.018098 | 0.017888 | 0.01891 | 0.018665 | 0.018509 | 0.018813 | 0.018537 | 0.018352 | 0.01862 | 0.018294 | 0.018083
| -1.2 | 0.023073 | 0.022639 | 0.022348 | 0.022794 | 0.02227 | 0.021928 | 0.021931 | 0.021464 | 0.02118 | 0.023093 | 0.022688 | 0.022419 | 0.022906 | 0.022424 | 0.022105 | 0.022422 | 0.021901 | 0.021581 | 0.0231 | 0.022711 | 0.022458 | 0.022969 | 0.022519 | 0.022219 | 0.02269 | 0.022176 | 0.021852
| -1.1 | 0.027955 | 0.027269 | 0.026809 | 0.02752 | 0.026708 | 0.026188 | 0.026377 | 0.025671 | 0.025246 | 0.028001 | 0.027359 | 0.026931 | 0.027707 | 0.026946 | 0.026449 | 0.027028 | 0.026242 | 0.025759 | 0.02802 | 0.027408 | 0.027006 | 0.027816 | 0.027099 | 0.026627 | 0.027409 | 0.026619 | 0.026125
| -1 | 0.033591 | 0.032529 | 0.031817 | 0.03291 | 0.031682 | 0.030908 | 0.031413 | 0.030366 | 0.029737 | 0.033683 | 0.032682 | 0.032014 | 0.033202 | 0.032033 | 0.031279 | 0.032265 | 0.031096 | 0.030385 | 0.033727 | 0.032779 | 0.032148 | 0.03338 | 0.032269 | 0.031542 | 0.032793 | 0.031605 | 0.030864
| -0.9 | 0.039654 | 0.038066 | 0.037007 | 0.038523 | 0.036741 | 0.03563 | 0.036529 | 0.035037 | 0.034141 | 0.039818 | 0.038317 | 0.037311 | 0.03896 | 0.037236 | 0.036137 | 0.037622 | 0.035949 | 0.034939 | 0.039909 | 0.038484 | 0.037528 | 0.039237 | 0.037583 | 0.036515 | 0.038333 | 0.036613 | 0.035553
| -0.8 | 0.046842 | 0.044488 | 0.042929 | 0.04515 | 0.04259 | 0.041015 | 0.042628 | 0.040503 | 0.039236 | 0.047115 | 0.044876 | 0.043378 | 0.045771 | 0.043261 | 0.041685 | 0.04402 | 0.041633 | 0.040202 | 0.047285 | 0.045148 | 0.043714 | 0.04619 | 0.043755 | 0.042204 | 0.044956 | 0.042482 | 0.04097
| -0.7 | 0.0548 | 0.051385 | 0.04914 | 0.052317 | 0.048715 | 0.046526 | 0.049141 | 0.046176 | 0.044418 | 0.055231 | 0.051954 | 0.049774 | 0.053176 | 0.049606 | 0.047394 | 0.0509 | 0.047559 | 0.045573 | 0.05552 | 0.052376 | 0.05027 | 0.053779 | 0.050285 | 0.04809 | 0.052124 | 0.048626 | 0.04652
| -0.6 | 0.063254 | 0.058441 | 0.055305 | 0.059626 | 0.054728 | 0.051783 | 0.055625 | 0.051623 | 0.049268 | 0.063899 | 0.059246 | 0.05617 | 0.060789 | 0.055879 | 0.052879 | 0.057807 | 0.053284 | 0.050626 | 0.064359 | 0.059864 | 0.056869 | 0.061633 | 0.056787 | 0.053781 | 0.059374 | 0.054602 | 0.051767
| -0.5 | 0.072455 | 0.065811 | 0.061536 | 0.067353 | 0.060839 | 0.056973 | 0.062377 | 0.057094 | 0.05402 | 0.073385 | 0.066904 | 0.062673 | 0.068881 | 0.062293 | 0.058321 | 0.065047 | 0.05906 | 0.055588 | 0.074078 | 0.067776 | 0.063615 | 0.070027 | 0.063467 | 0.059457 | 0.067019 | 0.06066 | 0.056936
| -0.4 | 0.082004 | 0.07308 | 0.067432 | 0.075016 | 0.066618 | 0.061695 | 0.068845 | 0.062103 | 0.058223 | 0.083296 | 0.074514 | 0.068872 | 0.076982 | 0.06841 | 0.063316 | 0.072053 | 0.064396 | 0.060012 | 0.084292 | 0.075692 | 0.070093 | 0.078496 | 0.069893 | 0.064708 | 0.074493 | 0.066298 | 0.061577
| -0.3 | 0.091881 | 0.080192 | 0.072961 | 0.082635 | 0.072079 | 0.065989 | 0.07505 | 0.066688 | 0.061937 | 0.09362 | 0.082017 | 0.074717 | 0.08511 | 0.074241 | 0.067891 | 0.078847 | 0.069322 | 0.063949 | 0.095001 | 0.083551 | 0.076245 | 0.087065 | 0.076067 | 0.069552 | 0.081807 | 0.071549 | 0.065739
| -0.2 | 0.10178 | 0.086893 | 0.077924 | 0.089992 | 0.077077 | 0.069761 | 0.080768 | 0.070711 | 0.065076 | 0.10405 | 0.089135 | 0.080006 | 0.093041 | 0.079633 | 0.071941 | 0.085182 | 0.073693 | 0.067311 | 0.1059 | 0.091064 | 0.081846 | 0.095503 | 0.081828 | 0.073877 | 0.088706 | 0.076257 | 0.069327
| -0.1 | 0.1115 | 0.093053 | 0.082294 | 0.097017 | 0.081602 | 0.07304 | 0.085968 | 0.074202 | 0.06771 | 0.11439 | 0.09574 | 0.084684 | 0.1007 | 0.084559 | 0.075498 | 0.091026 | 0.077532 | 0.070164 | 0.11679 | 0.098087 | 0.086826 | 0.10373 | 0.087138 | 0.0777 | 0.095136 | 0.080437 | 0.072398
| 0 | 0.12078 | 0.098572 | 0.086062 | 0.10359 | 0.085598 | 0.07586 | 0.09063 | 0.0772 | 0.069908 | 0.12436 | 0.10171 | 0.08873 | 0.10794 | 0.088948 | 0.078572 | 0.096328 | 0.080872 | 0.072572 | 0.12739 | 0.10448 | 0.091156 | 0.11159 | 0.091918 | 0.081024 | 0.10105 | 0.084118 | 0.075018
| 0.1 | 0.12934 | 0.1033 | 0.089184 | 0.10964 | 0.089106 | 0.078264 | 0.094778 | 0.079766 | 0.071746 | 0.13364 | 0.10686 | 0.092096 | 0.11469 | 0.092838 | 0.081198 | 0.10111 | 0.083766 | 0.074604 | 0.13735 | 0.11005 | 0.094774 | 0.11901 | 0.096182 | 0.083876 | 0.10645 | 0.087338 | 0.07725
| 0.2 | 0.13702 | 0.10732 | 0.091806 | 0.11499 | 0.09205 | 0.08025 | 0.098376 | 0.08189 | 0.07325 | 0.14204 | 0.11129 | 0.094928 | 0.12074 | 0.09613 | 0.083378 | 0.10531 | 0.086192 | 0.076284 | 0.14648 | 0.11487 | 0.097822 | 0.12573 | 0.099822 | 0.086254 | 0.11126 | 0.09007 | 0.079108
| 0.3 | 0.14346 | 0.11055 | 0.093882 | 0.11965 | 0.094534 | 0.081934 | 0.10149 | 0.083702 | 0.074528 | 0.14925 | 0.11484 | 0.097192 | 0.12607 | 0.098924 | 0.085236 | 0.109 | 0.088274 | 0.077722 | 0.15442 | 0.11877 | 0.10027 | 0.13173 | 0.10293 | 0.088288 | 0.11553 | 0.092432 | 0.080708
| 0.4 | 0.14871 | 0.11311 | 0.095554 | 0.12353 | 0.096552 | 0.083292 | 0.1041 | 0.085166 | 0.075562 | 0.15518 | 0.11769 | 0.09901 | 0.13056 | 0.1012 | 0.086728 | 0.11212 | 0.089972 | 0.078892 | 0.16107 | 0.12191 | 0.10224 | 0.13684 | 0.10548 | 0.089924 | 0.11919 | 0.094372 | 0.082016
| 0.5 | 0.15292 | 0.11518 | 0.096934 | 0.12658 | 0.098138 | 0.084384 | 0.10619 | 0.086344 | 0.076406 | 0.16003 | 0.12 | 0.10052 | 0.13414 | 0.103 | 0.087936 | 0.11465 | 0.091344 | 0.07985 | 0.16652 | 0.12446 | 0.10387 | 0.14097 | 0.1075 | 0.091252 | 0.1222 | 0.095946 | 0.08309
| 0.6 | 0.15606 | 0.11676 | 0.098014 | 0.12902 | 0.099438 | 0.0853 | 0.10789 | 0.087324 | 0.077118 | 0.16367 | 0.12176 | 0.1017 | 0.13702 | 0.10448 | 0.088954 | 0.11673 | 0.092488 | 0.08066 | 0.17069 | 0.12642 | 0.10515 | 0.14432 | 0.10917 | 0.092372 | 0.12467 | 0.097262 | 0.084
| 0.7 | 0.15841 | 0.118 | 0.098878 | 0.1309 | 0.10046 | 0.08603 | 0.10922 | 0.088096 | 0.077688 | 0.1664 | 0.12314 | 0.10264 | 0.13923 | 0.10564 | 0.089762 | 0.11835 | 0.09339 | 0.08131 | 0.17384 | 0.12795 | 0.10618 | 0.14689 | 0.11047 | 0.093262 | 0.12661 | 0.098302 | 0.084732
| 0.8 | 0.16022 | 0.119 | 0.09959 | 0.13227 | 0.10125 | 0.086608 | 0.11023 | 0.088704 | 0.078142 | 0.16851 | 0.12425 | 0.10342 | 0.14085 | 0.10654 | 0.090406 | 0.11959 | 0.094102 | 0.081832 | 0.17624 | 0.12918 | 0.10703 | 0.14879 | 0.11149 | 0.093976 | 0.12809 | 0.099124 | 0.085322
| 0.9 | 0.16154 | 0.11975 | 0.10015 | 0.13336 | 0.1019 | 0.087088 | 0.11103 | 0.089206 | 0.078524 | 0.17004 | 0.1251 | 0.10403 | 0.14213 | 0.10727 | 0.090942 | 0.12055 | 0.094688 | 0.082268 | 0.17799 | 0.13012 | 0.1077 | 0.15029 | 0.11231 | 0.09457 | 0.12925 | 0.0998 | 0.085816
| 1 | 0.16253 | 0.12034 | 0.10058 | 0.13418 | 0.1024 | 0.087468 | 0.11165 | 0.0896 | 0.078824 | 0.17118 | 0.12575 | 0.10452 | 0.14309 | 0.10785 | 0.091368 | 0.1213 | 0.09514 | 0.082612 | 0.17929 | 0.13086 | 0.10823 | 0.15142 | 0.11296 | 0.09504 | 0.13014 | 0.10032 | 0.086208
| 1.1 | 0.1633 | 0.12083 | 0.10094 | 0.1348 | 0.10281 | 0.087772 | 0.11212 | 0.089904 | 0.079062 | 0.17208 | 0.12631 | 0.10492 | 0.14382 | 0.10831 | 0.091704 | 0.12187 | 0.095498 | 0.082886 | 0.18031 | 0.13145 | 0.10868 | 0.15224 | 0.11346 | 0.095414 | 0.13081 | 0.10075 | 0.086516
| 1.2 | 0.16389 | 0.1212 | 0.10124 | 0.1353 | 0.10313 | 0.088018 | 0.11249 | 0.090152 | 0.079252 | 0.17275 | 0.12672 | 0.10523 | 0.14441 | 0.10866 | 0.091986 | 0.12232 | 0.095812 | 0.083104 | 0.18107 | 0.13193 | 0.10901 | 0.15292 | 0.11389 | 0.095716 | 0.13136 | 0.10109 | 0.086776
| 1.3 | 0.16436 | 0.1215 | 0.10145 | 0.13568 | 0.10338 | 0.088216 | 0.11278 | 0.090348 | 0.079416 | 0.17327 | 0.12705 | 0.10548 | 0.14484 | 0.10896 | 0.092192 | 0.12268 | 0.096024 | 0.083296 | 0.18167 | 0.13228 | 0.10929 | 0.15344 | 0.1142 | 0.095952 | 0.13178 | 0.10134 | 0.086976
| 1.4 | 0.16473 | 0.12175 | 0.10165 | 0.13598 | 0.10357 | 0.088362 | 0.11302 | 0.09052 | 0.07954 | 0.17369 | 0.12732 | 0.10569 | 0.1452 | 0.10917 | 0.09236 | 0.12296 | 0.09621 | 0.08344 | 0.18214 | 0.13258 | 0.10952 | 0.15382 | 0.11445 | 0.09616 | 0.1321 | 0.10156 | 0.08714
| 1.5 | 0.16501 | 0.12192 | 0.10179 | 0.13623 | 0.10373 | 0.088488 | 0.1132 | 0.090646 | 0.07964 | 0.174 | 0.12752 | 0.10584 | 0.14548 | 0.10937 | 0.092518 | 0.12317 | 0.096362 | 0.083552 | 0.1825 | 0.1328 | 0.10968 | 0.15414 | 0.11465 | 0.096314 | 0.13235 | 0.10172 | 0.087266
| 1.6 | 0.16523 | 0.12208 | 0.1019 | 0.1364 | 0.10385 | 0.088576 | 0.11334 | 0.09073 | 0.079704 | 0.17425 | 0.12769 | 0.10597 | 0.14569 | 0.10951 | 0.092614 | 0.12334 | 0.096468 | 0.083644 | 0.18278 | 0.133 | 0.10982 | 0.15439 | 0.11481 | 0.096438 | 0.13255 | 0.10187 | 0.087366
| 1.7 | 0.16541 | 0.12219 | 0.102 | 0.13655 | 0.10396 | 0.088668 | 0.11345 | 0.090816 | 0.079766 | 0.17444 | 0.12781 | 0.10607 | 0.14586 | 0.10961 | 0.092708 | 0.12346 | 0.096574 | 0.083708 | 0.183 | 0.13314 | 0.10994 | 0.15456 | 0.11494 | 0.096534 | 0.13271 | 0.10197 | 0.087454
| 1.8 | 0.16554 | 0.12228 | 0.10205 | 0.13668 | 0.10403 | 0.088714 | 0.11354 | 0.09088 | 0.079824 | 0.1746 | 0.12791 | 0.10615 | 0.14599 | 0.1097 | 0.092772 | 0.12357 | 0.096634 | 0.083766 | 0.18317 | 0.13325 | 0.11001 | 0.15472 | 0.11504 | 0.096598 | 0.13282 | 0.10205 | 0.08751
| 1.9 | 0.16564 | 0.12234 | 0.10211 | 0.13675 | 0.1041 | 0.088758 | 0.1136 | 0.090924 | 0.07986 | 0.17471 | 0.128 | 0.1062 | 0.14609 | 0.10976 | 0.09283 | 0.12365 | 0.09669 | 0.083798 | 0.1833 | 0.13333 | 0.11008 | 0.15484 | 0.11511 | 0.096654 | 0.13294 | 0.10212 | 0.087576
| 2 | 0.16572 | 0.1224 | 0.10216 | 0.13682 | 0.10414 | 0.08882 | 0.11366 | 0.09096 | 0.07988 | 0.1748 | 0.12804 | 0.10626 | 0.14616 | 0.10982 | 0.09288 | 0.12372 | 0.09674 | 0.08384 | 0.18342 | 0.13341 | 0.11013 | 0.15494 | 0.11518 | 0.096712 | 0.13301 | 0.10217 | 0.0876
| 2.1 | 0.1658 | 0.12246 | 0.10218 | 0.13686 | 0.10418 | 0.08884 | 0.1137 | 0.09098 | 0.0799 | 0.17488 | 0.1281 | 0.10628 | 0.14624 | 0.10986 | 0.0929 | 0.12376 | 0.09676 | 0.08386 | 0.18348 | 0.13346 | 0.11018 | 0.15502 | 0.11524 | 0.09674 | 0.13306 | 0.10222 | 0.08764
| 2.2 | 0.16584 | 0.12248 | 0.10222 | 0.13692 | 0.1042 | 0.08886 | 0.11374 | 0.091 | 0.07992 | 0.17494 | 0.12814 | 0.10632 | 0.14628 | 0.1099 | 0.09294 | 0.12382 | 0.0968 | 0.08388 | 0.18356 | 0.1335 | 0.1102 | 0.15506 | 0.11526 | 0.09676 | 0.13312 | 0.10222 | 0.08766
| 2.3 | 0.16588 | 0.12252 | 0.10224 | 0.13696 | 0.10424 | 0.08886 | 0.11376 | 0.09102 | 0.07994 | 0.175 | 0.12818 | 0.10634 | 0.14632 | 0.10992 | 0.09294 | 0.12384 | 0.09682 | 0.0839 | 0.1836 | 0.13354 | 0.11024 | 0.1551 | 0.1153 | 0.0968 | 0.13314 | 0.10226 | 0.08768
| 2.4 | 0.1659 | 0.12254 | 0.10226 | 0.13698 | 0.10424 | 0.08888 | 0.11378 | 0.09104 | 0.07996 | 0.175 | 0.1282 | 0.10636 | 0.14636 | 0.10994 | 0.09296 | 0.12386 | 0.09684 | 0.08392 | 0.18364 | 0.13356 | 0.11024 | 0.15512 | 0.11532 | 0.09682 | 0.13318 | 0.10228 | 0.0877
| 2.5 | 0.16594 | 0.12254 | 0.10226 | 0.137 | 0.10426 | 0.0889 | 0.11378 | 0.09104 | 0.07996 | 0.17504 | 0.12822 | 0.10638 | 0.14636 | 0.10996 | 0.09298 | 0.12388 | 0.09686 | 0.08392 | 0.18366 | 0.13358 | 0.11028 | 0.15516 | 0.11534 | 0.09682 | 0.1332 | 0.1023 | 0.0877
| 2.6 | 0.16594 | 0.12256 | 0.10226 | 0.13702 | 0.10428 | 0.0889 | 0.1138 | 0.09106 | 0.07998 | 0.17506 | 0.12824 | 0.10638 | 0.14638 | 0.10998 | 0.09298 | 0.12388 | 0.09686 | 0.08392 | 0.1837 | 0.1336 | 0.11028 | 0.15518 | 0.11534 | 0.09682 | 0.13322 | 0.1023 | 0.08772
| 2.7 | 0.16594 | 0.12256 | 0.10228 | 0.13702 | 0.10428 | 0.08892 | 0.11382 | 0.09106 | 0.07996 | 0.17508 | 0.12822 | 0.1064 | 0.1464 | 0.10998 | 0.09298 | 0.1239 | 0.09686 | 0.08394 | 0.1837 | 0.13362 | 0.1103 | 0.15518 | 0.11534 | 0.09684 | 0.13322 | 0.1023 | 0.08772
| 2.8 | 0.16596 | 0.12258 | 0.10228 | 0.13702 | 0.10428 | 0.0889 | 0.11382 | 0.09106 | 0.07996 | 0.17508 | 0.12824 | 0.1064 | 0.14642 | 0.10998 | 0.09298 | 0.12392 | 0.09686 | 0.08394 | 0.18374 | 0.13362 | 0.11028 | 0.15522 | 0.11536 | 0.09684 | 0.13324 | 0.1023 | 0.08772
| 2.9 | 0.16598 | 0.12256 | 0.10228 | 0.13704 | 0.10428 | 0.08892 | 0.11382 | 0.09106 | 0.07996 | 0.1751 | 0.12824 | 0.1064 | 0.1464 | 0.10998 | 0.09298 | 0.12392 | 0.09686 | 0.08394 | 0.18372 | 0.13362 | 0.1103 | 0.1552 | 0.11536 | 0.09686 | 0.13322 | 0.10232 | 0.08772
| 3 | 0.16598 | 0.12258 | 0.10228 | 0.13702 | 0.1043 | 0.08892 | 0.11382 | 0.09106 | 0.07996 | 0.1751 | 0.12826 | 0.1064 | 0.1464 | 0.11 | 0.093 | 0.12392 | 0.09686 | 0.08394 | 0.18374 | 0.13362 | 0.1103 | 0.1552 | 0.11536 | 0.09684 | 0.13324 | 0.10232 | 0.08772

## Rb3D rpe = 16 mm
Rb3D,COMSOL (m K/W) for rpe = 16 mm |  | rb = 68 mm | [8 empty] | rb = 72 mm | [8 empty] | rb = 76 mm
|  | s = 27 mm |  |  | s = 37 mm |  |  | s = 47 mm |  |  | s = 27 mm |  |  | s = 37 mm |  |  | s = 47 mm |  |  | s = 27 mm |  |  | s = 47 mm |  |  | s = 47 mm
| Log10(thours) | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K
| -2.5 | 0.0017027 | 0.0017026 | 0.0017025 | 0.0016013 | 0.0016012 | 0.0016011 | 0.0015006 | 0.0015006 | 0.0015006 | 0.0017027 | 0.0017026 | 0.0017024 | 0.0016017 | 0.0016016 | 0.0016011 | 0.0015001 | 0.0015002 | 0.0015002 | 0.0017028 | 0.0017026 | 0.0017025 | 0.0016018 | 0.0016017 | 0.0016016 | 0.0015003 | 0.0015003 | 0.0015002
| -2.4 | 0.0022588 | 0.0022583 | 0.002258 | 0.002158 | 0.0021576 | 0.0021573 | 0.0020591 | 0.0020589 | 0.0020586 | 0.0022587 | 0.0022582 | 0.0022578 | 0.0021588 | 0.0021585 | 0.0021573 | 0.0020582 | 0.0020581 | 0.0020582 | 0.0022588 | 0.0022584 | 0.0022581 | 0.0021591 | 0.0021586 | 0.0021583 | 0.0020584 | 0.0020582 | 0.0020582
| -2.3 | 0.0029508 | 0.0029497 | 0.0029486 | 0.0028503 | 0.0028494 | 0.0028488 | 0.002753 | 0.0027518 | 0.0027506 | 0.0029509 | 0.0029495 | 0.0029486 | 0.0028521 | 0.0028506 | 0.0028488 | 0.0027519 | 0.0027514 | 0.0027508 | 0.0029513 | 0.0029498 | 0.0029489 | 0.0028526 | 0.0028514 | 0.0028505 | 0.0027518 | 0.0027513 | 0.0027507
| -2.2 | 0.0038117 | 0.0038084 | 0.0038062 | 0.0037108 | 0.0037084 | 0.0037068 | 0.0036148 | 0.0036113 | 0.0036081 | 0.0038114 | 0.0038081 | 0.0038058 | 0.0037132 | 0.0037101 | 0.0037068 | 0.0036139 | 0.003612 | 0.0036102 | 0.0038122 | 0.0038088 | 0.0038063 | 0.0037147 | 0.0037118 | 0.0037094 | 0.0036137 | 0.0036116 | 0.0036102
| -2.1 | 0.0048809 | 0.0048738 | 0.0048685 | 0.0047797 | 0.0047743 | 0.0047702 | 0.0046844 | 0.0046757 | 0.0046688 | 0.0048799 | 0.0048729 | 0.0048678 | 0.0047823 | 0.0047757 | 0.0047702 | 0.0046846 | 0.0046793 | 0.0046747 | 0.0048815 | 0.004874 | 0.0048689 | 0.0047853 | 0.0047785 | 0.0047736 | 0.0046838 | 0.0046789 | 0.0046751
| -2 | 0.0062025 | 0.0061878 | 0.0061778 | 0.0061008 | 0.006089 | 0.0060809 | 0.0060055 | 0.0059867 | 0.0059728 | 0.0062007 | 0.0061867 | 0.0061768 | 0.0061033 | 0.0060903 | 0.0060809 | 0.0060091 | 0.0059959 | 0.0059857 | 0.0062033 | 0.0061884 | 0.0061783 | 0.0061087 | 0.0060947 | 0.0060851 | 0.0060074 | 0.0059962 | 0.0059879
| -1.9 | 0.0078293 | 0.0078018 | 0.0077833 | 0.0077267 | 0.0077036 | 0.0076873 | 0.0076275 | 0.0075915 | 0.0075661 | 0.007827 | 0.0078005 | 0.0077824 | 0.0077298 | 0.0077053 | 0.0076873 | 0.007639 | 0.0076113 | 0.0075906 | 0.00783 | 0.0078024 | 0.0077842 | 0.0077379 | 0.0077111 | 0.0076933 | 0.0076373 | 0.0076142 | 0.0075971
| -1.8 | 0.0098214 | 0.0097723 | 0.0097405 | 0.0097187 | 0.0096749 | 0.009644 | 0.0096075 | 0.0095425 | 0.0094985 | 0.0098191 | 0.0097711 | 0.0097395 | 0.0097224 | 0.009678 | 0.009644 | 0.0096341 | 0.0095804 | 0.009542 | 0.0098219 | 0.009773 | 0.0097412 | 0.0097326 | 0.0096846 | 0.0096534 | 0.0096338 | 0.0095886 | 0.0095564
| -1.7 | 0.012246 | 0.012161 | 0.012107 | 0.012144 | 0.012064 | 0.012007 | 0.012007 | 0.011895 | 0.011822 | 0.012243 | 0.01216 | 0.012106 | 0.012148 | 0.012069 | 0.012007 | 0.012057 | 0.01196 | 0.011892 | 0.012246 | 0.012162 | 0.012108 | 0.01216 | 0.012077 | 0.012024 | 0.012062 | 0.011979 | 0.011921
| -1.6 | 0.015173 | 0.015032 | 0.014942 | 0.01507 | 0.014928 | 0.01483 | 0.014888 | 0.014704 | 0.014585 | 0.01517 | 0.015031 | 0.014942 | 0.015078 | 0.014942 | 0.01483 | 0.014974 | 0.014806 | 0.014693 | 0.015173 | 0.015033 | 0.014945 | 0.015091 | 0.014952 | 0.014861 | 0.014992 | 0.014845 | 0.014745
| -1.5 | 0.018679 | 0.018448 | 0.018299 | 0.018571 | 0.018328 | 0.018161 | 0.018317 | 0.01802 | 0.017832 | 0.018676 | 0.018448 | 0.018303 | 0.018586 | 0.018355 | 0.018161 | 0.018453 | 0.018175 | 0.017992 | 0.018679 | 0.018451 | 0.018308 | 0.018602 | 0.018371 | 0.018221 | 0.018495 | 0.018245 | 0.018076
| -1.4 | 0.022836 | 0.022464 | 0.022222 | 0.022714 | 0.022309 | 0.022035 | 0.022348 | 0.021882 | 0.021591 | 0.022834 | 0.022467 | 0.022236 | 0.022741 | 0.02236 | 0.022035 | 0.022557 | 0.022107 | 0.021818 | 0.022838 | 0.022473 | 0.022243 | 0.022764 | 0.022387 | 0.022142 | 0.022637 | 0.022225 | 0.02195
| -1.3 | 0.027712 | 0.027116 | 0.026731 | 0.027553 | 0.026896 | 0.026458 | 0.027026 | 0.026308 | 0.025863 | 0.027714 | 0.027133 | 0.026761 | 0.027605 | 0.026985 | 0.026458 | 0.027334 | 0.026628 | 0.026177 | 0.027716 | 0.027142 | 0.026781 | 0.027638 | 0.027035 | 0.026641 | 0.027469 | 0.026809 | 0.026374
| -1.2 | 0.03335 | 0.032422 | 0.031814 | 0.033119 | 0.032085 | 0.031403 | 0.032371 | 0.031288 | 0.030623 | 0.033361 | 0.032459 | 0.031878 | 0.033215 | 0.032235 | 0.031403 | 0.032813 | 0.031729 | 0.031045 | 0.033367 | 0.032481 | 0.03192 | 0.033271 | 0.032324 | 0.031703 | 0.033031 | 0.031996 | 0.031327
| -1.1 | 0.039764 | 0.038339 | 0.037409 | 0.039401 | 0.037814 | 0.036785 | 0.038358 | 0.036757 | 0.035783 | 0.039794 | 0.038416 | 0.037529 | 0.039566 | 0.038051 | 0.036785 | 0.038971 | 0.037346 | 0.036332 | 0.039808 | 0.038463 | 0.037607 | 0.039662 | 0.038202 | 0.037249 | 0.039303 | 0.037727 | 0.036722
| -1 | 0.046594 | 0.044495 | 0.043126 | 0.045933 | 0.043608 | 0.042122 | 0.044435 | 0.042171 | 0.040801 | 0.046663 | 0.044641 | 0.043329 | 0.046204 | 0.043968 | 0.042122 | 0.04526 | 0.042934 | 0.041497 | 0.046701 | 0.044733 | 0.04347 | 0.046365 | 0.044206 | 0.042805 | 0.045748 | 0.04346 | 0.042016
| -0.9 | 0.05455 | 0.051476 | 0.049488 | 0.05354 | 0.050171 | 0.048055 | 0.051588 | 0.048382 | 0.046463 | 0.054687 | 0.051727 | 0.04981 | 0.053956 | 0.050687 | 0.048055 | 0.052679 | 0.049355 | 0.047326 | 0.054769 | 0.051895 | 0.050043 | 0.054222 | 0.051048 | 0.049016 | 0.05336 | 0.050053 | 0.047994
| -0.8 | 0.063167 | 0.05879 | 0.055973 | 0.061629 | 0.056883 | 0.053954 | 0.059102 | 0.054677 | 0.052058 | 0.063415 | 0.059186 | 0.056457 | 0.062239 | 0.057595 | 0.053954 | 0.060527 | 0.055893 | 0.053103 | 0.063572 | 0.059466 | 0.056822 | 0.062649 | 0.05812 | 0.05526 | 0.06146 | 0.056801 | 0.053942
| -0.7 | 0.072155 | 0.06612 | 0.062268 | 0.069793 | 0.063359 | 0.059462 | 0.066523 | 0.060635 | 0.057182 | 0.072568 | 0.066716 | 0.062959 | 0.070657 | 0.06431 | 0.059462 | 0.068347 | 0.062121 | 0.058422 | 0.072845 | 0.067159 | 0.063501 | 0.071259 | 0.065037 | 0.061174 | 0.069591 | 0.06327 | 0.059448
| -0.6 | 0.081746 | 0.073608 | 0.068472 | 0.078261 | 0.069775 | 0.064731 | 0.074143 | 0.066483 | 0.061916 | 0.082387 | 0.074459 | 0.06941 | 0.079446 | 0.071008 | 0.064731 | 0.076427 | 0.068264 | 0.06346 | 0.08284 | 0.075116 | 0.070174 | 0.080304 | 0.071981 | 0.066903 | 0.07805 | 0.069681 | 0.064683
| -0.5 | 0.091562 | 0.080892 | 0.074248 | 0.086543 | 0.075724 | 0.069425 | 0.081374 | 0.071748 | 0.066215 | 0.092501 | 0.082052 | 0.075475 | 0.088121 | 0.077279 | 0.069425 | 0.084184 | 0.073846 | 0.067933 | 0.093199 | 0.082982 | 0.0765 | 0.089298 | 0.078537 | 0.072102 | 0.086245 | 0.075558 | 0.069366
| -0.4 | 0.1016 | 0.08794 | 0.079589 | 0.094642 | 0.081258 | 0.073616 | 0.08822 | 0.076492 | 0.069923 | 0.10292 | 0.089463 | 0.081127 | 0.096685 | 0.083164 | 0.073616 | 0.091609 | 0.078919 | 0.071829 | 0.10394 | 0.090716 | 0.082442 | 0.098255 | 0.084747 | 0.076824 | 0.09417 | 0.080943 | 0.073476
| -0.3 | 0.11164 | 0.094583 | 0.084383 | 0.10237 | 0.086272 | 0.077265 | 0.094466 | 0.080606 | 0.073031 | 0.11344 | 0.09651 | 0.086243 | 0.10495 | 0.088557 | 0.077265 | 0.098467 | 0.083373 | 0.075126 | 0.11487 | 0.098134 | 0.087865 | 0.10698 | 0.090495 | 0.081018 | 0.10158 | 0.085718 | 0.07699
| -0.2 | 0.12154 | 0.10073 | 0.088595 | 0.10967 | 0.090801 | 0.080442 | 0.10009 | 0.084154 | 0.0756 | 0.12389 | 0.10309 | 0.090769 | 0.11285 | 0.09348 | 0.080442 | 0.10472 | 0.087267 | 0.077899 | 0.1258 | 0.10512 | 0.092698 | 0.11542 | 0.095791 | 0.084734 | 0.10841 | 0.089942 | 0.079979
| -0.1 | 0.13112 | 0.10628 | 0.092252 | 0.11653 | 0.094842 | 0.08319 | 0.10508 | 0.087226 | 0.077768 | 0.13409 | 0.10908 | 0.094722 | 0.12037 | 0.097919 | 0.08319 | 0.11036 | 0.090664 | 0.08027 | 0.13657 | 0.11153 | 0.096942 | 0.12352 | 0.10062 | 0.087985 | 0.11467 | 0.09369 | 0.082562
| 0 | 0.14004 | 0.11111 | 0.095328 | 0.12282 | 0.098368 | 0.085522 | 0.10949 | 0.08981 | 0.07955 | 0.14371 | 0.11435 | 0.098062 | 0.12733 | 0.10183 | 0.085522 | 0.1154 | 0.093578 | 0.08225 | 0.14684 | 0.11722 | 0.10055 | 0.13113 | 0.10491 | 0.090806 | 0.12032 | 0.096928 | 0.084742
| 0.1 | 0.1482 | 0.11529 | 0.097946 | 0.12858 | 0.10146 | 0.08754 | 0.11337 | 0.092036 | 0.081072 | 0.15265 | 0.11894 | 0.10091 | 0.13379 | 0.1053 | 0.08754 | 0.11991 | 0.096132 | 0.083954 | 0.15648 | 0.12222 | 0.10364 | 0.13827 | 0.10874 | 0.093232 | 0.12544 | 0.099786 | 0.086636
| 0.2 | 0.15532 | 0.11869 | 0.10006 | 0.1336 | 0.10403 | 0.089202 | 0.11674 | 0.093906 | 0.082342 | 0.16049 | 0.12271 | 0.10322 | 0.13951 | 0.1082 | 0.089202 | 0.12388 | 0.098268 | 0.085394 | 0.16506 | 0.12637 | 0.10614 | 0.14466 | 0.11198 | 0.09526 | 0.13001 | 0.10224 | 0.088248
| 0.3 | 0.16123 | 0.12145 | 0.10178 | 0.13787 | 0.10616 | 0.090584 | 0.11957 | 0.09544 | 0.083386 | 0.16716 | 0.12579 | 0.10511 | 0.14444 | 0.11061 | 0.090584 | 0.12726 | 0.10007 | 0.086586 | 0.17246 | 0.12978 | 0.1082 | 0.15025 | 0.11469 | 0.096982 | 0.13397 | 0.10429 | 0.08959
| 0.4 | 0.1661 | 0.12371 | 0.10322 | 0.14148 | 0.10794 | 0.091758 | 0.12197 | 0.096738 | 0.084278 | 0.17274 | 0.12832 | 0.10669 | 0.14865 | 0.11264 | 0.091758 | 0.13017 | 0.10159 | 0.087604 | 0.17873 | 0.13259 | 0.10993 | 0.15507 | 0.11698 | 0.098418 | 0.1374 | 0.10604 | 0.09074
| 0.5 | 0.16988 | 0.12546 | 0.10437 | 0.14429 | 0.10934 | 0.092702 | 0.12393 | 0.097788 | 0.085008 | 0.17706 | 0.13029 | 0.10795 | 0.15197 | 0.11425 | 0.092702 | 0.13255 | 0.10282 | 0.088446 | 0.18365 | 0.13478 | 0.11131 | 0.15893 | 0.1188 | 0.099584 | 0.14024 | 0.10748 | 0.091696
| 0.6 | 0.17269 | 0.12684 | 0.1053 | 0.14648 | 0.11046 | 0.09347 | 0.12545 | 0.098622 | 0.0856 | 0.18038 | 0.13184 | 0.10897 | 0.15458 | 0.11553 | 0.09347 | 0.13443 | 0.10381 | 0.08913 | 0.18745 | 0.13651 | 0.11243 | 0.16198 | 0.12025 | 0.10056 | 0.14248 | 0.10862 | 0.092472
| 0.7 | 0.17489 | 0.12795 | 0.10607 | 0.14823 | 0.11138 | 0.094114 | 0.12668 | 0.099314 | 0.086096 | 0.18293 | 0.13309 | 0.10982 | 0.15663 | 0.11659 | 0.094114 | 0.13593 | 0.10463 | 0.089704 | 0.19042 | 0.13793 | 0.11336 | 0.1644 | 0.12145 | 0.10136 | 0.14432 | 0.10957 | 0.093126
| 0.8 | 0.1765 | 0.12883 | 0.10667 | 0.1495 | 0.11208 | 0.094624 | 0.12762 | 0.099862 | 0.086496 | 0.18481 | 0.13405 | 0.11049 | 0.15817 | 0.11741 | 0.094624 | 0.13708 | 0.10527 | 0.090168 | 0.19257 | 0.13901 | 0.11409 | 0.16617 | 0.12237 | 0.10199 | 0.14571 | 0.11033 | 0.093658
| 0.9 | 0.17769 | 0.12951 | 0.10717 | 0.15047 | 0.11266 | 0.095034 | 0.12833 | 0.10028 | 0.086814 | 0.1862 | 0.13483 | 0.11104 | 0.15932 | 0.11804 | 0.095034 | 0.13796 | 0.10579 | 0.090538 | 0.19419 | 0.13986 | 0.1147 | 0.16754 | 0.1231 | 0.10252 | 0.14676 | 0.11092 | 0.094082
| 1 | 0.17863 | 0.13005 | 0.10756 | 0.15125 | 0.11313 | 0.095384 | 0.1289 | 0.10065 | 0.087078 | 0.18729 | 0.13546 | 0.11148 | 0.16023 | 0.11859 | 0.095384 | 0.13866 | 0.1062 | 0.090846 | 0.19544 | 0.14055 | 0.11518 | 0.16859 | 0.12371 | 0.10295 | 0.1476 | 0.11141 | 0.094436
| 1.1 | 0.17936 | 0.13049 | 0.10786 | 0.15185 | 0.11349 | 0.095634 | 0.12934 | 0.10092 | 0.087286 | 0.1881 | 0.13593 | 0.11183 | 0.16092 | 0.11898 | 0.095634 | 0.13921 | 0.10653 | 0.091102 | 0.19637 | 0.14108 | 0.11558 | 0.16938 | 0.12418 | 0.10328 | 0.14825 | 0.11179 | 0.094714
| 1.2 | 0.17991 | 0.13081 | 0.10812 | 0.15229 | 0.11376 | 0.095854 | 0.12968 | 0.10115 | 0.087446 | 0.18873 | 0.1363 | 0.1121 | 0.16146 | 0.11931 | 0.095854 | 0.13961 | 0.10679 | 0.091276 | 0.19708 | 0.1415 | 0.11589 | 0.17 | 0.12454 | 0.10355 | 0.14872 | 0.1121 | 0.094944
| 1.3 | 0.18035 | 0.1311 | 0.10833 | 0.15267 | 0.114 | 0.096038 | 0.12996 | 0.10131 | 0.087584 | 0.18924 | 0.13662 | 0.11234 | 0.16189 | 0.11958 | 0.096038 | 0.13996 | 0.10702 | 0.091442 | 0.19766 | 0.14186 | 0.11613 | 0.1705 | 0.12484 | 0.10378 | 0.14912 | 0.11234 | 0.095118
| 1.4 | 0.18069 | 0.1313 | 0.10849 | 0.15295 | 0.11419 | 0.096166 | 0.13019 | 0.10147 | 0.087686 | 0.18962 | 0.13686 | 0.11252 | 0.1622 | 0.11979 | 0.096166 | 0.1402 | 0.10717 | 0.091562 | 0.19809 | 0.14213 | 0.11633 | 0.17087 | 0.12508 | 0.10395 | 0.14944 | 0.11254 | 0.095276
| 1.5 | 0.18095 | 0.13148 | 0.10863 | 0.15317 | 0.11433 | 0.096266 | 0.13035 | 0.10158 | 0.087774 | 0.18993 | 0.13706 | 0.11265 | 0.16248 | 0.11996 | 0.096266 | 0.14041 | 0.10731 | 0.091662 | 0.19843 | 0.14233 | 0.11649 | 0.17118 | 0.12528 | 0.1041 | 0.14968 | 0.11268 | 0.095388
| 1.6 | 0.18116 | 0.13161 | 0.10871 | 0.15334 | 0.11445 | 0.096372 | 0.13047 | 0.10166 | 0.087852 | 0.19017 | 0.1372 | 0.11276 | 0.16268 | 0.1201 | 0.096372 | 0.14057 | 0.10741 | 0.091748 | 0.19871 | 0.14251 | 0.11662 | 0.17141 | 0.12542 | 0.10419 | 0.14987 | 0.11282 | 0.09548
| 1.7 | 0.18132 | 0.13172 | 0.10879 | 0.15347 | 0.11454 | 0.096424 | 0.13059 | 0.10173 | 0.087902 | 0.19036 | 0.13733 | 0.11286 | 0.16284 | 0.12019 | 0.096424 | 0.14069 | 0.10749 | 0.091818 | 0.1989 | 0.14264 | 0.11672 | 0.17158 | 0.12553 | 0.10429 | 0.15002 | 0.11291 | 0.095552
| 1.8 | 0.18144 | 0.13181 | 0.10886 | 0.15358 | 0.11459 | 0.096482 | 0.13066 | 0.10179 | 0.087938 | 0.1905 | 0.13741 | 0.11293 | 0.16295 | 0.12028 | 0.096482 | 0.14079 | 0.10756 | 0.091852 | 0.19907 | 0.14273 | 0.11678 | 0.17172 | 0.12563 | 0.10436 | 0.15012 | 0.11298 | 0.095602
| 1.9 | 0.18156 | 0.13187 | 0.10892 | 0.15367 | 0.11465 | 0.096528 | 0.13073 | 0.10183 | 0.087966 | 0.19061 | 0.13748 | 0.11298 | 0.16305 | 0.12034 | 0.096528 | 0.14087 | 0.1076 | 0.091896 | 0.19919 | 0.14282 | 0.11685 | 0.17185 | 0.12569 | 0.10442 | 0.15023 | 0.11304 | 0.09566
| 2 | 0.18162 | 0.13192 | 0.10894 | 0.15372 | 0.1147 | 0.09656 | 0.13076 | 0.10186 | 0.08802 | 0.1907 | 0.13754 | 0.11302 | 0.16314 | 0.12038 | 0.09656 | 0.14094 | 0.10764 | 0.09194 | 0.19929 | 0.14289 | 0.1169 | 0.17193 | 0.12576 | 0.10446 | 0.1503 | 0.1131 | 0.095684
| 2.1 | 0.1817 | 0.13194 | 0.10898 | 0.15378 | 0.11474 | 0.09658 | 0.13082 | 0.10188 | 0.08802 | 0.19078 | 0.13758 | 0.11306 | 0.16318 | 0.12042 | 0.09658 | 0.14098 | 0.10768 | 0.09194 | 0.19938 | 0.14294 | 0.11694 | 0.172 | 0.1258 | 0.10448 | 0.15034 | 0.11312 | 0.09572
| 2.2 | 0.18174 | 0.132 | 0.109 | 0.15382 | 0.11474 | 0.0966 | 0.13084 | 0.10192 | 0.08802 | 0.19082 | 0.13764 | 0.1131 | 0.16324 | 0.12044 | 0.0966 | 0.14102 | 0.1077 | 0.09196 | 0.19944 | 0.143 | 0.11696 | 0.17204 | 0.12584 | 0.10452 | 0.1504 | 0.11314 | 0.09574
| 2.3 | 0.18178 | 0.13202 | 0.10902 | 0.15386 | 0.11476 | 0.09662 | 0.13086 | 0.10192 | 0.08804 | 0.19086 | 0.13764 | 0.11312 | 0.16328 | 0.12048 | 0.09662 | 0.14104 | 0.10772 | 0.092 | 0.19948 | 0.143 | 0.117 | 0.17208 | 0.12586 | 0.10454 | 0.15042 | 0.11318 | 0.09574
| 2.4 | 0.1818 | 0.13204 | 0.10904 | 0.15388 | 0.1148 | 0.09662 | 0.13088 | 0.10194 | 0.08804 | 0.1909 | 0.13766 | 0.11312 | 0.16328 | 0.12048 | 0.09662 | 0.14108 | 0.10774 | 0.092 | 0.19952 | 0.14302 | 0.117 | 0.17212 | 0.12588 | 0.10454 | 0.15044 | 0.1132 | 0.09576
| 2.5 | 0.18182 | 0.13204 | 0.10904 | 0.1539 | 0.1148 | 0.09664 | 0.1309 | 0.10194 | 0.08806 | 0.19092 | 0.13768 | 0.11314 | 0.16332 | 0.12052 | 0.09664 | 0.14108 | 0.10774 | 0.09202 | 0.19956 | 0.14304 | 0.11702 | 0.17214 | 0.1259 | 0.10458 | 0.15048 | 0.1132 | 0.09578
| 2.6 | 0.18184 | 0.13206 | 0.10904 | 0.15392 | 0.11482 | 0.09664 | 0.1309 | 0.10194 | 0.08806 | 0.19094 | 0.1377 | 0.11314 | 0.16334 | 0.12052 | 0.09664 | 0.1411 | 0.10776 | 0.09202 | 0.19956 | 0.14306 | 0.11702 | 0.17216 | 0.1259 | 0.10456 | 0.1505 | 0.11322 | 0.09578
| 2.7 | 0.18186 | 0.13206 | 0.10906 | 0.15392 | 0.11482 | 0.09666 | 0.13092 | 0.10194 | 0.08808 | 0.19094 | 0.1377 | 0.11316 | 0.16334 | 0.12052 | 0.09666 | 0.1411 | 0.10776 | 0.092 | 0.19958 | 0.14308 | 0.11704 | 0.17218 | 0.12592 | 0.10458 | 0.15048 | 0.11322 | 0.09578
| 2.8 | 0.18186 | 0.13208 | 0.10908 | 0.15394 | 0.11482 | 0.09664 | 0.1309 | 0.10194 | 0.08806 | 0.19096 | 0.13772 | 0.11316 | 0.16336 | 0.12052 | 0.09664 | 0.1411 | 0.10776 | 0.092 | 0.19958 | 0.14308 | 0.11704 | 0.17218 | 0.12592 | 0.10458 | 0.1505 | 0.11324 | 0.0958
| 2.9 | 0.18186 | 0.13206 | 0.10906 | 0.15394 | 0.11482 | 0.09664 | 0.1309 | 0.10196 | 0.08808 | 0.19096 | 0.13772 | 0.11316 | 0.16336 | 0.12052 | 0.09664 | 0.1411 | 0.10776 | 0.09202 | 0.1996 | 0.1431 | 0.11706 | 0.17218 | 0.12592 | 0.10458 | 0.15052 | 0.11324 | 0.09578
| 3 | 0.18186 | 0.13208 | 0.10906 | 0.15392 | 0.11484 | 0.09666 | 0.13092 | 0.10194 | 0.08808 | 0.19098 | 0.13772 | 0.11316 | 0.16334 | 0.12052 | 0.09666 | 0.1411 | 0.10776 | 0.09202 | 0.1996 | 0.14308 | 0.11706 | 0.1722 | 0.12594 | 0.10458 | 0.1505 | 0.11322 | 0.0958

## ccoeff rpe = 20 mm
ccoeff for rpe = 20 mm |  | rb = 68 mm | [8 empty] | rb = 72 mm | [8 empty] | rb = 76 mm
|  | s = 27 mm |  |  | s = 37 mm |  |  | s = 47 mm |  |  | s = 27 mm |  |  | s = 37 mm |  |  | s = 47 mm |  |  | s = 27 mm |  |  | s = 47 mm |  |  | s = 47 mm
| Log10(thours) | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K
| -2.5 | 0.60429 | 0.60576 | 0.60684 | 0.55074 | 0.55215 | 0.55316 | 0.49706 | 0.49817 | 0.49895 | 0.60401 | 0.60545 | 0.60654 | 0.55052 | 0.5519 | 0.55291 | 0.49649 | 0.49773 | 0.49859 | 0.60375 | 0.60517 | 0.60623 | 0.55026 | 0.55163 | 0.55265 | 0.49613 | 0.49737 | 0.49825
| -2.4 | 0.67833 | 0.68013 | 0.68144 | 0.6354 | 0.63721 | 0.63851 | 0.59262 | 0.59399 | 0.59495 | 0.67793 | 0.67971 | 0.68105 | 0.63513 | 0.63689 | 0.63816 | 0.59215 | 0.59378 | 0.59493 | 0.67764 | 0.67937 | 0.68067 | 0.63487 | 0.6366 | 0.63788 | 0.59163 | 0.59329 | 0.59447
| -2.3 | 0.74106 | 0.74326 | 0.74489 | 0.70658 | 0.70893 | 0.7106 | 0.67216 | 0.67382 | 0.67499 | 0.74051 | 0.74273 | 0.74439 | 0.70614 | 0.7084 | 0.71005 | 0.67215 | 0.67424 | 0.67567 | 0.74015 | 0.7423 | 0.74392 | 0.7059 | 0.70811 | 0.70973 | 0.67141 | 0.67359 | 0.67514
| -2.2 | 0.79421 | 0.79698 | 0.79905 | 0.76673 | 0.76983 | 0.77201 | 0.73869 | 0.74072 | 0.7422 | 0.79355 | 0.79635 | 0.79841 | 0.766 | 0.76898 | 0.77115 | 0.73945 | 0.7421 | 0.74381 | 0.79306 | 0.79578 | 0.79782 | 0.76578 | 0.76864 | 0.77073 | 0.73845 | 0.74132 | 0.74332
| -2.1 | 0.83875 | 0.84229 | 0.84498 | 0.81743 | 0.82137 | 0.82413 | 0.79412 | 0.79676 | 0.79867 | 0.83784 | 0.84143 | 0.84415 | 0.81615 | 0.82007 | 0.82295 | 0.79599 | 0.7992 | 0.80142 | 0.83719 | 0.84069 | 0.84334 | 0.81591 | 0.81961 | 0.82234 | 0.79478 | 0.79849 | 0.80108
| -2 | 0.8758 | 0.88044 | 0.88394 | 0.85987 | 0.86498 | 0.8685 | 0.84012 | 0.8435 | 0.84598 | 0.87466 | 0.87928 | 0.88283 | 0.85793 | 0.86317 | 0.86693 | 0.8432 | 0.84716 | 0.84987 | 0.87374 | 0.87826 | 0.88174 | 0.85762 | 0.86247 | 0.86609 | 0.84191 | 0.84666 | 0.84994
| -1.9 | 0.90611 | 0.91209 | 0.91672 | 0.89513 | 0.90157 | 0.90603 | 0.87797 | 0.88237 | 0.88559 | 0.90461 | 0.91057 | 0.91524 | 0.89247 | 0.89929 | 0.9042 | 0.88224 | 0.88715 | 0.89064 | 0.90339 | 0.90923 | 0.91385 | 0.89187 | 0.89825 | 0.90307 | 0.88096 | 0.88695 | 0.8911
| -1.8 | 0.93057 | 0.9384 | 0.94445 | 0.9242 | 0.93226 | 0.93784 | 0.90894 | 0.9146 | 0.91879 | 0.92868 | 0.93639 | 0.94247 | 0.92083 | 0.9296 | 0.93585 | 0.91417 | 0.92039 | 0.92486 | 0.92703 | 0.93462 | 0.94068 | 0.91977 | 0.92805 | 0.93433 | 0.91304 | 0.9206 | 0.92586
| -1.7 | 0.95011 | 0.96018 | 0.96801 | 0.94799 | 0.95796 | 0.96496 | 0.93422 | 0.94145 | 0.94688 | 0.94765 | 0.95764 | 0.96553 | 0.94401 | 0.95506 | 0.96295 | 0.94025 | 0.94813 | 0.95387 | 0.94557 | 0.95535 | 0.96322 | 0.94231 | 0.953 | 0.96101 | 0.93935 | 0.94875 | 0.95544
| -1.6 | 0.96542 | 0.97827 | 0.98818 | 0.9673 | 0.97954 | 0.98816 | 0.95479 | 0.96395 | 0.97084 | 0.96231 | 0.97507 | 0.98517 | 0.96284 | 0.9765 | 0.98624 | 0.9614 | 0.97132 | 0.97863 | 0.95964 | 0.97218 | 0.98231 | 0.9603 | 0.9738 | 0.9839 | 0.96073 | 0.97239 | 0.98072
| -1.5 | 0.97706 | 0.99315 | 1.0054 | 0.98264 | 0.99745 | 1.008 | 0.97138 | 0.98279 | 0.99144 | 0.97318 | 0.98927 | 1.0019 | 0.9778 | 0.99438 | 1.0062 | 0.97831 | 0.99063 | 0.99977 | 0.96984 | 0.98571 | 0.99849 | 0.97433 | 0.99112 | 1.0036 | 0.97785 | 0.99213 | 1.0024
| -1.4 | 0.98577 | 1.0055 | 1.0203 | 0.99472 | 1.0124 | 1.025 | 0.98488 | 0.99881 | 1.0094 | 0.98105 | 1.001 | 1.0165 | 0.98963 | 1.0094 | 1.0235 | 0.99185 | 1.0069 | 1.0182 | 0.97691 | 0.99669 | 1.0125 | 0.98524 | 1.0057 | 1.0208 | 0.99148 | 1.0087 | 1.0213
| -1.3 | 0.99197 | 1.0155 | 1.0332 | 1.0039 | 1.0247 | 1.0395 | 0.99592 | 1.0126 | 1.0252 | 0.98647 | 1.0105 | 1.0291 | 0.99864 | 1.0218 | 1.0383 | 1.0027 | 1.0207 | 1.0342 | 0.98147 | 1.0056 | 1.0247 | 0.99348 | 1.0178 | 1.0356 | 1.0023 | 1.0228 | 1.0377
| -1.2 | 0.99625 | 1.0237 | 1.0441 | 1.0108 | 1.0346 | 1.0517 | 1.005 | 1.0244 | 1.0392 | 0.98999 | 1.0184 | 1.0401 | 1.0054 | 1.0319 | 1.051 | 1.0113 | 1.0324 | 1.0483 | 0.98421 | 1.013 | 1.0355 | 0.99963 | 1.0278 | 1.0485 | 1.0109 | 1.0347 | 1.0522
| -1.1 | 0.99912 | 1.0305 | 1.0535 | 1.0157 | 1.0425 | 1.0618 | 1.0127 | 1.0347 | 1.0516 | 0.99225 | 1.025 | 1.0497 | 1.0103 | 1.04 | 1.0615 | 1.0184 | 1.0425 | 1.0604 | 0.98574 | 1.0193 | 1.0452 | 1.0041 | 1.036 | 1.0594 | 1.0178 | 1.0448 | 1.0647
| -1 | 1.0008 | 1.0358 | 1.0611 | 1.0189 | 1.0482 | 1.0694 | 1.0192 | 1.0434 | 1.0621 | 0.99359 | 1.0304 | 1.0577 | 1.0135 | 1.0461 | 1.0697 | 1.0241 | 1.0507 | 1.0706 | 0.98646 | 1.0247 | 1.0537 | 1.007 | 1.0424 | 1.068 | 1.0233 | 1.0533 | 1.075
| -0.9 | 0.99234 | 1.0303 | 1.0576 | 1.0089 | 1.0402 | 1.0629 | 1.0108 | 1.0368 | 1.0568 | 0.98508 | 1.0255 | 1.0549 | 1.0037 | 1.0386 | 1.0636 | 1.0149 | 1.0434 | 1.0647 | 0.97773 | 1.0201 | 1.0515 | 0.99724 | 1.0353 | 1.0627 | 1.0139 | 1.0459 | 1.0692
| -0.8 | 0.99228 | 1.033 | 1.0617 | 1.0087 | 1.0419 | 1.0661 | 1.0155 | 1.043 | 1.0643 | 0.98508 | 1.0287 | 1.0598 | 1.0035 | 1.0404 | 1.0668 | 1.0183 | 1.0484 | 1.0709 | 0.97773 | 1.0238 | 1.0572 | 0.99713 | 1.0375 | 1.0664 | 1.0168 | 1.0506 | 1.0751
| -0.7 | 0.99082 | 1.0334 | 1.0629 | 1.0061 | 1.0405 | 1.0655 | 1.0178 | 1.0461 | 1.0681 | 0.9839 | 1.0297 | 1.0616 | 1.0008 | 1.0389 | 1.0661 | 1.0193 | 1.0501 | 1.0731 | 0.97677 | 1.0255 | 1.0599 | 0.99464 | 1.0364 | 1.066 | 1.0173 | 1.0517 | 1.0767
| -0.6 | 0.98538 | 1.029 | 1.0584 | 0.9971 | 1.0322 | 1.0575 | 1.0127 | 1.0412 | 1.0634 | 0.97886 | 1.0259 | 1.0577 | 0.99189 | 1.0304 | 1.0578 | 1.0126 | 1.0434 | 1.0666 | 0.97224 | 1.0225 | 1.0568 | 0.986 | 1.0281 | 1.0578 | 1.0101 | 1.0442 | 1.0691
| -0.5 | 0.98302 | 1.0268 | 1.0553 | 0.99082 | 1.0261 | 1.0512 | 1.0107 | 1.0387 | 1.0605 | 0.97685 | 1.024 | 1.0548 | 0.98527 | 1.0237 | 1.0507 | 1.0085 | 1.0387 | 1.0615 | 0.97079 | 1.0212 | 1.0545 | 0.97954 | 1.0214 | 1.0505 | 1.0052 | 1.0384 | 1.0626
| -0.4 | 0.98061 | 1.0238 | 1.0504 | 0.98323 | 1.0185 | 1.0427 | 1.0062 | 1.0332 | 1.0542 | 0.97463 | 1.0209 | 1.0499 | 0.97713 | 1.0153 | 1.0414 | 1.0016 | 1.031 | 1.0529 | 0.96904 | 1.0186 | 1.0497 | 0.97137 | 1.0126 | 1.0406 | 0.99718 | 1.0291 | 1.0524
| -0.3 | 0.98084 | 1.0225 | 1.0468 | 0.97805 | 1.0129 | 1.0357 | 1.0032 | 1.0288 | 1.0482 | 0.97473 | 1.0194 | 1.0458 | 0.97106 | 1.0086 | 1.0334 | 0.9959 | 1.0243 | 1.045 | 0.96939 | 1.0171 | 1.0455 | 0.96496 | 1.0053 | 1.0318 | 0.98996 | 1.0207 | 1.0428
| -0.2 | 0.98304 | 1.0226 | 1.0438 | 0.97519 | 1.0092 | 1.0302 | 1.0011 | 1.0248 | 1.0423 | 0.9765 | 1.0188 | 1.0421 | 0.96706 | 1.0039 | 1.0268 | 0.99105 | 1.0184 | 1.0375 | 0.97107 | 1.0162 | 1.0413 | 0.9603 | 0.9998 | 1.0245 | 0.98333 | 1.0132 | 1.0339
| -0.1 | 0.98802 | 1.0244 | 1.0422 | 0.97594 | 1.0085 | 1.0269 | 1.0012 | 1.0225 | 1.0377 | 0.98076 | 1.02 | 1.0398 | 0.96659 | 1.0023 | 1.0229 | 0.9887 | 1.0146 | 1.0319 | 0.97495 | 1.0168 | 1.0384 | 0.95893 | 0.99728 | 1.0198 | 0.97907 | 1.0081 | 1.0272
| 0 | 0.99566 | 1.0281 | 1.0423 | 0.98033 | 1.0101 | 1.0258 | 1.0039 | 1.0221 | 1.0347 | 0.98766 | 1.0232 | 1.0392 | 0.96985 | 1.0032 | 1.0214 | 0.98937 | 1.0134 | 1.0285 | 0.98122 | 1.0193 | 1.0371 | 0.96125 | 0.99764 | 1.0177 | 0.97808 | 1.006 | 1.0232
| 0.1 | 1.0053 | 1.0324 | 1.0429 | 0.98822 | 1.014 | 1.0265 | 1.0093 | 1.0235 | 1.0331 | 0.99646 | 1.027 | 1.0393 | 0.977 | 1.007 | 1.0219 | 0.99343 | 1.0146 | 1.027 | 0.98936 | 1.0227 | 1.0367 | 0.96762 | 1.001 | 1.0179 | 0.98088 | 1.0068 | 1.0216
| 0.2 | 1.0165 | 1.0376 | 1.0447 | 0.99781 | 1.0184 | 1.0277 | 1.0161 | 1.0254 | 1.0321 | 1.007 | 1.0323 | 1.0409 | 0.98632 | 1.0116 | 1.0232 | 0.99962 | 1.0168 | 1.0265 | 0.99949 | 1.0277 | 1.0379 | 0.97656 | 1.0056 | 1.0192 | 0.98655 | 1.0092 | 1.0213
| 0.3 | 1.0268 | 1.042 | 1.0461 | 1.0085 | 1.0235 | 1.0297 | 1.0239 | 1.0282 | 1.0322 | 1.0176 | 1.0367 | 1.0424 | 0.9973 | 1.0171 | 1.0257 | 1.0077 | 1.0203 | 1.0272 | 1.0099 | 1.0321 | 1.0392 | 0.9876 | 1.0113 | 1.0218 | 0.99461 | 1.0131 | 1.0225
| 0.4 | 1.0361 | 1.0458 | 1.0474 | 1.0186 | 1.0278 | 1.0314 | 1.0315 | 1.0305 | 1.0321 | 1.0272 | 1.0407 | 1.0438 | 1.0081 | 1.0221 | 1.0276 | 1.0159 | 1.0234 | 1.0278 | 1.0199 | 1.0362 | 1.0407 | 0.99888 | 1.0168 | 1.0241 | 1.0035 | 1.0169 | 1.0236
| 0.5 | 1.0443 | 1.0493 | 1.0489 | 1.0266 | 1.0311 | 1.0326 | 1.0376 | 1.0322 | 1.032 | 1.0363 | 1.0446 | 1.0456 | 1.0171 | 1.0259 | 1.0292 | 1.0231 | 1.0259 | 1.0283 | 1.0294 | 1.0404 | 1.0426 | 1.0087 | 1.0211 | 1.026 | 1.0115 | 1.0202 | 1.0247
| 0.6 | 1.0501 | 1.0516 | 1.0499 | 1.0334 | 1.0339 | 1.0339 | 1.0429 | 1.0339 | 1.0322 | 1.0429 | 1.0473 | 1.0467 | 1.0249 | 1.0293 | 1.0309 | 1.0294 | 1.0283 | 1.029 | 1.0367 | 1.0434 | 1.0439 | 1.0174 | 1.0251 | 1.028 | 1.0188 | 1.0233 | 1.0259
| 0.7 | 1.0542 | 1.0533 | 1.0505 | 1.0384 | 1.036 | 1.0347 | 1.0467 | 1.0349 | 1.0321 | 1.0477 | 1.0493 | 1.0476 | 1.0307 | 1.0318 | 1.032 | 1.0341 | 1.0299 | 1.0294 | 1.0422 | 1.0458 | 1.045 | 1.024 | 1.028 | 1.0294 | 1.0245 | 1.0255 | 1.0267
| 0.8 | 1.0574 | 1.0549 | 1.0512 | 1.0415 | 1.0373 | 1.0351 | 1.0492 | 1.0355 | 1.0318 | 1.0515 | 1.0511 | 1.0485 | 1.0344 | 1.0335 | 1.0327 | 1.0374 | 1.031 | 1.0295 | 1.0466 | 1.0477 | 1.046 | 1.0285 | 1.0301 | 1.0304 | 1.0285 | 1.027 | 1.0271
| 0.9 | 1.0594 | 1.0556 | 1.0516 | 1.044 | 1.0384 | 1.0356 | 1.0511 | 1.0361 | 1.0317 | 1.054 | 1.0521 | 1.0489 | 1.0374 | 1.0349 | 1.0334 | 1.0397 | 1.0319 | 1.0297 | 1.0493 | 1.049 | 1.0466 | 1.0321 | 1.0317 | 1.0313 | 1.0316 | 1.0283 | 1.0276
| 1 | 1.0608 | 1.0562 | 1.0517 | 1.0456 | 1.0391 | 1.0358 | 1.0525 | 1.0363 | 1.0315 | 1.0556 | 1.0527 | 1.0492 | 1.0394 | 1.0358 | 1.0338 | 1.0415 | 1.0324 | 1.0297 | 1.0512 | 1.0499 | 1.0471 | 1.0345 | 1.033 | 1.0318 | 1.0337 | 1.0291 | 1.0279
| 1.1 | 1.0617 | 1.0568 | 1.0519 | 1.0467 | 1.0397 | 1.036 | 1.0532 | 1.0364 | 1.0312 | 1.0569 | 1.0535 | 1.0495 | 1.0407 | 1.0365 | 1.034 | 1.0426 | 1.0327 | 1.0296 | 1.0527 | 1.0506 | 1.0476 | 1.036 | 1.0337 | 1.0322 | 1.035 | 1.0298 | 1.0279
| 1.2 | 1.0624 | 1.057 | 1.0521 | 1.0475 | 1.0401 | 1.0361 | 1.0538 | 1.0365 | 1.0309 | 1.0577 | 1.0539 | 1.0496 | 1.0418 | 1.037 | 1.0343 | 1.0433 | 1.0332 | 1.0295 | 1.0537 | 1.0512 | 1.0476 | 1.0374 | 1.0345 | 1.0325 | 1.0362 | 1.0302 | 1.0281
| 1.3 | 1.0629 | 1.0573 | 1.052 | 1.0481 | 1.0403 | 1.0362 | 1.0542 | 1.0365 | 1.0309 | 1.0583 | 1.0542 | 1.0498 | 1.0425 | 1.0374 | 1.0343 | 1.044 | 1.0332 | 1.0296 | 1.0544 | 1.0515 | 1.0479 | 1.0382 | 1.0349 | 1.0326 | 1.037 | 1.0304 | 1.0281
| 1.4 | 1.0633 | 1.0576 | 1.0522 | 1.0486 | 1.0404 | 1.0361 | 1.0546 | 1.0367 | 1.0307 | 1.0588 | 1.0544 | 1.0499 | 1.0431 | 1.0376 | 1.0344 | 1.0444 | 1.0333 | 1.0295 | 1.055 | 1.0518 | 1.048 | 1.0388 | 1.0351 | 1.0329 | 1.0375 | 1.0307 | 1.0281
| 1.5 | 1.0636 | 1.0576 | 1.0522 | 1.0489 | 1.0405 | 1.0362 | 1.0548 | 1.0367 | 1.0306 | 1.059 | 1.0545 | 1.0499 | 1.0435 | 1.0379 | 1.0346 | 1.0447 | 1.0334 | 1.0294 | 1.0554 | 1.0519 | 1.048 | 1.0393 | 1.0354 | 1.033 | 1.0378 | 1.0307 | 1.0281
| 1.6 | 1.0638 | 1.0577 | 1.0522 | 1.0491 | 1.0406 | 1.0361 | 1.0549 | 1.0365 | 1.0303 | 1.0593 | 1.0547 | 1.05 | 1.0438 | 1.038 | 1.0345 | 1.0449 | 1.0334 | 1.0294 | 1.0557 | 1.0522 | 1.0481 | 1.0397 | 1.0356 | 1.0331 | 1.0381 | 1.031 | 1.028
| 1.7 | 1.064 | 1.0577 | 1.0522 | 1.0493 | 1.0408 | 1.0362 | 1.055 | 1.0365 | 1.0302 | 1.0594 | 1.0548 | 1.05 | 1.044 | 1.0381 | 1.0346 | 1.045 | 1.0335 | 1.0292 | 1.0559 | 1.0523 | 1.0482 | 1.0398 | 1.0357 | 1.0331 | 1.0383 | 1.031 | 1.0281
| 1.8 | 1.0641 | 1.0578 | 1.0521 | 1.0495 | 1.0407 | 1.036 | 1.0551 | 1.0365 | 1.0302 | 1.0596 | 1.0547 | 1.05 | 1.0442 | 1.0381 | 1.0346 | 1.045 | 1.0334 | 1.0292 | 1.056 | 1.0523 | 1.0481 | 1.04 | 1.0358 | 1.033 | 1.0384 | 1.031 | 1.0279
| 1.9 | 1.0641 | 1.0577 | 1.052 | 1.0494 | 1.0408 | 1.036 | 1.055 | 1.0365 | 1.0301 | 1.0596 | 1.0548 | 1.0498 | 1.0443 | 1.038 | 1.0346 | 1.0451 | 1.0334 | 1.029 | 1.0561 | 1.0522 | 1.048 | 1.0402 | 1.0358 | 1.033 | 1.0386 | 1.031 | 1.0281
| 2 | 1.0641 | 1.0577 | 1.0521 | 1.0495 | 1.0408 | 1.0362 | 1.0551 | 1.0364 | 1.0299 | 1.0596 | 1.0547 | 1.05 | 1.0442 | 1.0381 | 1.0346 | 1.0452 | 1.0334 | 1.029 | 1.0562 | 1.0524 | 1.048 | 1.0403 | 1.0359 | 1.0331 | 1.0387 | 1.031 | 1.0278
| 2.1 | 1.0642 | 1.0579 | 1.0519 | 1.0494 | 1.0408 | 1.0361 | 1.0551 | 1.0363 | 1.0298 | 1.0597 | 1.0548 | 1.0498 | 1.0444 | 1.0381 | 1.0345 | 1.0452 | 1.0333 | 1.0289 | 1.0562 | 1.0524 | 1.0481 | 1.0404 | 1.036 | 1.033 | 1.0387 | 1.0311 | 1.0279
| 2.2 | 1.0642 | 1.0577 | 1.052 | 1.0496 | 1.0407 | 1.036 | 1.0551 | 1.0362 | 1.0298 | 1.0598 | 1.0548 | 1.0498 | 1.0444 | 1.0382 | 1.0346 | 1.0454 | 1.0334 | 1.0288 | 1.0563 | 1.0523 | 1.0479 | 1.0404 | 1.0359 | 1.0329 | 1.0388 | 1.0308 | 1.0278
| 2.3 | 1.0642 | 1.0578 | 1.052 | 1.0497 | 1.0408 | 1.0358 | 1.0551 | 1.0362 | 1.0298 | 1.0599 | 1.0549 | 1.0498 | 1.0444 | 1.0381 | 1.0344 | 1.0453 | 1.0334 | 1.0288 | 1.0562 | 1.0524 | 1.048 | 1.0404 | 1.036 | 1.033 | 1.0387 | 1.031 | 1.0278
| 2.4 | 1.0641 | 1.0578 | 1.052 | 1.0496 | 1.0407 | 1.0358 | 1.0551 | 1.0362 | 1.0299 | 1.0597 | 1.0548 | 1.0498 | 1.0445 | 1.0381 | 1.0344 | 1.0452 | 1.0334 | 1.0289 | 1.0563 | 1.0523 | 1.0478 | 1.0403 | 1.036 | 1.033 | 1.0388 | 1.031 | 1.0278
| 2.5 | 1.0642 | 1.0577 | 1.0519 | 1.0496 | 1.0407 | 1.0359 | 1.0549 | 1.0361 | 1.0297 | 1.0597 | 1.0548 | 1.0498 | 1.0443 | 1.0381 | 1.0345 | 1.0453 | 1.0334 | 1.0287 | 1.0562 | 1.0523 | 1.0481 | 1.0404 | 1.036 | 1.0329 | 1.0388 | 1.031 | 1.0277
| 2.6 | 1.0641 | 1.0577 | 1.0517 | 1.0497 | 1.0408 | 1.0358 | 1.055 | 1.0362 | 1.0298 | 1.0597 | 1.0549 | 1.0497 | 1.0444 | 1.0382 | 1.0344 | 1.0451 | 1.0333 | 1.0286 | 1.0563 | 1.0523 | 1.0479 | 1.0404 | 1.0358 | 1.0327 | 1.0388 | 1.0309 | 1.0278
| 2.7 | 1.064 | 1.0576 | 1.0519 | 1.0496 | 1.0407 | 1.036 | 1.0551 | 1.0361 | 1.0295 | 1.0598 | 1.0546 | 1.0498 | 1.0444 | 1.0381 | 1.0343 | 1.0452 | 1.0332 | 1.0287 | 1.0562 | 1.0524 | 1.048 | 1.0403 | 1.0357 | 1.0328 | 1.0387 | 1.0308 | 1.0277
| 2.8 | 1.0641 | 1.0577 | 1.0518 | 1.0495 | 1.0406 | 1.0356 | 1.055 | 1.036 | 1.0294 | 1.0597 | 1.0547 | 1.0497 | 1.0445 | 1.038 | 1.0342 | 1.0453 | 1.0332 | 1.0286 | 1.0563 | 1.0523 | 1.0477 | 1.0405 | 1.0358 | 1.0328 | 1.0388 | 1.0307 | 1.0276
| 2.9 | 1.0641 | 1.0575 | 1.0517 | 1.0496 | 1.0406 | 1.0358 | 1.0549 | 1.0359 | 1.0294 | 1.0597 | 1.0546 | 1.0497 | 1.0443 | 1.038 | 1.0341 | 1.0452 | 1.0331 | 1.0286 | 1.0562 | 1.0523 | 1.0478 | 1.0403 | 1.0358 | 1.0329 | 1.0386 | 1.0308 | 1.0275
| 3 | 1.0641 | 1.0576 | 1.0517 | 1.0494 | 1.0407 | 1.0358 | 1.0549 | 1.0359 | 1.0293 | 1.0597 | 1.0548 | 1.0496 | 1.0442 | 1.0381 | 1.0343 | 1.0452 | 1.033 | 1.0285 | 1.0562 | 1.0522 | 1.0478 | 1.0402 | 1.0357 | 1.0327 | 1.0387 | 1.0308 | 1.0275

## ccoeff rpe = 16 mm
ccoeff for rpe = 16 mm |  | rb = 68 mm | [8 empty] | rb = 72 mm | [8 empty] | rb = 76 mm
|  | s = 27 mm |  |  | s = 37 mm |  |  | s = 47 mm |  |  | s = 27 mm |  |  | s = 37 mm |  |  | s = 47 mm |  |  | s = 27 mm |  |  | s = 47 mm |  |  | s = 47 mm
| Log10(thours) | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K | kgt = 1 W/(m K) | kgt = 1.6 W/(m K) | kgt = 2.2 W/m K
| -2.5 | 0.69517 | 0.69842 | 0.70088 | 0.65529 | 0.65852 | 0.66087 | 0.61582 | 0.61875 | 0.62081 | 0.69473 | 0.69789 | 0.70032 | 0.65489 | 0.65808 | 0.66042 | 0.61477 | 0.61779 | 0.61996 | 0.69437 | 0.69747 | 0.69986 | 0.65442 | 0.65756 | 0.65991 | 0.61417 | 0.61719 | 0.61939
| -2.4 | 0.75508 | 0.75885 | 0.76172 | 0.72322 | 0.72704 | 0.72986 | 0.69219 | 0.69574 | 0.69818 | 0.7545 | 0.75818 | 0.76102 | 0.72279 | 0.72658 | 0.7293 | 0.69084 | 0.69454 | 0.69721 | 0.75408 | 0.75773 | 0.76053 | 0.72228 | 0.72597 | 0.72875 | 0.6901 | 0.69377 | 0.69648
| -2.3 | 0.80586 | 0.81041 | 0.81381 | 0.78072 | 0.78544 | 0.78889 | 0.75672 | 0.76096 | 0.7639 | 0.80522 | 0.8096 | 0.81302 | 0.7803 | 0.7848 | 0.7882 | 0.75511 | 0.75968 | 0.7629 | 0.80475 | 0.80901 | 0.81238 | 0.77969 | 0.78419 | 0.78757 | 0.75406 | 0.75866 | 0.76194
| -2.2 | 0.84825 | 0.85377 | 0.858 | 0.82877 | 0.83465 | 0.83896 | 0.81078 | 0.81595 | 0.81948 | 0.84733 | 0.85271 | 0.8569 | 0.82814 | 0.83379 | 0.83801 | 0.80888 | 0.81458 | 0.81859 | 0.84678 | 0.85201 | 0.8561 | 0.8275 | 0.8331 | 0.83727 | 0.80748 | 0.81319 | 0.81738
| -2.1 | 0.88316 | 0.89005 | 0.89526 | 0.86873 | 0.87617 | 0.88159 | 0.85594 | 0.86223 | 0.86658 | 0.88188 | 0.8886 | 0.89381 | 0.86769 | 0.87481 | 0.88016 | 0.85374 | 0.86089 | 0.86589 | 0.88122 | 0.88769 | 0.89284 | 0.86695 | 0.87395 | 0.87921 | 0.85183 | 0.85911 | 0.86437
| -2 | 0.91118 | 0.91974 | 0.92638 | 0.90132 | 0.9107 | 0.9176 | 0.89323 | 0.90088 | 0.9062 | 0.90948 | 0.91793 | 0.92451 | 0.8997 | 0.90878 | 0.91564 | 0.89082 | 0.89961 | 0.90582 | 0.90862 | 0.91674 | 0.92322 | 0.89883 | 0.90761 | 0.91433 | 0.88823 | 0.89741 | 0.90408
| -1.9 | 0.93326 | 0.94403 | 0.95242 | 0.92769 | 0.9395 | 0.94817 | 0.92363 | 0.933 | 0.93964 | 0.93112 | 0.94173 | 0.95009 | 0.92545 | 0.93697 | 0.9457 | 0.92115 | 0.93198 | 0.93964 | 0.92986 | 0.94009 | 0.94835 | 0.92424 | 0.9353 | 0.94384 | 0.91789 | 0.92941 | 0.93775
| -1.8 | 0.95028 | 0.96377 | 0.97442 | 0.94896 | 0.96367 | 0.97445 | 0.94832 | 0.95979 | 0.96806 | 0.94764 | 0.9609 | 0.97148 | 0.94595 | 0.96046 | 0.97145 | 0.94593 | 0.95916 | 0.96859 | 0.94582 | 0.95868 | 0.96915 | 0.94412 | 0.95806 | 0.96892 | 0.94192 | 0.95619 | 0.96658
| -1.7 | 0.963 | 0.9798 | 0.99311 | 0.96604 | 0.9841 | 0.9973 | 0.96828 | 0.98231 | 0.99252 | 0.95972 | 0.97622 | 0.98951 | 0.96209 | 0.98012 | 0.99376 | 0.96595 | 0.98197 | 0.99352 | 0.95726 | 0.97333 | 0.9865 | 0.95945 | 0.97688 | 0.99051 | 0.96122 | 0.97874 | 0.99152
| -1.6 | 0.97203 | 0.99274 | 1.0091 | 0.97947 | 1.0013 | 1.0172 | 0.98436 | 1.0013 | 1.0138 | 0.96798 | 0.98834 | 1.0048 | 0.97456 | 0.99662 | 1.0133 | 0.9819 | 1.0012 | 1.0153 | 0.96481 | 0.9847 | 1.0011 | 0.97088 | 0.99245 | 1.0093 | 0.97665 | 0.99785 | 1.0134
| -1.5 | 0.97808 | 1.0032 | 1.0231 | 0.99003 | 1.0159 | 1.0348 | 0.99738 | 1.0176 | 1.0327 | 0.97314 | 0.99796 | 1.018 | 0.98409 | 1.0106 | 1.0305 | 0.99477 | 1.0178 | 1.0345 | 0.96915 | 0.99348 | 1.0135 | 0.97929 | 1.0055 | 1.0259 | 0.989 | 1.0143 | 1.0329
| -1.4 | 0.98171 | 1.0117 | 1.0352 | 0.99827 | 1.0284 | 1.0503 | 1.008 | 1.0318 | 1.0495 | 0.97578 | 1.0055 | 1.0296 | 0.99126 | 1.0225 | 1.0459 | 1.0051 | 1.032 | 1.0518 | 0.97087 | 1.0002 | 1.0243 | 0.98534 | 1.0167 | 1.0409 | 0.9989 | 1.0286 | 1.0504
| -1.3 | 0.98362 | 1.0186 | 1.0458 | 1.0047 | 1.039 | 1.0638 | 1.0169 | 1.0442 | 1.0644 | 0.97669 | 1.0117 | 1.0397 | 0.99672 | 1.0328 | 1.0595 | 1.0138 | 1.0446 | 1.0672 | 0.9707 | 1.0055 | 1.034 | 0.98961 | 1.0263 | 1.0543 | 1.0069 | 1.0412 | 1.0662
| -1.2 | 0.98425 | 1.0242 | 1.0547 | 1.0097 | 1.0478 | 1.0753 | 1.0247 | 1.0551 | 1.0776 | 0.97635 | 1.0168 | 1.0486 | 1.001 | 1.0416 | 1.0714 | 1.0213 | 1.0558 | 1.081 | 0.96939 | 1.0099 | 1.0426 | 0.99284 | 1.0347 | 1.0663 | 1.014 | 1.0525 | 1.0805
| -1.1 | 0.98366 | 1.028 | 1.0614 | 1.013 | 1.0542 | 1.0837 | 1.0309 | 1.0638 | 1.0881 | 0.97491 | 1.0204 | 1.0557 | 1.0038 | 1.0482 | 1.0805 | 1.0272 | 1.0648 | 1.0919 | 0.96699 | 1.0131 | 1.0497 | 0.99488 | 1.0414 | 1.0759 | 1.0197 | 1.0618 | 1.0921
| -1 | 0.97428 | 1.0224 | 1.058 | 1.005 | 1.0484 | 1.079 | 1.0238 | 1.0584 | 1.0838 | 0.96508 | 1.0151 | 1.0531 | 0.99579 | 1.0431 | 1.0768 | 1.02 | 1.0597 | 1.0881 | 0.95653 | 1.0078 | 1.0477 | 0.98644 | 1.0366 | 1.0732 | 1.0127 | 1.0575 | 1.0893
| -0.9 | 0.97245 | 1.0234 | 1.0605 | 1.0059 | 1.0505 | 1.0816 | 1.0288 | 1.064 | 1.0897 | 0.96307 | 1.0168 | 1.0566 | 0.99684 | 1.0459 | 1.0804 | 1.0248 | 1.0655 | 1.0943 | 0.95416 | 1.01 | 1.0522 | 0.98743 | 1.0402 | 1.0778 | 1.0175 | 1.0638 | 1.0961
| -0.8 | 0.96877 | 1.0214 | 1.0587 | 1.0038 | 1.048 | 1.0786 | 1.0302 | 1.0647 | 1.09 | 0.95967 | 1.0158 | 1.0562 | 0.9951 | 1.0443 | 1.0784 | 1.0264 | 1.0663 | 1.0944 | 0.95077 | 1.0098 | 1.0531 | 0.98595 | 1.0395 | 1.0769 | 1.0194 | 1.0653 | 1.0967
| -0.7 | 0.96154 | 1.0146 | 1.0512 | 0.99558 | 1.0383 | 1.0678 | 1.0244 | 1.0573 | 1.0812 | 0.95314 | 1.0102 | 1.05 | 0.98764 | 1.0355 | 1.0682 | 1.0208 | 1.0587 | 1.085 | 0.94476 | 1.0054 | 1.0484 | 0.97916 | 1.0319 | 1.0679 | 1.0146 | 1.0583 | 1.0877
| -0.6 | 0.95675 | 1.009 | 1.0439 | 0.98864 | 1.0292 | 1.0569 | 1.0202 | 1.0505 | 1.0703 | 0.94928 | 1.0058 | 1.0437 | 0.98147 | 1.0269 | 1.0575 | 1.0166 | 1.0513 | 1.0747 | 0.94175 | 1.0023 | 1.0434 | 0.97389 | 1.0242 | 1.0579 | 1.0111 | 1.051 | 1.077
| -0.5 | 0.95182 | 1.0025 | 1.035 | 0.97946 | 1.0177 | 1.0437 | 1.0126 | 1.0403 | 1.0597 | 0.9453 | 1.0001 | 1.0354 | 0.97296 | 1.0155 | 1.0439 | 1.0087 | 1.0399 | 1.0618 | 0.93886 | 0.99784 | 1.0361 | 0.96632 | 1.0134 | 1.0445 | 1.0037 | 1.0394 | 1.0632
| -0.4 | 0.94897 | 0.99757 | 1.0273 | 0.97121 | 1.0076 | 1.0319 | 1.0052 | 1.0307 | 1.0491 | 0.94326 | 0.9956 | 1.0278 | 0.96501 | 1.005 | 1.0313 | 1.0005 | 1.0287 | 1.0489 | 0.93783 | 0.99407 | 1.0288 | 0.95912 | 1.0031 | 1.0316 | 0.99555 | 1.0273 | 1.049
| -0.3 | 0.94823 | 0.99449 | 1.0212 | 0.96438 | 0.99952 | 1.0222 | 0.99805 | 1.0219 | 1.0395 | 0.94299 | 0.99244 | 1.0212 | 0.95803 | 0.99623 | 1.0207 | 0.99189 | 1.0182 | 1.0371 | 0.93831 | 0.99118 | 1.0221 | 0.95247 | 0.99396 | 1.0202 | 0.98658 | 1.0155 | 1.0358
| -0.2 | 0.95043 | 0.99407 | 1.0173 | 0.96048 | 0.99491 | 1.0159 | 0.99281 | 1.0155 | 1.0318 | 0.94506 | 0.99153 | 1.0166 | 0.95359 | 0.99071 | 1.0134 | 0.9849 | 1.0102 | 1.0279 | 0.94071 | 0.99004 | 1.0168 | 0.94788 | 0.98775 | 1.012 | 0.97862 | 1.0061 | 1.0251
| -0.1 | 0.9561 | 0.99613 | 1.016 | 0.96068 | 0.99386 | 1.0128 | 0.99036 | 1.0123 | 1.027 | 0.95018 | 0.99295 | 1.0144 | 0.95297 | 0.98883 | 1.0094 | 0.98072 | 1.0056 | 1.022 | 0.94569 | 0.99092 | 1.0139 | 0.94676 | 0.98508 | 1.0072 | 0.97328 | 1.0005 | 1.0182
| 0 | 0.96416 | 0.99993 | 1.0163 | 0.96442 | 0.99551 | 1.012 | 0.99103 | 1.0112 | 1.024 | 0.95758 | 0.99614 | 1.014 | 0.95589 | 0.98992 | 1.0083 | 0.97991 | 1.0038 | 1.0186 | 0.95264 | 0.99347 | 1.0127 | 0.94899 | 0.98551 | 1.0054 | 0.97122 | 0.99781 | 1.0142
| 0.1 | 0.97474 | 1.0054 | 1.0184 | 0.97196 | 0.99967 | 1.0134 | 0.99466 | 1.0123 | 1.023 | 0.96781 | 1.0013 | 1.0156 | 0.9629 | 0.99393 | 1.0093 | 0.98262 | 1.0049 | 1.0177 | 0.96232 | 0.99805 | 1.0137 | 0.9554 | 0.98916 | 1.0061 | 0.97305 | 0.9985 | 1.0131
| 0.2 | 0.98617 | 1.0107 | 1.0205 | 0.98107 | 1.0042 | 1.0151 | 1.0002 | 1.0144 | 1.0228 | 0.97872 | 1.0064 | 1.0176 | 0.97194 | 0.99863 | 1.0111 | 0.988 | 1.0071 | 1.0179 | 0.97283 | 1.0029 | 1.0153 | 0.96414 | 0.99383 | 1.0079 | 0.97804 | 1.001 | 1.0135
| 0.3 | 0.99688 | 1.0157 | 1.0227 | 0.99065 | 1.0087 | 1.017 | 1.0063 | 1.0165 | 1.0229 | 0.98968 | 1.0115 | 1.0198 | 0.98195 | 1.0036 | 1.0136 | 0.99447 | 1.0101 | 1.0185 | 0.98374 | 1.0079 | 1.0174 | 0.97427 | 0.99905 | 1.0105 | 0.9847 | 1.0043 | 1.0145
| 0.4 | 1.0071 | 1.0204 | 1.0252 | 1.0002 | 1.0132 | 1.0192 | 1.0125 | 1.0189 | 1.0233 | 1.0006 | 1.0165 | 1.0224 | 0.99228 | 1.0087 | 1.016 | 1.0016 | 1.0132 | 1.0195 | 0.9949 | 1.0132 | 1.0201 | 0.98519 | 1.0045 | 1.0132 | 0.99249 | 1.008 | 1.016
| 0.5 | 1.0152 | 1.024 | 1.027 | 1.0078 | 1.0165 | 1.0208 | 1.018 | 1.0208 | 1.0236 | 1.0092 | 1.0204 | 1.0245 | 1.0008 | 1.0125 | 1.0179 | 1.0081 | 1.0157 | 1.0204 | 1.004 | 1.0173 | 1.0222 | 0.99451 | 1.0089 | 1.0154 | 0.9999 | 1.0113 | 1.0174
| 0.6 | 1.0211 | 1.0267 | 1.0285 | 1.0136 | 1.0191 | 1.0219 | 1.0221 | 1.022 | 1.0237 | 1.0161 | 1.0235 | 1.0261 | 1.0076 | 1.0156 | 1.0196 | 1.0132 | 1.0177 | 1.021 | 1.0115 | 1.0207 | 1.0241 | 1.0023 | 1.0125 | 1.0174 | 1.0059 | 1.0138 | 1.0184
| 0.7 | 1.0259 | 1.0289 | 1.0298 | 1.0184 | 1.0213 | 1.023 | 1.0254 | 1.0231 | 1.0239 | 1.0215 | 1.0261 | 1.0276 | 1.0131 | 1.0183 | 1.0209 | 1.0173 | 1.0194 | 1.0215 | 1.0177 | 1.0237 | 1.0257 | 1.0086 | 1.0155 | 1.019 | 1.011 | 1.016 | 1.0193
| 0.8 | 1.0291 | 1.0306 | 1.0306 | 1.0215 | 1.0226 | 1.0237 | 1.0276 | 1.0239 | 1.0239 | 1.0252 | 1.0278 | 1.0286 | 1.0169 | 1.0201 | 1.0218 | 1.0202 | 1.0205 | 1.0219 | 1.0218 | 1.0257 | 1.0269 | 1.0129 | 1.0176 | 1.0201 | 1.0146 | 1.0176 | 1.02
| 0.9 | 1.0312 | 1.0318 | 1.0313 | 1.0236 | 1.0238 | 1.0242 | 1.0291 | 1.0241 | 1.0238 | 1.0277 | 1.0293 | 1.0294 | 1.0195 | 1.0213 | 1.0225 | 1.0222 | 1.0212 | 1.022 | 1.0247 | 1.0272 | 1.0278 | 1.0161 | 1.0191 | 1.021 | 1.0171 | 1.0186 | 1.0204
| 1 | 1.0329 | 1.0326 | 1.0318 | 1.0253 | 1.0247 | 1.0247 | 1.0302 | 1.0247 | 1.0237 | 1.0297 | 1.0304 | 1.03 | 1.0215 | 1.0225 | 1.023 | 1.0238 | 1.0218 | 1.0221 | 1.027 | 1.0285 | 1.0284 | 1.0184 | 1.0205 | 1.0217 | 1.0191 | 1.0196 | 1.0207
| 1.1 | 1.0341 | 1.0333 | 1.032 | 1.0265 | 1.0253 | 1.0248 | 1.031 | 1.0248 | 1.0235 | 1.031 | 1.0311 | 1.0304 | 1.0229 | 1.023 | 1.0235 | 1.0249 | 1.0222 | 1.0223 | 1.0286 | 1.0292 | 1.029 | 1.02 | 1.0214 | 1.0222 | 1.0204 | 1.0201 | 1.0209
| 1.2 | 1.0349 | 1.0337 | 1.0322 | 1.0273 | 1.0255 | 1.025 | 1.0315 | 1.0249 | 1.0233 | 1.0319 | 1.0316 | 1.0306 | 1.024 | 1.0236 | 1.0238 | 1.0255 | 1.0224 | 1.0221 | 1.0296 | 1.0298 | 1.0294 | 1.0212 | 1.0219 | 1.0225 | 1.0212 | 1.0205 | 1.021
| 1.3 | 1.0356 | 1.0342 | 1.0325 | 1.028 | 1.026 | 1.0253 | 1.0319 | 1.0249 | 1.0232 | 1.0327 | 1.0321 | 1.0309 | 1.0248 | 1.024 | 1.0239 | 1.0261 | 1.0228 | 1.0221 | 1.0305 | 1.0304 | 1.0296 | 1.0222 | 1.0224 | 1.0229 | 1.022 | 1.0208 | 1.021
| 1.4 | 1.036 | 1.0344 | 1.0326 | 1.0284 | 1.0262 | 1.0253 | 1.0323 | 1.0251 | 1.0231 | 1.0332 | 1.0324 | 1.0311 | 1.0252 | 1.0244 | 1.0241 | 1.0264 | 1.0228 | 1.022 | 1.0311 | 1.0308 | 1.0299 | 1.0227 | 1.0229 | 1.023 | 1.0226 | 1.0211 | 1.0212
| 1.5 | 1.0364 | 1.0346 | 1.0328 | 1.0288 | 1.0264 | 1.0252 | 1.0324 | 1.0251 | 1.023 | 1.0336 | 1.0327 | 1.0311 | 1.0258 | 1.0246 | 1.0243 | 1.0267 | 1.0229 | 1.022 | 1.0315 | 1.031 | 1.0301 | 1.0233 | 1.0232 | 1.0232 | 1.0229 | 1.0211 | 1.0212
| 1.6 | 1.0366 | 1.0347 | 1.0328 | 1.029 | 1.0266 | 1.0255 | 1.0325 | 1.025 | 1.023 | 1.034 | 1.0328 | 1.0312 | 1.0261 | 1.0249 | 1.0243 | 1.027 | 1.0229 | 1.022 | 1.0319 | 1.0313 | 1.0301 | 1.0236 | 1.0233 | 1.0232 | 1.0232 | 1.0214 | 1.0212
| 1.7 | 1.0368 | 1.0349 | 1.0328 | 1.0292 | 1.0266 | 1.0253 | 1.0327 | 1.025 | 1.0229 | 1.0342 | 1.033 | 1.0314 | 1.0263 | 1.0249 | 1.0243 | 1.0271 | 1.023 | 1.022 | 1.0321 | 1.0314 | 1.0302 | 1.0238 | 1.0234 | 1.0233 | 1.0234 | 1.0214 | 1.0212
| 1.8 | 1.0369 | 1.035 | 1.0328 | 1.0293 | 1.0266 | 1.0254 | 1.0327 | 1.025 | 1.0228 | 1.0343 | 1.033 | 1.0314 | 1.0264 | 1.025 | 1.0242 | 1.0272 | 1.0231 | 1.0218 | 1.0323 | 1.0314 | 1.0301 | 1.024 | 1.0237 | 1.0234 | 1.0235 | 1.0214 | 1.0211
| 1.9 | 1.0371 | 1.035 | 1.0329 | 1.0294 | 1.0266 | 1.0254 | 1.0328 | 1.025 | 1.0226 | 1.0344 | 1.033 | 1.0314 | 1.0265 | 1.0251 | 1.0244 | 1.0273 | 1.023 | 1.0218 | 1.0324 | 1.0315 | 1.0302 | 1.0243 | 1.0236 | 1.0234 | 1.0237 | 1.0214 | 1.0212
| 2 | 1.0371 | 1.035 | 1.0328 | 1.0294 | 1.0267 | 1.0254 | 1.0326 | 1.0249 | 1.0229 | 1.0345 | 1.033 | 1.0314 | 1.0267 | 1.025 | 1.0242 | 1.0274 | 1.0229 | 1.022 | 1.0325 | 1.0316 | 1.0303 | 1.0244 | 1.0237 | 1.0235 | 1.0237 | 1.0216 | 1.021
| 2.1 | 1.0372 | 1.0349 | 1.0329 | 1.0295 | 1.0268 | 1.0253 | 1.0328 | 1.0248 | 1.0226 | 1.0346 | 1.033 | 1.0314 | 1.0266 | 1.0251 | 1.0243 | 1.0274 | 1.023 | 1.0216 | 1.0326 | 1.0317 | 1.0303 | 1.0244 | 1.0237 | 1.0233 | 1.0237 | 1.0214 | 1.0211
| 2.2 | 1.0372 | 1.0351 | 1.0328 | 1.0295 | 1.0266 | 1.0253 | 1.0327 | 1.025 | 1.0224 | 1.0346 | 1.0333 | 1.0315 | 1.0268 | 1.025 | 1.0242 | 1.0274 | 1.023 | 1.0216 | 1.0327 | 1.0318 | 1.0302 | 1.0244 | 1.0238 | 1.0234 | 1.0238 | 1.0214 | 1.021
| 2.3 | 1.0373 | 1.0351 | 1.0328 | 1.0296 | 1.0265 | 1.0253 | 1.0327 | 1.0248 | 1.0224 | 1.0346 | 1.0331 | 1.0315 | 1.0268 | 1.0251 | 1.0243 | 1.0274 | 1.0229 | 1.0219 | 1.0327 | 1.0316 | 1.0303 | 1.0244 | 1.0238 | 1.0234 | 1.0238 | 1.0215 | 1.0208
| 2.4 | 1.0372 | 1.0351 | 1.0329 | 1.0296 | 1.0268 | 1.0252 | 1.0327 | 1.0249 | 1.0223 | 1.0347 | 1.033 | 1.0314 | 1.0267 | 1.025 | 1.0243 | 1.0275 | 1.023 | 1.0217 | 1.0327 | 1.0316 | 1.0302 | 1.0245 | 1.0238 | 1.0233 | 1.0237 | 1.0215 | 1.0209
| 2.5 | 1.0372 | 1.035 | 1.0328 | 1.0296 | 1.0266 | 1.0253 | 1.0327 | 1.0247 | 1.0224 | 1.0347 | 1.0331 | 1.0314 | 1.0268 | 1.0252 | 1.0242 | 1.0274 | 1.0229 | 1.0218 | 1.0328 | 1.0316 | 1.0302 | 1.0245 | 1.0238 | 1.0235 | 1.0239 | 1.0214 | 1.021
| 2.6 | 1.0372 | 1.035 | 1.0327 | 1.0297 | 1.0267 | 1.0252 | 1.0326 | 1.0247 | 1.0223 | 1.0347 | 1.0331 | 1.0313 | 1.0268 | 1.0251 | 1.0243 | 1.0274 | 1.023 | 1.0217 | 1.0327 | 1.0317 | 1.0301 | 1.0245 | 1.0237 | 1.0232 | 1.0239 | 1.0215 | 1.0209
| 2.7 | 1.0373 | 1.035 | 1.0328 | 1.0296 | 1.0267 | 1.0253 | 1.0327 | 1.0246 | 1.0225 | 1.0346 | 1.033 | 1.0314 | 1.0267 | 1.025 | 1.0242 | 1.0273 | 1.0229 | 1.0214 | 1.0327 | 1.0317 | 1.0302 | 1.0245 | 1.0238 | 1.0233 | 1.0237 | 1.0214 | 1.0208
| 2.8 | 1.0372 | 1.0351 | 1.0329 | 1.0297 | 1.0266 | 1.025 | 1.0325 | 1.0245 | 1.0222 | 1.0346 | 1.0331 | 1.0314 | 1.0268 | 1.025 | 1.0242 | 1.0273 | 1.0228 | 1.0214 | 1.0326 | 1.0317 | 1.0301 | 1.0245 | 1.0237 | 1.0233 | 1.0238 | 1.0215 | 1.0209
| 2.9 | 1.0372 | 1.0349 | 1.0327 | 1.0296 | 1.0266 | 1.025 | 1.0325 | 1.0247 | 1.0224 | 1.0346 | 1.0331 | 1.0313 | 1.0267 | 1.0249 | 1.0241 | 1.0272 | 1.0228 | 1.0215 | 1.0327 | 1.0317 | 1.0303 | 1.0244 | 1.0237 | 1.0232 | 1.0238 | 1.0215 | 1.0207
| 3 | 1.0371 | 1.035 | 1.0326 | 1.0295 | 1.0267 | 1.0252 | 1.0326 | 1.0244 | 1.0223 | 1.0347 | 1.033 | 1.0313 | 1.0266 | 1.0249 | 1.0243 | 1.0272 | 1.0227 | 1.0215 | 1.0326 | 1.0315 | 1.0302 | 1.0245 | 1.0238 | 1.0232 | 1.0237 | 1.0212 | 1.0208