## General info
Session: | OD measurement
Program version: | Ascent Software Version 2.6
Instrument: | Multiskan Ascent V1.25 | Layout map of step: Measure
Serial no: | 354-90734 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Actual temperature: | Amb.temp. |  | A
B
C
Plate template: | Thermo Labsystems Microtiter 96 Plate |  | D
Step name: | Measure |  | E
Measurement type: | Single |  | F
Filter: | 630 |  | G
Measurement mode: | Continuous |  | H

## Exp. 1
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 1
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.193 | 0.276 | 0.072 | 0.061 | 0.047 | 0.052 | 0.05 | 0.047 | 0.042 | 0.041 | 0.072 | 1.011 | Positive control |  | background
B | 0.208 | 0.242 | 0.07 | 0.065 | 0.049 | 0.045 | 0.052 | 0.84 | 0.967 | 0.996 | 1.036 | 1.007
C | 0.209 | 0.206 | 0.068 | 0.061 | 0.051 | 0.112 | 0.048 | 0.922 | 0.979 | 0.994 | 1.005 | 0.99
D | 0.223 | 0.17 | 0.072 | 0.062 | 0.05 | 0.043 | 0.047 | 0.962 | 0.972 | 0.965 | 0.99 | 1.033
E | 0.462 | 0.192 | 0.112 | 0.068 | 0.056 | 0.05 | 0.045 | 0.989 | 1.02 | 0.969 | 0.97 | 0.07 | Negative control
F | 0.442 | 0.183 | 0.094 | 0.06 | 0.053 | 0.047 | 0.045 | 1.09 | 0.982 | 0.979 | 0.986 | 0.039
G | 0.505 | 0.202 | 0.098 | 0.062 | 0.055 | 0.17 | 0.044 | 0.96 | 0.942 | 0.956 | 0.993 | 0.044
H | 0.335 | 0.247 | 0.079 | 0.07 | 0.066 | 0.061 | 0.047 | 0.048 | 0.047 | 0.045 | 0.046 | 0.042
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
1
| 0.015 | -0.034 | -0.002 | 0.004 | 0.002 | -0.007 | 0.002 | 0.793 | 0.925 | 0.955 | 0.964
| 0.016 | -0.07 | -0.004 | 0 | 0.004 | 0.06 | -0.002 | 0.875 | 0.937 | 0.953 | 0.933
| 0.03 | -0.106 | 0 | 0.001 | 0.003 | -0.009 | -0.003 | 0.915 | 0.93 | 0.924 | 0.918 |  | 1.0103 | Mean pos
2 | 0.127 | -0.055 | 0.033 | -0.002 | -0.01 | -0.011 | -0.002 | 0.941 | 0.973 | 0.924 | 0.924 |  | 0.04875 | Mean neg
| 0.107 | -0.064 | 0.015 | -0.01 | -0.013 | -0.014 | -0.002 | 1.042 | 0.935 | 0.934 | 0.94
| 0.17 | -0.045 | 0.019 | -0.008 | -0.011 | 0.109 | -0.003 | 0.912 | 0.895 | 0.911 | 0.947

## Exp. 1 (2)
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 1
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.243 | 0.17 | 0.065 | 0.052 | 0.044 | 0.041 | 0.05 | 0.04 | 0.042 | 0.041 | 0.041 | 1.112 | Positive control |  | background
B | 0.271 | 0.178 | 0.098 | 0.05 | 0.041 | 0.049 | 0.068 | 0.884 | 0.949 | 0.934 | 0.96 | 1.031
C | 0.278 | 0.181 | 0.088 | 0.048 | 0.049 | 0.047 | 0.437 | 0.906 | 0.956 | 0.943 | 0.988 | 0.995
D | 0.263 | 0.165 | 0.095 | 0.049 | 0.04 | 0.048 | 0.555 | 0.932 | 0.943 | 0.938 | 0.984 | 1.01
E | 0.422 | 0.189 | 0.13 | 0.058 | 0.046 | 0.043 | 0.046 | 0.884 | 0.944 | 0.915 | 0.939 | 0.041 | Negative control
F | 0.439 | 0.245 | 0.097 | 0.052 | 0.046 | 0.043 | 0.044 | 0.876 | 0.945 | 0.918 | 0.938 | 0.043
G | 0.439 | 0.2 | 0.103 | 0.052 | 0.047 | 0.043 | 0.045 | 0.931 | 0.92 | 0.916 | 0.94 | 0.041
H | 0.283 | 0.248 | 0.1 | 0.066 | 0.052 | 0.046 | 0.042 | 0.042 | 0.042 | 0.043 | 0.042 | 0.042
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
1
| 0.028 | 0.008 | 0.033 | -0.002 | -0.003 | 0.008 | 0.018 | 0.844 | 0.907 | 0.893 | 0.919
| 0.035 | 0.011 | 0.023 | -0.004 | 0.005 | 0.006 | 0.387 | 0.866 | 0.914 | 0.902 | 0.947
| 0.02 | -0.005 | 0.03 | -0.003 | -0.004 | 0.007 | 0.505 | 0.892 | 0.901 | 0.897 | 0.943 |  | 1.037 | Mean pos
2 | 0.139 | -0.059 | 0.03 | -0.008 | -0.006 | -0.003 | 0.004 | 0.842 | 0.902 | 0.872 | 0.897 |  | 0.04175 | Mean neg
| 0.156 | -0.003 | -0.003 | -0.014 | -0.006 | -0.003 | 0.002 | 0.834 | 0.903 | 0.875 | 0.896
| 0.156 | -0.048 | 0.003 | -0.014 | -0.005 | -0.003 | 0.003 | 0.889 | 0.878 | 0.873 | 0.898

## Exp. 1 (3)
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 1
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.344 | 0.199 | 0.092 | 0.049 | 0.044 | 0.046 | 0.048 | 0.055 | 0.064 | 0.055 | 0.068 | 1.17 | Positive control |  | background
B | 0.329 | 0.213 | 0.094 | 0.049 | 0.044 | 0.043 | 0.049 | 1.052 | 1.084 | 1.149 | 1.249 | 1.203
C | 0.32 | 0.211 | 0.107 | 0.052 | 0.046 | 0.044 | 0.047 | 1.048 | 1.132 | 1.202 | 1.214 | 1.13
D | 0.339 | 0.203 | 0.098 | 0.049 | 0.046 | 0.046 | 0.049 | 1.123 | 1.193 | 1.225 | 1.2 | 1.136
E | 0.428 | 0.279 | 0.16 | 0.088 | 0.06 | 0.047 | 0.044 | 1.015 | 1.309 | 1.117 | 1.168 | 0.07 | Negative control
F | 0.415 | 0.276 | 0.151 | 0.085 | 0.059 | 0.045 | 0.048 | 1.058 | 1.202 | 1.165 | 0.979 | 0.07
G | 0.433 | 0.28 | 0.151 | 0.082 | 0.056 | 0.047 | 0.045 | 1.008 | 1.057 | 1.151 | 1.108 | 0.068
H | 0.423 | 0.328 | 0.134 | 0.08 | 0.053 | 0.045 | 0.044 | 0.047 | 0.056 | 0.051 | 0.063 | 0.07
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
1
| -0.015 | 0.014 | 0.002 | 0 | 0 | -0.003 | 0.001 | 0.997 | 1.02 | 1.094 | 1.181
| -0.024 | 0.012 | 0.015 | 0.003 | 0.002 | -0.002 | -0.001 | 0.993 | 1.068 | 1.147 | 1.146
| -0.005 | 0.004 | 0.006 | 0 | 0.002 | 0 | 0.001 | 1.068 | 1.129 | 1.17 | 1.132 |  | 1.1598 | Mean pos
2 | 0.005 | -0.049 | 0.026 | 0.008 | 0.007 | 0.002 | 0 | 0.968 | 1.253 | 1.066 | 1.105 |  | 0.0695 | Mean neg
| -0.008 | -0.052 | 0.017 | 0.005 | 0.006 | 0 | 0.004 | 1.011 | 1.146 | 1.114 | 0.916
| 0.01 | -0.048 | 0.017 | 0.002 | 0.003 | 0.002 | 0.001 | 0.961 | 1.001 | 1.1 | 1.045

## Exp. 2
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 2
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.149 | 0.072 | 0.054 | 0.05 | 0.049 | 0.049 | 0.048 | 0.047 |  |  |  | 0.812 | Positive control |  | background
B | 0.131 | 0.194 | 0.573 | 0.843 | 0.774 | 0.817 | 0.846 | 0.748 |  |  |  | 0.833
C | 0.158 | 0.183 | 0.61 | 0.706 | 0.741 | 0.777 | 0.796 | 0.775 |  |  |  | 0.813
D | 0.151 | 0.195 | 0.572 | 0.799 | 0.743 | 0.763 | 0.742 | 0.818 |  |  |  | 0.85
E | 0.278 | 0.234 | 0.122 | 0.071 | 0.058 | 0.051 | 0.328 | 0.826 |  |  |  | 0.048 | Negative control
F | 0.257 | 0.236 | 0.122 | 0.074 | 0.057 | 0.052 | 0.528 | 0.804 |  |  |  | 0.047
G | 0.32 | 0.234 | 0.122 | 0.073 | 0.058 | 0.055 | 0.678 | 0.846 |  |  |  | 0.047
H | 0.292 | 0.208 | 0.112 | 0.072 | 0.057 | 0.05 | 0.048 | 0.048 |  |  |  | 0.045
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625
10
| -0.018 | 0.122 | 0.519 | 0.793 | 0.725 | 0.768 | 0.798 | 0.701
| 0.009 | 0.111 | 0.556 | 0.656 | 0.692 | 0.728 | 0.748 | 0.728
| 0.002 | 0.123 | 0.518 | 0.749 | 0.694 | 0.714 | 0.694 | 0.771 |  |  |  |  | 0.827 | Mean pos
5 | -0.014 | 0.026 | 0.01 | -0.001 | 0.001 | 0.001 | 0.28 | 0.778 |  |  |  |  | 0.04675 | Mean neg
| -0.035 | 0.028 | 0.01 | 0.002 | 0 | 0.002 | 0.48 | 0.756
| 0.028 | 0.026 | 0.01 | 0.001 | 0.001 | 0.005 | 0.63 | 0.798

## Exp. 3
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 3
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.175 | 0.067 | 0.048 | 0.044 | 0.043 | 0.043 | 0.045 | 0.042 |  |  |  | 0.632 | Positive control |  | background
B | 0.135 | 0.068 | 0.093 | 0.35 | 0.658 | 0.679 | 0.833 | 0.823 |  |  |  | 0.637
C | 0.15 | 0.122 | 0.111 | 0.362 | 0.651 | 0.726 | 0.767 | 0.74 |  |  |  | 0.626
D | 0.147 | 0.07 | 0.21 | 0.44 | 0.591 | 0.687 | 0.722 | 0.824 |  |  |  | 0.675
E | 0.389 | 0.253 | 0.13 | 0.07 | 0.053 | 0.046 | 0.042 | 0.844 |  |  |  | 0.043 | Negative control
F | 0.439 | 0.261 | 0.128 | 0.071 | 0.052 | 0.046 | 0.044 | 0.739 |  |  |  | 0.043
G | 0.421 | 0.259 | 0.125 | 0.071 | 0.053 | 0.046 | 0.053 | 0.711 |  |  |  | 0.043
H | 0.43 | 0.262 | 0.13 | 0.069 | 0.051 | 0.044 | 0.043 | 0.042 |  |  |  | 0.043
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625
10
| -0.04 | 0.001 | 0.045 | 0.306 | 0.615 | 0.636 | 0.788 | 0.781
| -0.025 | 0.055 | 0.063 | 0.318 | 0.608 | 0.683 | 0.722 | 0.698
| -0.028 | 0.003 | 0.162 | 0.396 | 0.548 | 0.644 | 0.677 | 0.782 |  |  |  |  | 0.6425 | Mean pos
5 | -0.041 | -0.009 | 0 | 0.001 | 0.002 | 0.002 | -0.001 | 0.802 |  |  |  |  | 0.043 | Mean neg
| 0.009 | -0.001 | -0.002 | 0.002 | 0.001 | 0.002 | 0.001 | 0.697
| -0.009 | -0.003 | -0.005 | 0.002 | 0.002 | 0.002 | 0.01 | 0.669

## Exp. 4
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 4
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.247 | 0.194 | 0.076 | 0.047 | 0.043 | 0.045 | 0.044 | 0.045 | 0.052 | 0.045 |  | 1.162 | Positive control |  | background
B | 0.265 | 0.187 | 0.077 | 0.046 | 0.042 | 0.043 | 0.604 | 1.227 | 1.246 | 1.247 |  | 1.206
C | 0.265 | 0.186 | 0.077 | 0.046 | 0.044 | 0.042 | 0.528 | 1.316 | 1.31 | 1.315 |  | 1.193
D | 0.268 | 0.192 | 0.083 | 0.047 | 0.045 | 0.044 | 0.532 | 1.254 | 1.344 | 1.33 |  | 1.181
E | 0.326 | 0.182 | 0.157 | 0.075 | 0.055 | 0.046 | 0.046 | 1.241 | 1.286 | 1.29 |  | 0.047 | Negative control
F | 0.357 | 0.169 | 0.154 | 0.072 | 0.056 | 0.044 | 0.044 | 1.239 | 1.35 | 1.259 |  | 0.046
G | 0.38 | 0.137 | 0.145 | 0.074 | 0.052 | 0.046 | 0.045 | 0.988 | 1.202 | 1.172 |  | 0.048
H | 0.221 | 0.216 | 0.14 | 0.074 | 0.053 | 0.046 | 0.044 | 0.044 | 0.046 | 0.056 |  | 0.046
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.78125
1
| 0.018 | -0.007 | 0.001 | -0.001 | -0.001 | -0.002 | 0.56 | 1.182 | 1.194 | 1.202
| 0.018 | -0.008 | 0.001 | -0.001 | 0.001 | -0.003 | 0.484 | 1.271 | 1.258 | 1.27
| 0.021 | -0.002 | 0.007 | 0 | 0.002 | -0.001 | 0.488 | 1.209 | 1.292 | 1.285 |  |  | 1.1855 | Mean pos
2 | 0.105 | -0.034 | 0.017 | 0.001 | 0.002 | 0 | 0.002 | 1.197 | 1.24 | 1.234 |  |  | 0.04675 | Mean neg
| 0.136 | -0.047 | 0.014 | -0.002 | 0.003 | -0.002 | 0 | 1.195 | 1.304 | 1.203
| 0.159 | -0.079 | 0.005 | 0 | -0.001 | 0 | 0.001 | 0.944 | 1.156 | 1.116

## Exp. 5
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 5
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.282 | 0.109 | 0.058 | 0.047 | 0.043 | 0.044 | 0.042 | 0.05 | 0.049 | 0.044 |  | 1.286 | Positive control |  | background
B | 0.248 | 0.121 | 0.059 | 0.047 | 0.044 | 0.045 | 1.08 | 1.291 | 1.279 | 1.255 |  | 1.199
C | 0.262 | 0.128 | 0.062 | 0.046 | 0.045 | 0.045 | 1.197 | 1.352 | 1.354 | 1.279 |  | 1.256
D | 0.272 | 0.127 | 0.066 | 0.047 | 0.045 | 0.045 | 1.24 | 1.343 | 1.377 | 1.343 |  | 1.293
E | 0.081 | 0.05 | 0.104 | 0.684 | 1.015 | 1.237 | 1.243 | 1.271 | 1.363 | 1.321 |  | 0.044 | Negative control
F | 0.073 | 0.049 | 0.071 | 0.651 | 1.075 | 1.234 | 1.25 | 1.25 | 1.337 | 1.319 |  | 0.043
G | 0.074 | 0.048 | 0.091 | 0.691 | 1.03 | 1.247 | 1.211 | 1.264 | 1.406 | 1.358 |  | 0.046
H | 0.076 | 0.052 | 0.046 | 0.045 | 0.045 | 0.044 | 0.044 | 0.046 | 0.056 | 0.045 |  | 0.057
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.78125
3
| -0.034 | 0.012 | 0.001 | 0 | 0.001 | 0.001 | 1.038 | 1.241 | 1.23 | 1.211
| -0.02 | 0.019 | 0.004 | -0.001 | 0.002 | 0.001 | 1.155 | 1.302 | 1.305 | 1.235
| -0.01 | 0.018 | 0.008 | 0 | 0.002 | 0.001 | 1.198 | 1.293 | 1.328 | 1.299 |  |  | 1.2585 | Mean pos
9 | 0.005 | -0.002 | 0.058 | 0.639 | 0.97 | 1.193 | 1.199 | 1.225 | 1.307 | 1.276 |  |  | 0.0475 | Mean neg
| -0.003 | -0.003 | 0.025 | 0.606 | 1.03 | 1.19 | 1.206 | 1.204 | 1.281 | 1.274
| -0.002 | -0.004 | 0.045 | 0.646 | 0.985 | 1.203 | 1.167 | 1.218 | 1.35 | 1.313

## Exp. 6
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 6
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.344 | 0.178 | 0.09 | 0.065 | 0.047 | 0.046 | 0.044 | 0.044 | 0.05 | 0.06 |  | 0.992 | Positive control |  | background
B | 0.338 | 0.18 | 0.091 | 0.062 | 0.053 | 0.044 | 1.15 | 1.241 | 1.288 | 1.215 |  | 1.06
C | 0.333 | 0.183 | 0.097 | 0.067 | 0.049 | 0.044 | 1.126 | 1.31 | 1.359 | 1.231 |  | 1.026
D | 0.35 | 0.178 | 0.096 | 0.066 | 0.065 | 0.045 | 1.117 | 1.325 | 1.45 | 1.221 |  | 1.008
E | 0.364 | 0.245 | 0.126 | 0.069 | 0.048 | 0.045 | 1.112 | 1.346 | 1.297 | 1.238 |  | 0.041 | Negative control
F | 0.389 | 0.247 | 0.124 | 0.071 | 0.048 | 0.045 | 1.205 | 1.314 | 1.327 | 1.33 |  | 0.042
G | 0.408 | 0.248 | 0.121 | 0.069 | 0.047 | 0.046 | 1.23 | 1.305 | 1.29 | 1.27 |  | 0.046
H | 0.384 | 0.237 | 0.117 | 0.071 | 0.05 | 0.045 | 0.045 | 0.045 | 0.058 | 0.056 |  | 0.04
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062
4
| -0.006 | 0.002 | 0.001 | -0.003 | 0.006 | -0.002 | 1.106 | 1.197 | 1.238 | 1.155
| -0.011 | 0.005 | 0.007 | 0.002 | 0.002 | -0.002 | 1.082 | 1.266 | 1.309 | 1.171
| 0.006 | 0 | 0.006 | 0.001 | 0.018 | -0.001 | 1.073 | 1.281 | 1.4 | 1.161 |  |  | 1.0215 | Mean pos
12 | -0.02 | 0.008 | 0.009 | -0.002 | -0.002 | 0 | 1.067 | 1.301 | 1.239 | 1.182 |  |  | 0.04225 | Mean neg
| 0.005 | 0.01 | 0.007 | 0 | -0.002 | 0 | 1.16 | 1.269 | 1.269 | 1.274
| 0.024 | 0.011 | 0.004 | -0.002 | -0.003 | 0.001 | 1.185 | 1.26 | 1.232 | 1.214

## Exp. 8
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 8
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [11 empty] | 1.297 | Positive control |  | background
B | [11 empty] | 1.219
C | [11 empty] | 1.244
D | [11 empty] | 1.35
E | 0.055 | 0.368 | 1.298 | 1.315 | 1.403 | 1.498 | 1.501 | 1.312 | 1.39 | 1.294 | 1.37 | 0.045 | Negative control
F | 0.057 | 0.339 | 1.307 | 1.343 | 1.417 | 1.581 | 1.527 | 1.532 | 1.535 | 1.52 | 1.469 | 0.042
G | 0.058 | 0.282 | 1.4 | 1.308 | 1.354 | 1.634 | 1.638 | 1.606 | 1.573 | 1.558 | 1.482 | 0.044
H | 0.058 | 0.05 | 0.048 | 0.048 | 0.045 | 0.044 | 0.044 | 0.043 | 0.044 | 0.045 | 0.043 | 0.045
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1.2775 | Mean pos
16 | -0.003 | 0.318 | 1.25 | 1.267 | 1.358 | 1.454 | 1.457 | 1.269 | 1.346 | 1.249 | 1.327 |  | 0.044 | Mean neg
| -0.001 | 0.289 | 1.259 | 1.295 | 1.372 | 1.537 | 1.483 | 1.489 | 1.491 | 1.475 | 1.426
| 0 | 0.232 | 1.352 | 1.26 | 1.309 | 1.59 | 1.594 | 1.563 | 1.529 | 1.513 | 1.439

## Exp. 7
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 7
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.103 | 0.054 | 0.047 | 0.049 | 0.045 | 0.047 | 0.044 | 0.057 | 0.057 | 0.062 |  | 1.236 | Positive control |  | background
B | 0.092 | 0.049 | 0.044 | 0.12 | 0.741 | 1.252 | 1.215 | 1.164 | 1.152 | 1.156 |  | 1.177
C | 0.093 | 0.053 | 0.047 | 0.106 | 0.694 | 1.151 | 1.251 | 1.277 | 1.272 | 1.261 |  | 1.183
D | 0.094 | 0.052 | 0.047 | 0.095 | 0.627 | 1.087 | 1.23 | 1.26 | 1.27 | 1.244 |  | 1.173
E | 0.096 | 0.059 | 0.048 | 0.122 | 0.555 | 0.63 | 1.104 | 1.192 | 1.253 | 1.197 |  | 0.046 | Negative control
F | 0.103 | 0.056 | 0.048 | 0.111 | 0.682 | 0.95 | 1.178 | 1.179 | 1.209 | 1.129 |  | 0.049
G | 0.099 | 0.054 | 0.048 | 0.156 | 0.597 | 0.727 | 1.112 | 1.088 | 1.095 | 1.041 |  | 0.046
H | 0.104 | 0.054 | 0.047 | 0.046 | 0.046 | 0.044 | 0.046 | 0.049 | 0.05 | 0.055 |  | 0.045
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062
18
| -0.011 | -0.005 | -0.003 | 0.071 | 0.696 | 1.205 | 1.171 | 1.107 | 1.095 | 1.094
| -0.01 | -0.001 | 0 | 0.057 | 0.649 | 1.104 | 1.207 | 1.22 | 1.215 | 1.199
| -0.009 | -0.002 | 0 | 0.046 | 0.582 | 1.04 | 1.186 | 1.203 | 1.213 | 1.182 |  |  | 1.1923 | Mean pos
14 | -0.008 | 0.005 | 0.001 | 0.076 | 0.509 | 0.586 | 1.058 | 1.143 | 1.203 | 1.142 |  |  | 0.0465 | Mean neg
| -0.001 | 0.002 | 0.001 | 0.065 | 0.636 | 0.906 | 1.132 | 1.13 | 1.159 | 1.074
| -0.005 | 0 | 0.001 | 0.11 | 0.551 | 0.683 | 1.066 | 1.039 | 1.045 | 0.986

## Exp. 9
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 9
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.325 | 0.149 | 0.071 | 0.046 | 0.042 | 0.042 | 0.05 | 0.057 | 0.074 | 0.052 |  | 1.276 | Positive control |  | background
B | 0.343 | 0.143 | 0.063 | 0.044 | 0.042 | 0.069 | 1.179 | 1.217 | 1.228 | 1.193 |  | 1.227
C | 0.34 | 0.139 | 0.07 | 0.045 | 0.043 | 0.056 | 1.203 | 1.27 | 1.2 | 1.214 |  | 1.226
D | 0.326 | 0.139 | 0.069 | 0.047 | 0.043 | 0.06 | 1.174 | 1.229 | 1.258 | 1.222 |  | 1.222
E | 0.252 | 0.107 | 0.057 | 0.045 | 0.045 | 1.19 | 1.267 | 1.258 | 1.314 | 1.263 |  | 0.058 | Negative control
F | 0.251 | 0.104 | 0.055 | 0.045 | 0.044 | 1.266 | 1.301 | 1.324 | 1.307 | 1.272 |  | 0.056
G | 0.205 | 0.111 | 0.055 | 0.046 | 0.045 | 1.25 | 1.26 | 1.328 | 1.282 | 1.324 |  | 0.059
H | 0.27 | 0.108 | 0.055 | 0.045 | 0.043 | 0.044 | 0.043 | 0.045 | 0.048 | 0.045 |  | 0.052
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062
11
| 0.018 | -0.006 | -0.008 | -0.002 | 0 | 0.027 | 1.129 | 1.16 | 1.154 | 1.141
| 0.015 | -0.01 | -0.001 | -0.001 | 0.001 | 0.014 | 1.153 | 1.213 | 1.126 | 1.162
| 0.001 | -0.01 | -0.002 | 0.001 | 0.001 | 0.018 | 1.124 | 1.172 | 1.184 | 1.17 |  |  | 1.2378 | Mean pos
15 | -0.018 | -0.001 | 0.002 | 0 | 0.002 | 1.146 | 1.224 | 1.213 | 1.266 | 1.218 |  |  | 0.05625 | Mean neg
| -0.019 | -0.004 | 0 | 0 | 0.001 | 1.222 | 1.258 | 1.279 | 1.259 | 1.227
| -0.065 | 0.003 | 0 | 0.001 | 0.002 | 1.206 | 1.217 | 1.283 | 1.234 | 1.279

## Exp. 10
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 10
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.068 | 0.053 | 0.05 | 0.047 | 0.045 | 0.044 | 0.046 | 0.043 |  |  |  | 1.054 | Positive control |  | background
B | 0.069 | 1.304 | 1.284 | 1.353 | 1.36 | 1.306 | 1.305 | 1.298 |  |  |  | 1.079
C | 0.072 | 1.364 | 1.245 | 1.326 | 1.347 | 1.32 | 1.36 | 1.298 |  |  |  | 0.976
D | [11 empty] | 1.051
E | [11 empty] | 0.059 | Negative control
F | 0.556 | 0.328 | 0.177 | 0.082 | 0.052 | 0.045 | 1.296 | 1.154 |  |  |  | 0.061
G | 0.498 | 0.289 | 0.161 | 0.088 | 0.051 | 0.236 | 1.198 | 1.085 |  |  |  | 0.061
H | 0.558 | 0.292 | 0.17 | 0.079 | 0.047 | 0.042 | 0.041 | 0.041 |  |  |  | 0.06
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625
16
| 0.001 | 1.251 | 1.234 | 1.306 | 1.315 | 1.262 | 1.259 | 1.255
| 0.004 | 1.311 | 1.195 | 1.279 | 1.302 | 1.276 | 1.314 | 1.255
[13 empty] | 1.04 | Mean pos
12 | [12 empty] | 0.06025 | Mean neg
| -0.002 | 0.036 | 0.007 | 0.003 | 0.005 | 0.003 | 1.255 | 1.113
| -0.06 | -0.003 | -0.009 | 0.009 | 0.004 | 0.194 | 1.157 | 1.044

## Exp. 11
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 11
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.083 | 0.05 | 0.047 | 0.044 | 0.042 | 0.042 | 0.047 | 0.042 |  |  |  | 1.054 | Positive control |  | background
B | 0.094 | 0.05 | 0.179 | 1.054 | 1.146 | 1.128 | 1.261 | 1.209 |  |  |  | 1.079
C | 0.087 | 0.05 | 0.049 | 1.078 | 1.173 | 1.054 | 1.234 | 1.295 |  |  |  | 0.976
D | [11 empty] | 1.051
E | [11 empty] | 0.059 | Negative control
F | 0.095 | 0.055 | 0.086 | 0.968 | 1.109 | 1.112 | 1.07 | 1.189 |  |  |  | 0.061
G | 0.108 | 0.058 | 0.102 | 0.95 | 1.053 | 1.053 | 1.001 | 1.211 |  |  |  | 0.061
H | 0.097 | 0.059 | 0.054 | 0.046 | 0.045 | 0.043 | 0.046 | 0.045 |  |  |  | 0.06
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625
18
| 0.011 | 0 | 0.132 | 1.01 | 1.104 | 1.086 | 1.214 | 1.167
| 0.004 | 0 | 0.002 | 1.034 | 1.131 | 1.012 | 1.187 | 1.253
[13 empty] | 1.04 | Mean pos
14 | [12 empty] | 0.06025 | Mean neg
| -0.002 | -0.004 | 0.032 | 0.922 | 1.064 | 1.069 | 1.024 | 1.144
| 0.011 | -0.001 | 0.048 | 0.904 | 1.008 | 1.01 | 0.955 | 1.166

## Exp. 12
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 12
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.603 | 0.33 | 0.141 | 0.078 | 0.05 | 0.044 | 0.043 | 0.044 | 0.042 | 0.043 | 0.042 | 1.197 | Positive control |  | background
B | 0.569 | 0.302 | 0.14 | 0.082 | 0.049 | 0.043 | 1.263 | 1.232 | 1.409 | 1.346 | 1.317 | 1.156
C | 0.576 | 0.298 | 0.145 | 0.08 | 0.049 | 0.044 | 1.259 | 1.374 | 1.366 | 1.301 | 1.248 | 1.179
D | 0.567 | 0.295 | 0.147 | 0.079 | 0.051 | 0.044 | 1.269 | 1.405 | 1.374 | 1.303 | 1.298 | 1.237
E | 0.075 | 0.05 | 0.043 | 0.063 | 1.002 | 1.19 | 1.328 | 1.324 | 1.28 | 1.175 | 1.277 | 0.044 | Negative control
F | 0.075 | 0.046 | 0.043 | 0.079 | 1.023 | 1.277 | 1.334 | 1.341 | 1.228 | 1.167 | 1.281 | 0.042
G | 0.076 | 0.046 | 0.044 | 0.063 | 1.004 | 1.126 | 1.344 | 1.306 | 1.334 | 1.269 | 1.239 | 0.044
H | 0.072 | 0.05 | 0.046 | 0.044 | 0.047 | 0.042 | 0.042 | 0.042 | 0.045 | 0.041 | 0.04 | 0.043
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
12
| -0.034 | -0.028 | -0.001 | 0.004 | -0.001 | -0.001 | 1.22 | 1.188 | 1.367 | 1.303 | 1.275
| -0.027 | -0.032 | 0.004 | 0.002 | -0.001 | 0 | 1.216 | 1.33 | 1.324 | 1.258 | 1.206
| -0.036 | -0.035 | 0.006 | 0.001 | 0.001 | 0 | 1.226 | 1.361 | 1.332 | 1.26 | 1.256 |  | 1.1923 | Mean pos
18 | 0.003 | 0 | -0.003 | 0.019 | 0.955 | 1.148 | 1.286 | 1.282 | 1.235 | 1.134 | 1.237 |  | 0.04325 | Mean neg
| 0.003 | -0.004 | -0.003 | 0.035 | 0.976 | 1.235 | 1.292 | 1.299 | 1.183 | 1.126 | 1.241
| 0.004 | -0.004 | -0.002 | 0.019 | 0.957 | 1.084 | 1.302 | 1.264 | 1.289 | 1.228 | 1.199

## Exp. 13
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 13
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.066 | 0.05 | 0.044 | 0.044 | 0.041 | 0.043 | 0.043 | 0.042 | 0.042 | 0.042 | 0.043 | 1.232 | Positive control |  | background
B | 0.073 | 0.048 | 0.045 | 0.071 | 0.71 | 1.139 | 1.265 | 1.224 | 1.315 | 1.358 | 1.323 | 1.193
C | 0.071 | 0.047 | 0.043 | 0.07 | 0.729 | 1.055 | 1.34 | 1.297 | 1.257 | 1.336 | 1.206 | 1.189
D | 0.064 | 0.046 | 0.044 | 0.053 | 0.678 | 1.031 | 1.279 | 1.291 | 1.25 | 1.224 | 1.266 | 1.267
E | 1.099 | 1.223 | 1.302 | 1.429 | 1.33 | 1.304 | 1.27 | 1.284 | 1.29 | 1.303 | 1.315 | 0.043 | Negative control
F | 1.068 | 1.266 | 1.286 | 1.389 | 1.332 | 1.241 | 1.309 | 1.306 | 1.319 | 1.323 | 1.301 | 0.043
G | 1.073 | 1.216 | 1.314 | 1.314 | 1.359 | 1.367 | 1.345 | 1.306 | 1.329 | 1.256 | 1.316 | 0.044
H | 0.058 | 0.049 | 0.047 | 0.046 | 0.045 | 0.043 | 0.043 | 0.043 | 0.043 | 0.041 | 0.045 | 0.043
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
14
| 0.007 | -0.002 | 0.001 | 0.027 | 0.669 | 1.096 | 1.222 | 1.182 | 1.273 | 1.316 | 1.28
| 0.005 | -0.003 | -0.001 | 0.026 | 0.688 | 1.012 | 1.297 | 1.255 | 1.215 | 1.294 | 1.163
| -0.002 | -0.004 | 0 | 0.009 | 0.637 | 0.988 | 1.236 | 1.249 | 1.208 | 1.182 | 1.223 |  | 1.2203 | Mean pos
8 | 1.041 | 1.174 | 1.255 | 1.383 | 1.285 | 1.261 | 1.227 | 1.241 | 1.247 | 1.262 | 1.27 |  | 0.04325 | Mean neg
| 1.01 | 1.217 | 1.239 | 1.343 | 1.287 | 1.198 | 1.266 | 1.263 | 1.276 | 1.282 | 1.256
| 1.015 | 1.167 | 1.267 | 1.268 | 1.314 | 1.324 | 1.302 | 1.263 | 1.286 | 1.215 | 1.271

## Exp. 14
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 14
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.204 | 0.132 | 0.056 | 0.048 | 0.045 | 0.045 | 0.046 | 0.048 | 0.045 | 0.045 | 0.046 | 1.228 | Positive control |  | background
B | 0.164 | 0.102 | 0.053 | 0.048 | 0.506 | 1.094 | 1.203 | 1.264 | 1.288 | 1.267 | 1.235 | 1.263
C | 0.188 | 0.144 | 0.053 | 0.046 | 0.555 | 1.114 | 1.217 | 1.322 | 1.323 | 1.292 | 1.235 | 1.237
D | 0.186 | 0.103 | 0.056 | 0.051 | 0.566 | 1.148 | 1.224 | 1.283 | 1.237 | 1.23 | 1.328 | 1.286
E | 0.046 | 0.043 | 1.175 | 1.207 | 1.307 | 1.317 | 1.292 | 1.366 | 1.28 | 1.209 | 1.349 | 0.045 | Negative control
F | 0.047 | 0.047 | 1.331 | 1.208 | 1.285 | 1.314 | 1.311 | 1.26 | 1.303 | 1.254 | 1.365 | 0.043
G | 0.048 | 0.075 | 1.273 | 1.207 | 1.237 | 1.267 | 1.28 | 1.224 | 1.374 | 1.247 | 1.203 | 0.045
H | 0.045 | 0.044 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.043 | 0.042 | 0.042 | 0.043 | 0.048
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
7
| -0.04 | -0.03 | -0.003 | 0 | 0.461 | 1.049 | 1.157 | 1.216 | 1.243 | 1.222 | 1.189
| -0.016 | 0.012 | -0.003 | -0.002 | 0.51 | 1.069 | 1.171 | 1.274 | 1.278 | 1.247 | 1.189
| -0.018 | -0.029 | 0 | 0.003 | 0.521 | 1.103 | 1.178 | 1.235 | 1.192 | 1.185 | 1.282 |  | 1.2535 | Mean pos
17 | 0.001 | -0.001 | 1.132 | 1.164 | 1.264 | 1.274 | 1.249 | 1.323 | 1.238 | 1.167 | 1.306 |  | 0.04525 | Mean neg
| 0.002 | 0.003 | 1.288 | 1.165 | 1.242 | 1.271 | 1.268 | 1.217 | 1.261 | 1.212 | 1.322
| 0.003 | 0.031 | 1.23 | 1.164 | 1.194 | 1.224 | 1.237 | 1.181 | 1.332 | 1.205 | 1.16

## Exp. 14 (2)
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 14
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.219 | 0.139 | 0.064 | 0.05 | 0.045 | 0.048 | 0.046 | 0.05 | 0.058 | 0.049 | 0.053 | 1.179 | Positive control |  | background
B | 0.173 | 0.102 | 0.061 | 0.048 | 0.272 | 1.078 | 1.077 | 1.096 | 0.961 | 0.909 | 1.067 | 1.104
C | 0.204 | 0.13 | 0.062 | 0.052 | 0.505 | 1.041 | 1.069 | 1.071 | 1.05 | 0.931 | 0.94 | 1.14
D | 0.214 | 0.148 | 0.067 | 0.05 | 0.558 | 1.104 | 1.035 | 1.069 | 0.937 | 0.912 | 0.957 | 1.085
E | 0.048 | 0.048 | 1.168 | 1.083 | 1.165 | 1.195 | 1.118 | 1.112 | 1.106 | 1.069 | 1.136 | 0.053 | Negative control
F | 0.049 | 0.047 | 1.169 | 1.285 | 1.244 | 1.111 | 0.997 | 1.064 | 1.05 | 1.021 | 1.125 | 0.053
G | 0.049 | 0.051 | 1.09 | 1.255 | 1.216 | 1.11 | 1.023 | 1.109 | 0.988 | 1.017 | 1.129 | 0.054
H | 0.049 | 0.046 | 0.047 | 0.056 | 0.071 | 0.07 | 0.056 | 0.058 | 0.068 | 0.051 | 0.067 | 0.063
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
7
| -0.046 | -0.037 | -0.003 | -0.002 | 0.227 | 1.03 | 1.031 | 1.046 | 0.903 | 0.86 | 1.014
| -0.015 | -0.009 | -0.002 | 0.002 | 0.46 | 0.993 | 1.023 | 1.021 | 0.992 | 0.882 | 0.887
| -0.005 | 0.009 | 0.003 | 0 | 0.513 | 1.056 | 0.989 | 1.019 | 0.879 | 0.863 | 0.904 |  | 1.127 | Mean pos
17 | -0.001 | 0.002 | 1.121 | 1.027 | 1.094 | 1.125 | 1.062 | 1.054 | 1.038 | 1.018 | 1.069 |  | 0.05575 | Mean neg
| 0 | 0.001 | 1.122 | 1.229 | 1.173 | 1.041 | 0.941 | 1.006 | 0.982 | 0.97 | 1.058
| 0 | 0.005 | 1.043 | 1.199 | 1.145 | 1.04 | 0.967 | 1.051 | 0.92 | 0.966 | 1.062

## Exp. 15
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Pseudomonas aeruginosa ATCC 27853
Exp. 15
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.051 | 0.051 | 0.053 | 0.094 | 0.049 | 0.108 | 0.048 | 0.051 |  |  |  | 1.119 | Positive control |  | background
B | 0.359 | 0.934 | 1.099 | 1.063 | 0.981 | 1.037 | 1.131 | 0.996 |  |  |  | 1.033
C | 0.346 | 0.941 | 1.145 | 1.199 | 1.206 | 1.154 | 1.094 | 1.08 |  |  |  | 0.986
D | 0.352 | 0.957 | 1.136 | 1.242 | 1.213 | 1.171 | 1.001 | 1.015 |  |  |  | 1.023
E | 1.107 | 1.306 | 1.164 | 1.129 | 1.039 | 1.062 | 0.989 | 0.991 |  |  |  | 0.057 | Negative control
F | 1.172 | 1.235 | 1.137 | 1.054 | 1.023 | 0.996 | 1.042 | 0.982 |  |  |  | 0.094
G | 1.203 | 1.245 | 1.018 | 1.025 | 1.004 | 1.069 | 0.984 | 0.991 |  |  |  | 0.054
H | 0.083 | 0.053 | 0.051 | 0.049 | 0.049 | 0.048 | 0.052 | 0.049 |  |  |  | 0.049
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625
6
| 0.308 | 0.883 | 1.046 | 0.969 | 0.932 | 0.929 | 1.083 | 0.945
| 0.295 | 0.89 | 1.092 | 1.105 | 1.157 | 1.046 | 1.046 | 1.029
| 0.301 | 0.906 | 1.083 | 1.148 | 1.164 | 1.063 | 0.953 | 0.964 |  |  |  |  | 1.0402 | Mean pos
13 | 1.024 | 1.253 | 1.113 | 1.08 | 0.99 | 1.014 | 0.937 | 0.942 |  |  |  |  | 0.0635 | Mean neg
| 1.089 | 1.182 | 1.086 | 1.005 | 0.974 | 0.948 | 0.99 | 0.933
| 1.12 | 1.192 | 0.967 | 0.976 | 0.955 | 1.021 | 0.932 | 0.942