## General info
Session: | OD measurement
Program version: | Ascent Software Version 2.6
Instrument: | Multiskan Ascent V1.25 | Layout map of step: Measure
Serial no: | 354-90734 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Actual temperature: | Amb.temp. |  | A
B
C
Plate template: | Thermo Labsystems Microtiter 96 Plate |  | D
Step name: | Measure |  | E
Measurement type: | Single |  | F
Filter: | 630 |  | G
Measurement mode: | Continuous |  | H

## Exp. 1
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 1
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.737 | 0.302 | 0.084 | 0.056 | 0.054 | 0.054 | 0.059 | 0.053 | 0.049 | 0.049 | 0.049 | 1.945 | Positive control |  | background
B | 0.759 | 0.285 | 0.098 | 0.064 | 0.058 | 0.053 | 0.053 | 1.719 | 1.749 | 1.786 | 1.861 | 1.902
C | 0.766 | 0.304 | 0.116 | 0.06 | 0.055 | 0.054 | 0.053 | 1.691 | 1.742 | 1.812 | 1.823 | 1.907
D | 0.734 | 0.294 | 0.107 | 0.061 | 0.056 | 0.053 | 0.054 | 1.744 | 1.738 | 1.74 | 1.826 | 1.91
E | 1.183 | 0.64 | 0.355 | 0.144 | 0.068 | 0.057 | 0.055 | 0.053 | 1.785 | 1.725 | 1.829 | 0.052 | Negative control
F | 1.234 | 0.676 | 0.356 | 0.144 | 0.069 | 0.057 | 0.053 | 0.058 | 1.715 | 1.787 | 1.843 | 0.052
G | 1.263 | 0.628 | 0.316 | 0.123 | 0.066 | 0.056 | 0.055 | 0.052 | 1.711 | 1.761 | 1.839 | 0.055
H | 1.174 | 0.471 | 0.252 | 0.097 | 0.06 | 0.056 | 0.056 | 0.057 | 0.058 | 0.052 | 0.054 | 0.053
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
1
| 0.022 | -0.017 | 0.014 | 0.008 | 0.004 | -0.001 | -0.006 | 1.666 | 1.7 | 1.737 | 1.812
| 0.029 | 0.002 | 0.032 | 0.004 | 0.001 | 0 | -0.006 | 1.638 | 1.693 | 1.763 | 1.774
| -0.003 | -0.008 | 0.023 | 0.005 | 0.002 | -0.001 | -0.005 | 1.691 | 1.689 | 1.691 | 1.777 |  | 1.916 | Mean pos
2 | 0.009 | 0.169 | 0.103 | 0.047 | 0.008 | 0.001 | -0.001 | -0.004 | 1.727 | 1.673 | 1.775 |  | 0.053 | Mean neg
| 0.06 | 0.205 | 0.104 | 0.047 | 0.009 | 0.001 | -0.003 | 0.001 | 1.657 | 1.735 | 1.789
| 0.089 | 0.157 | 0.064 | 0.026 | 0.006 | 0 | -0.001 | -0.005 | 1.653 | 1.709 | 1.785

## Exp. 1 (2)
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 1
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.219 | 0.087 | 0.056 | 0.051 | 0.046 | 0.048 | 0.048 | 0.049 | 0.051 | 0.045 | 0.046 | 1.574 | Positive control |  | background
B | 0.227 | 0.081 | 0.056 | 0.051 | 0.048 | 0.048 | 0.05 | 0.188 | 1.298 | 1.343 | 1.287 | 1.583
C | 0.191 | 0.082 | 0.056 | 0.049 | 0.046 | 0.046 | 0.045 | 0.046 | 0.913 | 1.03 | 1.274 | 1.522
D | 0.198 | 0.082 | 0.056 | 0.078 | 0.051 | 0.046 | 0.049 | 0.044 | 0.883 | 0.985 | 1.178 | 1.505
E | 1.085 | 0.623 | 0.328 | 0.093 | 0.048 | 0.065 | 0.049 | 0.045 | 0.044 | 1.012 | 1.098 | 0.052 | Negative control
F | 1.102 | 0.658 | 0.307 | 0.089 | 0.046 | 0.067 | 0.05 | 0.048 | 0.044 | 0.314 | 1.044 | 0.052
G | 1.137 | 0.615 | 0.255 | 0.084 | 0.051 | 0.058 | 0.053 | 0.046 | 0.047 | 0.442 | 1.22 | 0.055
H | 1.089 | 0.555 | 0.228 | 0.078 | 0.044 | 0.058 | 0.055 | 0.046 | 0.043 | 0.046 | 0.046 | 0.053
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
1
| 0.008 | -0.006 | 0 | 0 | 0.002 | 0 | 0.002 | 0.139 | 1.247 | 1.298 | 1.241
| -0.028 | -0.005 | 0 | -0.002 | 0 | -0.002 | -0.003 | -0.003 | 0.862 | 0.985 | 1.228
| -0.021 | -0.005 | 0 | 0.027 | 0.005 | -0.002 | 0.001 | -0.005 | 0.832 | 0.94 | 1.132 |  | 1.546 | Mean pos
2 | -0.004 | 0.068 | 0.1 | 0.015 | 0.004 | 0.007 | -0.006 | -0.001 | 0.001 | 0.966 | 1.052 |  | 0.053 | Mean neg
| 0.013 | 0.103 | 0.079 | 0.011 | 0.002 | 0.009 | -0.005 | 0.002 | 0.001 | 0.268 | 0.998
| 0.048 | 0.06 | 0.027 | 0.006 | 0.007 | 0 | -0.002 | 0 | 0.004 | 0.396 | 1.174

## Exp. 1 (3)
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 1
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.15 | 0.063 | 0.048 | 0.046 | 0.048 | 0.05 | 0.054 | 0.046 | 0.046 | 0.045 | 0.042 | 1.309 | Positive control |  | background
B | 0.139 | 0.065 | 0.05 | 0.046 | 0.045 | 0.51 | 0.148 | 0.943 | 1.141 | 1.275 | 1.297 | 1.334
C | 0.143 | 0.065 | 0.051 | 0.053 | 0.045 | 0.045 | 0.136 | 0.917 | 1.096 | 1.248 | 1.311 | 1.339
D | 0.127 | 0.064 | 0.05 | 0.047 | 0.048 | 0.052 | 0.338 | 0.871 | 1.097 | 1.225 | 1.266 | 1.371
E | 0.793 | 0.368 | 0.144 | 0.067 | 0.05 | 0.046 | 0.044 | 0.122 | 0.893 | 1.186 | 1.295 | 0.045 | Negative control
F | 0.825 | 0.362 | 0.124 | 0.066 | 0.051 | 0.046 | 0.045 | 1.285 | 0.969 | 1.205 | 1.289 | 0.047
G | 0.817 | 0.357 | 0.115 | 0.064 | 0.049 | 0.045 | 1.115 | 0.508 | 1.111 | 1.264 | 1.335 | 0.044
H | 0.784 | 0.326 | 0.105 | 0.063 | 0.05 | 0.047 | 0.045 | 0.044 | 0.045 | 0.045 | 0.046 | 0.044
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
1
| -0.011 | 0.002 | 0.002 | 0 | -0.003 | 0.46 | 0.094 | 0.897 | 1.095 | 1.23 | 1.255
| -0.007 | 0.002 | 0.003 | 0.007 | -0.003 | -0.005 | 0.082 | 0.871 | 1.05 | 1.203 | 1.269
| -0.023 | 0.001 | 0.002 | 0.001 | 0 | 0.002 | 0.284 | 0.825 | 1.051 | 1.18 | 1.224 |  | 1.3382 | Mean pos
2 | 0.009 | 0.042 | 0.039 | 0.004 | 0 | -0.001 | -0.001 | 0.078 | 0.848 | 1.141 | 1.249 |  | 0.045 | Mean neg
| 0.041 | 0.036 | 0.019 | 0.003 | 0.001 | -0.001 | 0 | 1.241 | 0.924 | 1.16 | 1.243
| 0.033 | 0.031 | 0.01 | 0.001 | -0.001 | -0.002 | 1.07 | 0.464 | 1.066 | 1.219 | 1.289

## Exp. 2
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 2
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.488 | 0.176 | 0.064 | 0.054 | 0.051 | 0.054 | 0.055 | 0.055 | 0.051 | 0.053 | 0.054 | 1.959 | Positive control |  | background
B | 0.48 | 0.186 | 0.085 | 0.055 | 0.053 | 0.053 | 1.849 | 1.869 | 1.881 | 1.844 | 1.879 | 1.934
C | 0.506 | 0.178 | 0.084 | 0.061 | 0.053 | 0.052 | 1.772 | 1.849 | 1.827 | 1.823 | 1.85 | 1.929
D | 0.471 | 0.161 | 0.084 | 0.056 | 0.053 | 0.052 | 1.784 | 1.808 | 1.819 | 1.81 | 1.848 | 1.942
E | 0.061 | 0.054 | 0.052 | 0.134 | 1.822 | 1.82 | 1.844 | 1.84 | 1.845 | 1.809 | 1.839 | 0.053 | Negative control
F | 0.059 | 0.054 | 0.053 | 0.056 | 1.766 | 1.774 | 1.839 | 1.854 | 1.854 | 1.818 | 1.848 | 0.054
G | 0.057 | 0.053 | 0.057 | 0.06 | 1.829 | 1.809 | 1.856 | 1.871 | 1.861 | 1.831 | 1.855 | 0.055
H | 0.055 | 0.052 | 0.054 | 0.054 | 0.053 | 0.052 | 0.051 | 0.052 | 0.055 | 0.055 | 0.056 | 0.052
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
3
| -0.008 | 0.01 | 0.021 | 0.001 | 0.002 | -0.001 | 1.794 | 1.814 | 1.83 | 1.791 | 1.825
| 0.018 | 0.002 | 0.02 | 0.007 | 0.002 | -0.002 | 1.717 | 1.794 | 1.776 | 1.77 | 1.796
| -0.017 | -0.015 | 0.02 | 0.002 | 0.002 | -0.002 | 1.729 | 1.753 | 1.768 | 1.757 | 1.794 |  | 1.941 | Mean pos
9 | 0.006 | 0.002 | -0.002 | 0.08 | 1.769 | 1.768 | 1.793 | 1.788 | 1.79 | 1.754 | 1.783 |  | 0.0535 | Mean neg
| 0.004 | 0.002 | -0.001 | 0.002 | 1.713 | 1.722 | 1.788 | 1.802 | 1.799 | 1.763 | 1.792
| 0.002 | 0.001 | 0.003 | 0.006 | 1.776 | 1.757 | 1.805 | 1.819 | 1.806 | 1.776 | 1.799

## Exp. 3
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 3
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.831 | 0.411 | 0.21 | 0.097 | 0.058 | 0.055 | 0.053 | 0.052 | 0.052 | 0.052 | 0.053 | 1.923 | Positive control |  | background
B | 0.739 | 0.389 | 0.192 | 0.085 | 0.058 | 0.054 | 0.052 | 1.793 | 1.785 | 1.769 | 1.817 | 1.916
C | 0.724 | 0.381 | 0.257 | 0.121 | 0.066 | 0.055 | 0.053 | 1.718 | 1.772 | 1.729 | 1.791 | 1.903
D | 0.726 | 0.384 | 0.228 | 0.118 | 0.069 | 0.055 | 1.73 | 1.636 | 1.762 | 1.721 | 1.791 | 1.911
E | 0.854 | 0.418 | 0.283 | 0.127 | 0.063 | 0.055 | 0.056 | 1.713 | 1.77 | 1.702 | 1.766 | 0.054 | Negative control
F | 0.857 | 0.444 | 0.276 | 0.123 | 0.062 | 0.056 | 0.055 | 0.621 | 1.766 | 1.744 | 1.783 | 0.053
G | 0.813 | 0.405 | 0.233 | 0.097 | 0.056 | 0.063 | 0.052 | 0.675 | 1.783 | 1.748 | 1.788 | 0.054
H | 0.737 | 0.332 | 0.21 | 0.088 | 0.06 | 0.054 | 0.054 | 0.053 | 0.056 | 0.053 | 0.053 | 0.054
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
4
| -0.092 | -0.022 | -0.018 | -0.012 | 0 | -0.001 | -0.001 | 1.741 | 1.733 | 1.717 | 1.764
| -0.107 | -0.03 | 0.047 | 0.024 | 0.008 | 0 | 0 | 1.666 | 1.72 | 1.677 | 1.738
| -0.105 | -0.027 | 0.018 | 0.021 | 0.011 | 0 | 1.677 | 1.584 | 1.71 | 1.669 | 1.738 |  | 1.9133 | Mean pos
12 | 0.117 | 0.086 | 0.073 | 0.039 | 0.003 | 0.001 | 0.002 | 1.66 | 1.714 | 1.649 | 1.713 |  | 0.05375 | Mean neg
| 0.12 | 0.112 | 0.066 | 0.035 | 0.002 | 0.002 | 0.001 | 0.568 | 1.71 | 1.691 | 1.73
| 0.076 | 0.073 | 0.023 | 0.009 | -0.004 | 0.009 | -0.002 | 0.622 | 1.727 | 1.695 | 1.735

## Exp. 4
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 4
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.87 | 0.381 | 0.114 | 0.06 | 0.046 | 0.043 | 0.043 | 0.044 | 0.039 |  |  | 1.473 | Positive control |  | background
B | 0.892 | 0.419 | 0.132 | 0.065 | 0.047 | 0.044 | 0.288 | 1.122 | 1.325 |  |  | 1.435
C | 0.96 | 0.384 | 0.156 | 0.064 | 0.048 | 0.126 | 0.344 | 1.055 | 1.431 |  |  | 1.499
D | 0.84 | 0.339 | 0.135 | 0.063 | 0.049 | 0.145 | 0.434 | 1.158 | 1.405 |  |  | 1.481
E | 0.07 | 0.126 | 0.266 | 0.593 | 0.959 | 1.369 | 1.364 | 1.502 | 1.511 |  |  | 0.05 | Negative control
F | 0.069 | 0.18 | 0.099 | 0.541 | 0.879 | 1.343 | 1.399 | 1.451 | 1.39 |  |  | 0.046
G | 0.072 | 0.051 | 0.143 | 0.519 | 0.633 | 1.358 | 1.247 | 1.327 | 1.482 |  |  | 0.047
H | 0.075 | 0.05 | 0.045 | 0.042 | 0.044 | 0.043 | 0.042 | 0.043 | 0.04 |  |  | 0.046
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125
12
| 0.022 | 0.038 | 0.018 | 0.005 | 0.001 | 0.001 | 0.245 | 1.078 | 1.286
| 0.09 | 0.003 | 0.042 | 0.004 | 0.002 | 0.083 | 0.301 | 1.011 | 1.392
| -0.03 | -0.042 | 0.021 | 0.003 | 0.003 | 0.102 | 0.391 | 1.114 | 1.366 |  |  |  | 1.472 | Mean pos
18 | -0.005 | 0.076 | 0.221 | 0.551 | 0.915 | 1.326 | 1.322 | 1.459 | 1.471 |  |  |  | 0.04725 | Mean neg
| -0.006 | 0.13 | 0.054 | 0.499 | 0.835 | 1.3 | 1.357 | 1.408 | 1.35
| -0.003 | 0.001 | 0.098 | 0.477 | 0.589 | 1.315 | 1.205 | 1.284 | 1.442

## Exp. 5
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 5
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.065 | 0.051 | 0.046 | 0.045 | 0.042 | 0.044 | 0.044 | 0.043 | 0.045 |  |  | 1.232 | Positive control |  | background
B | 0.069 | 0.051 | 0.049 | 0.277 | 0.537 | 0.72 | 1.071 | 1.179 | 1.43 |  |  | 1.193
C | 0.073 | 0.05 | 0.051 | 0.303 | 0.531 | 0.724 | 1.046 | 1.16 | 1.4 |  |  | 1.189
D | 0.068 | 0.048 | 0.053 | 0.256 | 0.57 | 0.765 | 1.064 | 1.189 | 1.434 |  |  | 1.267
E | 0.933 | 0.664 | 0.974 | 1.14 | 1.338 | 1.276 | 1.354 | 1.211 | 1.448 |  |  | 0.043 | Negative control
F | 1 | 0.611 | 0.946 | 1.11 | 1.153 | 1.286 | 1.207 | 1.248 | 1.457 |  |  | 0.043
G | 0.965 | 0.627 | 0.939 | 1.156 | 1.203 | 1.225 | 1.37 | 1.288 | 1.369 |  |  | 0.044
H | 0.054 | 0.049 | 0.047 | 0.045 | 0.046 | 0.044 | 0.044 | 0.044 | 0.042 |  |  | 0.043
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125
14
| 0.004 | 0 | 0.003 | 0.232 | 0.495 | 0.676 | 1.027 | 1.136 | 1.385
| 0.008 | -0.001 | 0.005 | 0.258 | 0.489 | 0.68 | 1.002 | 1.117 | 1.355
| 0.003 | -0.003 | 0.007 | 0.211 | 0.528 | 0.721 | 1.02 | 1.146 | 1.389 |  |  |  | 1.2203 | Mean pos
8 | 0.879 | 0.615 | 0.927 | 1.095 | 1.292 | 1.232 | 1.31 | 1.167 | 1.406 |  |  |  | 0.04325 | Mean neg
| 0.946 | 0.562 | 0.899 | 1.065 | 1.107 | 1.242 | 1.163 | 1.204 | 1.415
| 0.911 | 0.578 | 0.892 | 1.111 | 1.157 | 1.181 | 1.326 | 1.244 | 1.327

## Exp. 6
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 6
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.062 | 0.057 | 0.056 | 0.069 | 0.057 | 0.059 | 0.056 | 0.056 |  |  |  |  | Positive control |  | background
B | 0.061 | 0.059 | 0.069 | 1.788 | 1.802 | 1.795 | 1.832 | 1.829 |  |  |  | 1.944
C | 0.061 | 0.057 | 1.782 | 1.766 | 1.764 | 1.787 | 1.794 | 1.857 |  |  |  | 1.958
D | [11 empty] | 1.889
E | [11 empty] | 0.059 | Negative control
F | 0.882 | 0.51 | 0.416 | 0.231 | 0.069 | 0.057 | 0.055 | 1.818 |  |  |  | 0.061
G | 0.862 | 0.488 | 0.271 | 0.115 | 0.066 | 0.058 | 0.429 | 1.627 |  |  |  | 0.061
H | 0.977 | 0.467 | 0.279 | 0.117 | 0.067 | 0.058 | 0.056 | 0.055
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625
16
| -0.001 | 0.002 | 0.013 | 1.719 | 1.745 | 1.736 | 1.776 | 1.773
| -0.001 | 0 | 1.726 | 1.697 | 1.707 | 1.728 | 1.738 | 1.801
[13 empty] | 1.9303 | Mean pos
12 | -0.095 | 0.043 | 0.137 | 0.114 | 0.002 | -0.001 | -0.001 | 1.763 |  |  |  |  | 0.060333 | Mean neg
| -0.095 | 0.043 | 0.137 | 0.114 | 0.002 | -0.001 | -0.001 | 1.763

## Exp. 7
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 7
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.087 | 0.058 | 0.056 | 0.058 | 0.054 | 0.055 | 0.056 | 0.057 |  |  |  |  | Positive control |  | background
B | 0.083 | 0.051 | 0.078 | 1.552 | 1.711 | 1.756 | 1.764 | 1.762 |  |  |  | 1.944
C | 0.088 | 0.06 | 0.132 | 1.758 | 1.795 | 1.836 | 1.845 | 1.959 |  |  |  | 1.958
D | [11 empty] | 1.889
E | [11 empty] | 0.059 | Negative control
F | 0.075 | 0.059 | 0.152 | 1.763 | 1.843 | 1.904 | 1.883 | 1.914 |  |  |  | 0.061
G | 0.074 | 0.059 | 0.824 | 1.819 | 1.846 | 1.912 | 1.874 | 1.96 |  |  |  | 0.061
H | 0.074 | 0.057 | 0.057 | 0.057 | 0.057 | 0.06 | 0.065 | 0.059
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625
18
| -0.004 | -0.007 | 0.022 | 1.494 | 1.657 | 1.701 | 1.708 | 1.705
| 0.001 | 0.002 | 0.076 | 1.7 | 1.741 | 1.781 | 1.789 | 1.902
[13 empty] | 1.9303 | Mean pos
14 | [12 empty] | 0.060333 | Mean neg
| 0.001 | 0.002 | 0.095 | 1.706 | 1.786 | 1.844 | 1.818 | 1.855
| 0 | 0.002 | 0.767 | 1.762 | 1.789 | 1.852 | 1.809 | 1.901

## Exp. 9
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 9
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.615 | 0.223 | 0.063 | 0.054 | 0.052 | 0.055 | 0.052 | 0.052 | 0.053 | 0.052 | 0.055 | 1.91 | Positive control |  | background
B | 0.574 | 0.169 | 0.063 | 0.057 | 0.053 | 0.053 | 0.18 | 1.762 | 1.8 | 1.812 | 1.839 | 1.922
C | 0.575 | 0.18 | 0.071 | 0.054 | 0.054 | 0.052 | 0.088 | 1.706 | 1.785 | 1.753 | 1.782 | 1.913
D | 0.559 | 0.167 | 0.071 | 0.056 | 0.053 | 0.053 | 0.076 | 1.709 | 1.758 | 1.746 | 1.783 | 1.905
E | 0.297 | 0.221 | 0.143 | 0.067 | 0.056 | 0.055 | 0.359 | 1.709 | 1.782 | 1.715 | 1.802 | 0.053 | Negative control
F | 0.306 | 0.192 | 0.132 | 0.066 | 0.056 | 0.053 | 1.416 | 1.734 | 1.761 | 1.744 | 1.787 | 0.052
G | 0.302 | 0.195 | 0.105 | 0.063 | 0.056 | 0.054 | 1.69 | 1.736 | 1.797 | 1.75 | 1.827 | 0.058
H | 0.281 | 0.17 | 0.087 | 0.057 | 0.054 | 0.053 | 0.053 | 0.054 | 0.445 | 0.053 | 0.055 | 0.062
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
11
| -0.041 | -0.054 | 0 | 0.003 | 0.001 | -0.002 | 0.128 | 1.71 | 1.747 | 1.76 | 1.784
| -0.04 | -0.043 | 0.008 | 0 | 0.002 | -0.003 | 0.036 | 1.654 | 1.732 | 1.701 | 1.727
| -0.056 | -0.056 | 0.008 | 0.002 | 0.001 | -0.002 | 0.024 | 1.657 | 1.705 | 1.694 | 1.728 |  | 1.9125 | Mean pos
14 | 0.016 | 0.051 | 0.056 | 0.01 | 0.002 | 0.002 | 0.306 | 1.655 | 1.337 | 1.662 | 1.747 |  | 0.05625 | Mean neg
| 0.025 | 0.022 | 0.045 | 0.009 | 0.002 | 0 | 1.363 | 1.68 | 1.316 | 1.691 | 1.732
| 0.021 | 0.025 | 0.018 | 0.006 | 0.002 | 0.001 | 1.637 | 1.682 | 1.352 | 1.697 | 1.772

## Exp. 10
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 10
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.598 | 0.211 | 0.097 | 0.059 | 0.058 | 0.056 | 0.058 | 0.058 |  |  |  | 1.839 | Positive control |  | background
B | 0.634 | 0.271 | 0.071 | 0.061 | 0.063 | 0.056 | 0.056 | 1.804 |  |  |  | 1.934
C | 0.58 | 0.229 | 0.083 | 0.062 | 0.056 | 0.055 | 0.055 | 1.457 |  |  |  | 1.932
D
E | [12 empty] | Negative control
F | 0.289 | 0.26 | 0.122 | 0.061 | 0.058 | 0.058 | 0.969 | 1.895 |  |  |  | 0.057
G | 0.344 | 0.242 | 0.122 | 0.061 | 0.058 | 0.055 | 0.077 | 1.885 |  |  |  | 0.056
H | 0.363 | 0.209 | 0.133 | 0.061 | 0.056 | 0.057 | 0.057 | 0.057 |  |  |  | 0.055
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625
11
| 0.036 | 0.06 | -0.026 | 0.002 | 0.005 | 0 | -0.002 | 1.746
| -0.018 | 0.018 | -0.014 | 0.003 | -0.002 | -0.001 | -0.003 | 1.399
[13 empty] | 1.9017 | Mean pos
15 | [12 empty] | 0.056 | Mean neg
| -0.074 | 0.051 | -0.011 | 0 | 0.002 | 0.001 | 0.912 | 1.838
| -0.019 | 0.033 | -0.011 | 0 | 0.002 | -0.002 | 0.02 | 1.828

## Exp. 11
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 11
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.162 | 0.457 | 0.189 | 0.073 | 0.058 | 0.054 | 0.052 | 0.053 |  |  |  | 1.839 | Positive control |  | background
B | 1.11 | 0.448 | 0.183 | 0.069 | 0.059 | 0.057 | 0.057 | 0.055 |  |  |  | 1.934
C | 1.009 | 0.446 | 0.172 | 0.069 | 0.056 | 0.055 | 0.056 | 0.205 |  |  |  | 1.932
D
E | [12 empty] | Negative control
F | 0.082 | 0.054 | 0.054 | 0.055 | 1.486 | 1.855 | 1.889 | 1.833 |  |  |  | 0.057
G | 0.079 | 0.058 | 0.056 | 0.058 | 1.793 | 1.904 | 1.939 | 1.952 |  |  |  | 0.056
H | 0.078 | 0.055 | 0.056 | 0.055 | 0.057 | 0.055 | 0.055 | 0.054 |  |  |  | 0.055
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625
3
| -0.052 | -0.009 | -0.006 | -0.004 | 0.001 | 0.003 | 0.005 | 0.002
| -0.153 | -0.011 | -0.017 | -0.004 | -0.002 | 0.001 | 0.004 | 0.152
[13 empty] | 1.9017 | Mean pos
9 | [12 empty] | 0.056 | Mean neg
| 0.004 | -0.001 | -0.002 | 0 | 1.429 | 1.8 | 1.834 | 1.779
| 0.001 | 0.003 | 0 | 0.003 | 1.736 | 1.849 | 1.884 | 1.898

## Exp. 12
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 12
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.015 | 0.576 | 0.323 | 0.162 | 0.088 | 0.063 | 0.057 | 0.056 |  |  |  | 1.839 | Positive control |  | background
B | 1.042 | 0.556 | 0.283 | 0.139 | 0.074 | 0.071 | 0.059 | 0.061 |  |  |  | 1.934
C | 0.912 | 0.48 | 0.27 | 0.126 | 0.076 | 0.06 | 0.057 | 1.561 |  |  |  | 1.932
D
E | [12 empty] | Negative control
F | 0.064 | 0.066 | 1.145 | 1.731 | 1.777 | 1.769 | 1.79 | 1.925 |  |  |  | 0.057
G | 0.062 | 0.056 | 0.1 | 1.714 | 1.758 | 1.784 | 1.774 | 1.931 |  |  |  | 0.056
H | 0.063 | 0.059 | 0.059 | 0.058 | 0.055 | 0.053 | 0.057 | 0.055 |  |  |  | 0.055
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625
4
| 0.027 | -0.02 | -0.04 | -0.023 | -0.014 | 0.008 | 0.002 | 0.005
| -0.103 | -0.096 | -0.053 | -0.036 | -0.012 | -0.003 | 0 | 1.505
[13 empty] | 1.9017 | Mean pos
16 | [12 empty] | 0.056 | Mean neg
| 0.001 | 0.007 | 1.086 | 1.673 | 1.722 | 1.716 | 1.733 | 1.87
| -0.001 | -0.003 | 0.041 | 1.656 | 1.703 | 1.731 | 1.717 | 1.876

## Exp. 13
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 13
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.801 | 0.555 | 0.359 | 0.153 | 0.074 | 0.056 | 0.057 | 0.058 |  |  |  | 1.839 | Positive control |  | background
B | 0.901 | 0.512 | 0.338 | 0.323 | 0.08 | 0.06 | 0.057 | 0.27 |  |  |  | 1.934
C | 0.79 | 0.548 | 0.342 | 0.174 | 0.079 | 0.057 | 0.055 | 0.512 |  |  |  | 1.932
D
E | [12 empty] | Negative control
F | 0.112 | 0.068 | 0.057 | 0.056 | 1.634 | 1.716 | 1.768 | 1.839 |  |  |  | 0.057
G | 0.125 | 0.065 | 0.057 | 0.055 | 1.777 | 1.871 | 1.886 | 1.934 |  |  |  | 0.056
H | 0.133 | 0.063 | 0.057 | 0.056 | 0.055 | 0.051 | 0.059 | 0.054 |  |  |  | 0.055
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625
12
| 0.1 | -0.043 | -0.021 | 0.17 | 0.006 | 0.004 | 0 | 0.212
| -0.011 | -0.007 | -0.017 | 0.021 | 0.005 | 0.001 | -0.002 | 0.454
[13 empty] | 1.9017 | Mean pos
18 | [12 empty] | 0.056 | Mean neg
| -0.021 | 0.005 | 0 | 0 | 1.579 | 1.665 | 1.709 | 1.785
| -0.008 | 0.002 | 0 | -0.001 | 1.722 | 1.82 | 1.827 | 1.88

## Exp. 14
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
[5 empty] | 0.197 | 0.125 | 0.054 | 0.047 | 0.047 | 0.044 | 0.043 | 0.048 | 0.044 | 0.043 | 0.047
Exp. 14
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.197 | 0.125 | 0.054 | 0.047 | 0.047 | 0.044 | 0.043 | 0.048 | 0.044 | 0.043 | 0.047 | 1.166 | Positive control |  | background
B | 0.214 | 0.163 | 0.127 | 0.047 | 0.044 | 0.051 | 0.242 | 0.517 | 0.675 | 0.803 | 0.893 | 1.07
C | 0.202 | 0.131 | 0.062 | 0.045 | 0.043 | 0.049 | 0.286 | 0.452 | 0.671 | 0.798 | 0.856 | 1.035
D | 0.203 | 0.146 | 0.132 | 0.046 | 0.045 | 0.108 | 0.251 | 0.547 | 0.741 | 0.76 | 0.856 | 1.095
E | 0.049 | 0.091 | 0.428 | 0.803 | 1.05 | 0.92 | 1.014 | 0.961 | 1.029 | 0.967 | 1.18 | 0.044 | Negative control
F | 0.048 | 0.103 | 0.572 | 0.796 | 1.117 | 1.079 | 1.047 | 0.945 | 1.017 | 0.953 | 1.107 | 0.044
G | 0.048 | 0.044 | 0.381 | 0.653 | 1.026 | 1.116 | 1.072 | 0.926 | 0.98 | 1.005 | 1.045 | 0.046
H | 0.047 | 0.043 | 0.043 | 0.044 | 0.044 | 0.044 | 0.044 | 0.044 | 0.043 | 0.045 | 0.045 | 0.045
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531
7
| 0.017 | 0.038 | 0.073 | 0 | -0.003 | 0.007 | 0.199 | 0.469 | 0.631 | 0.76 | 0.846
| 0.005 | 0.006 | 0.008 | -0.002 | -0.004 | 0.005 | 0.243 | 0.404 | 0.627 | 0.755 | 0.809
| 0.006 | 0.021 | 0.078 | -0.001 | -0.002 | 0.064 | 0.208 | 0.499 | 0.697 | 0.717 | 0.809 |  | 1.0915 | Mean pos
17 | 0.002 | 0.048 | 0.385 | 0.759 | 1.006 | 0.876 | 0.97 | 0.917 | 0.986 | 0.922 | 1.135 |  | 0.04475 | Mean neg
| 0.001 | 0.06 | 0.529 | 0.752 | 1.073 | 1.035 | 1.003 | 0.901 | 0.974 | 0.908 | 1.062
| 0.001 | 0.001 | 0.338 | 0.609 | 0.982 | 1.072 | 1.028 | 0.882 | 0.937 | 0.96 | 1

## Exp. 15
Antibacterial activity
according to the Clinical and Laboratory Standard Institute guidelines
Experimental model system
Staphylococcus aureus ATCC 25923
Exp. 15
Measurement count: 1 Filter: 630
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.045 | 0.047 | 0.044 | 0.049 | 0.045 | 0.121 | 0.048 | 0.045 |  |  |  | 0.979 | Positive control |  | background
B | 0.043 | 0.548 | 0.602 | 0.67 | 0.76 | 0.818 | 0.838 | 1 |  |  |  | 0.948
C | 0.044 | 0.57 | 0.651 | 0.665 | 0.709 | 0.751 | 0.778 | 0.979 |  |  |  | 0.985
D | 0.046 | 0.574 | 0.603 | 0.669 | 0.718 | 0.751 | 0.829 | 0.948 |  |  |  | 1.007
E | 1.005 | 0.711 | 0.709 | 0.862 | 0.884 | 0.903 | 0.977 | 0.985 |  |  |  | 0.046 | Negative control
F | 0.717 | 0.7 | 0.731 | 0.792 | 0.869 | 0.8 | 0.891 | 1.007 |  |  |  | 0.046
G | 1.065 | 0.702 | 0.768 | 0.775 | 0.838 | 0.87 | 0.957 | 1.005 |  |  |  | 0.045
H | 0.049 | 0.045 | 0.05 | 0.046 | 0.048 | 0.047 | 0.072 | 0.052 |  |  |  | 0.043
Net values (bacterial proliferation)
Conc. (µg/mL) | 200 | 100 | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625
6
| -0.002 | 0.501 | 0.558 | 0.621 | 0.715 | 0.697 | 0.79 | 0.955
| -0.001 | 0.523 | 0.607 | 0.616 | 0.664 | 0.63 | 0.73 | 0.934
| 0.001 | 0.527 | 0.559 | 0.62 | 0.673 | 0.63 | 0.781 | 0.903 |  |  |  |  | 0.97975 | Mean pos
13 | 0.956 | 0.666 | 0.659 | 0.816 | 0.836 | 0.856 | 0.905 | 0.933 |  |  |  |  | 0.045 | Mean neg
| 0.668 | 0.655 | 0.681 | 0.746 | 0.821 | 0.753 | 0.819 | 0.955
| 1.016 | 0.657 | 0.718 | 0.729 | 0.79 | 0.823 | 0.885 | 0.953