## Linearity
Ethyl Palmitate
CONCENTRATION (ppm)	AREA
2,5	0,0169
2,5	0,0190
5	0,0595
5	0,0689
10	0,1141
10	0,1141
25	0,2013
25	0,1708
50	0,3379
50	0,3411
Ethyl Linoleate
CONCENTRATION (ppm)	AREA
2,5	0,0181
2,5	0,0134
5	0,0582
5	0,0650
10	0,1095
10	0,1120
25	0,1810
25	0,1485
50	0,3177
50	0,3120
Ethyl Oleate
CONCENTRATION (ppm)	AREA
2,5	0,0179
2,5	0,0131
5	0,0640
5	0,0699
10	0,1328
10	0,1307
25	0,1923
25	0,1562
50	0,3778
50	0,3657
Ethyl Stearate
CONCENTRATION (ppm)	AREA
2,5	0,0321
2,5	0,0264
5	0,0775
5	0,0830
10	0,1182
10	0,1114
25	0,2042
25	0,2000
50	0,3672
50	0,3521
Methyl Heptadecanoate
CONCENTRATION (ppm)	AREA (mean)
2,725	0,0181
5,45	0,0624
10,9	0,1102
27,25	0,1982
54,5	0,3416

## Recovery
10 ppm
Compound	Area (direct injection)	Injected conc (mcg/mL) GC	Area (processed sample)	Injected conc (mcg/mL) HPLC	Concentration ratio (10/1,33)	Area processed sample corresponding to 10 ppm	Recovery (%)	Mean Recovery (%)	Standard deviation
Ethyl palmitate Replicate 1	0,6245	10	0,0588	1,33	7,51	0,442	70,7	73,2	3,6
Ethyl palmitate Replicate 2	0,6245	10	0,063	1,33	7,51	0,473	75,8
Ethyl linoleate Replicate 1	0,6247	10	0,0561	1,33	7,51	0,421	67,4	72,3	6,9
Ethyl linoleate Replicate 2	0,6247	10	0,0642	1,33	7,51	0,482	77,2
Ethyl oleate Replicate 1	0,70255	10	0,0664	1,33	7,51	0,499	71,0	71,9	1,3
Ethyl oleate Replicate 2	0,70255	10	0,0681	1,33	7,51	0,511	72,8
Ethyl stearate Replicate 1	0,57695	10	0,0637	1,33	7,51	0,478	82,9	84,9	2,9
Ethyl stearate Replicate 2	0,57695	10	0,0668	1,33	7,51	0,502	87,0
Methyl heptadecanoate Replicate 1	0,6214	10	0,0636	1,33	7,51	0,478	76,9	74,7	3,0
Methyl heptadecanoate Replicate 2	0,6214	10	0,0601	1,33	7,51	0,451	72,6

25 ppm
Compound	Area direct injection	Injected conc (mcg/mL) GC	Area (processed sample)	Injected conc (mcg/mL) HPLC	Concentration ratio (25/3,33)	Area processed sample corresponding to 25 ppm	Recovery (%)	Mean Recovery (%)	Standard deviation
Ethyl palmitate Replicate 1	1,4985	25	0,2013	3,33	7,51	1,512	100,9	101,8	1,3
Ethyl palmitate Replicate 2	1,4985	25	0,2049	3,33	7,51	1,539	102,7
Ethyl linoleate Replicate 1	1,46755	25	0,181	3,33	7,51	1,359	92,6	94,9	3,2
Ethyl linoleate Replicate 2	1,46755	25	0,1899	3,33	7,51	1,426	97,2
Ethyl oleate Replicate 1	1,5483	25	0,1923	3,33	7,51	1,444	93,3	94,6	1,9
Ethyl oleate Replicate 2	1,5483	25	0,1978	3,33	7,51	1,485	95,9
Ethyl stearate Replicate 1	1,4458	25	0,1942	3,33	7,51	1,458	100,9	102,9	2,9
Ethyl stearate Replicate 2	1,4458	25	0,202	3,33	7,51	1,517	104,9
Methyl heptadecanoate Replicate 1	1,4731	25	0,1914	3,33	7,51	1,437	97,6	98,7	1,6
Methyl heptadecanoate Replicate 2	1,4731	25	0,1957	3,33	7,51	1,470	99,8

50 ppm
Compound	Area direct injection	Injected conc (mcg/mL) GC	Area (processed sample)	Injected conc (mcg/mL) HPLC	Concentration ratio (50/6,67)	Area processed sample corresponding to 50 ppm	Recovery (%)	Mean Recovery (%)	Standard deviation
Ethyl palmitate Replicate 1	2,87695	50	0,3411	6,67	7,51	2,562	89,0	90,4	2,0
Ethyl palmitate Replicate 2	2,87695	50	0,3518	6,67	7,51	2,642	91,8
Ethyl linoleate Replicate 1	2,77485	50	0,312	6,67	7,51	2,343	84,4	84,0	0,6
Ethyl linoleate Replicate 2	2,77485	50	0,3087	6,67	7,51	2,318	83,5
Ethyl oleate Replicate 1	3,1449	50	0,3657	6,67	7,51	2,746	87,3	86,6	1,0
Ethyl oleate Replicate 2	3,1449	50	0,3599	6,67	7,51	2,703	85,9
Ethyl stearate Replicate 1	2,8303	50	0,3521	6,67	7,51	2,644	93,4	94,1	1,0
Ethyl stearate Replicate 2	2,8303	50	0,3575	6,67	7,51	2,685	94,9
Methyl heptadecanoate Replicate 1	2,9618	50	0,3424	6,67	7,51	2,571	86,8	87,7	1,2
Methyl heptadecanoate Replicate 2	2,9618	50	0,349	6,67	7,51	2,621	88,5

## Robustness
	Flow 0.7 mL/min	Flow 1 mL/min
Ethyl Palmitate
	Area	Area
Replicate 1	0,2674	0,221
Replicate 2	0,3546	0,310
Replicate 3	0,3312	0,283
Ethyl Linoleate
	Area	Area
Replicate 1	0,2301	0,1877
Replicate 2	0,3149	0,2704
Replicate 3	0,2882	0,2531
Ethyl Oleate
	Area	Area
Replicate 1	0,2521	0,2023
Replicate 2	0,3339	0,3037
Replicate 3	0,3271	0,2919
Ethyl Stearate
	Area	Area
Replicate 1	0,2619	0,2236
Replicate 2	0,3487	0,3117
Replicate 3	0,3346	0,2963

## Precision_inter-day
ETHYL PALMITATE					ANALYSIS OF VARIANCE
	DAY 1			DAY 2			DAY 3				DAY 1	DAY 2	DAY 3	Origin of the variation	SQ	gdl	MQ	F	Significance value	F crit
	AREA EP	AREA IS	RATIO	AREA EP	AREA IS	RATIO	AREA EP	AREA IS	RATIO	EP	1,24	1,21	1,08	Between groups	0,007936894	2	0,003968447	2,3713264	0,174228474	5,14325285
R1	0,0546	0,0441	1,238095238	0,0508	0,0421	1,206650831	0,0517	0,048	1,077083333	EP	1,14	1,15	1,14	In groups	0,010041081	6	0,001673514
R2	0,0673	0,059	1,140677966	0,0734	0,0636	1,15408805	0,0842	0,0736	1,144021739	EP	1,14	1,16	1,12
R3	0,0560	0,049	1,142857143	0,0732	0,0633	1,156398104	0,0716	0,064	1,11875					Total	0,017977975	8
MEDIA	1,174			1,172			1,113			MEAN EP	1,17	1,17	1,11
DEV. STD.	0,056			0,030			0,034
CV%	4,74			2,53			3,04

ETHYL LINOLEATE					ANALYSIS OF VARIANCE
	DAY 1			DAY 2			DAY 3				DAY 1	DAY 2	DAY 3	Origin of the variation	SQ	gdl	MQ	F	Significance value	F crit
	AREA EL	AREA IS	RATIO	AREA EL	AREA IS	RATIO	AREA EL	AREA IS	RATIO	EL	0,988662132	0,950118765	0,958333333	Between groups	0,000731325	2	0,000365663	0,640961765	0,559390916	5,14325285
R1	0,0436	0,0441	0,988662132	0,0400	0,0421	0,950118765	0,0460	0,048	0,958333333	EL	0,962711864	0,922955975	0,96875	In groups	0,003422943	6	0,00057049
R2	0,0568	0,059	0,962711864	0,0587	0,0636	0,922955975	0,0713	0,0736	0,96875	EL	0,948979592	0,984202212	0,9953125
R3	0,0465	0,049	0,948979592	0,0623	0,0633	0,984202212	0,0637	0,064	0,9953125					Total	0,004154268	8
MEDIA	0,967			0,952			0,974			MEAN EL	0,97	0,95	0,97
DEV. STD.	0,020			0,031			0,019
CV%	2,08			3,22			1,96

ETHYL OLEATE					ANALYSIS OF VARIANCE
	DAY 1			DAY 2			DAY 3				DAY 1	DAY 2	DAY 3	Origin of the variation	SQ	gdl	MQ	F	Significance value	F crit
	AREA EO	AREA IS	RATIO	AREA EO	AREA IS	RATIO	AREA EO	AREA IS	RATIO	EO	1,0430839	1,054631829	1,05	Between groups	0,001217243	2	0,000608622	1,207597734	0,362460868	5,14325285
R1	0,0460	0,0441	1,0430839	0,0444	0,0421	1,054631829	0,0504	0,048	1,05	EO	1,040677966	1,014150943	1,051630435	In groups	0,003023962	6	0,000503994
R2	0,0614	0,059	1,040677966	0,0645	0,0636	1,014150943	0,0774	0,0736	1,051630435	EO	1,012244898	1,074249605	1,0796875
R3	0,0496	0,049	1,012244898	0,0680	0,0633	1,074249605	0,0691	0,064	1,0796875					Total	0,004241205	8
MEDIA	1,032			1,048			1,060			MEAN EO	1,03	1,05	1,06
DEV. STD.	0,017			0,031			0,017
CV%	1,66			2,93			1,57

ETHYL STEARATE					ANALYSIS OF VARIANCE
	DAY 1			DAY 2			DAY 3				DAY 1	DAY 2	DAY 3	Origin of the variation	SQ	gdl	MQ	F	Significance value	F crit
	AREA ES	AREA IS	RATIO	AREA ES	AREA IS	RATIO	AREA ES	AREA IS	RATIO	ES	0,861678005	0,954869359	0,858333333	Between groups	0,021255579	2	0,01062779	0,976708931	0,429331101	5,14325285
R1	0,038	0,0441	0,861678005	0,0402	0,0421	0,954869359	0,0412	0,048	0,858333333	ES	0,818644068	1,088050314	1,023097826	In groups	0,065287349	6	0,010881225
R2	0,0483	0,059	0,818644068	0,0692	0,0636	1,088050314	0,0753	0,0736	1,023097826	ES	1,051020408	1,04107425	1,075
R3	0,0515	0,049	1,051020408	0,0659	0,0633	1,04107425	0,0688	0,064	1,075					Total	0,086542928	8
MEDIA	0,910			1,028			0,985			MEAN ES	0,91	1,03	0,99
DEV. STD.	0,124			0,068			0,113
CV%	13,58			6,57			11,48